The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

January 31, 2013

Peter J. Koutoujian, Sheriff

Middlesex County House of Correction

269 Treble Cove Road

Billerica, MA 01862

Re: Middlesex County House of Correction Facility Inspection

Dear Sheriff Koutoutjian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Middlesex County House of Correction on January 9 and 10, 2013 accompanied by Sergeant Rudy Chaput, Captain Daniel Finn, Standards and Compliance, and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Checkpoint Building

Checkpoint

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on refrigerator unit

105 CMR 451.353*	Interior Maintenance: Vent cover missing from heater fan

Women’s Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F

Men’s Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1010F

Janitor’s Closet

No Violations Noted

New Building

Lobby

Water Fountain

No Violations Noted

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

Janitor’s Closet

No Violations Noted

Administration Wing

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850F

Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 850F

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop not hung properly

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Coffee maker dirty

Central Control

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 920F

Attorney Visit Hallway

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 930F

Janitor’s Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1070F

105 CMR 451.123	Maintenance: Ceiling vent dusty

Kitchenette

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, inadequate cold water pressure at handwash sink

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator unit

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

Entrance Hallway for Pod A & B

Nurse’s Station

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 940F

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Caseworker’s Office

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 470F

Pod A

Common Area

No Violations Noted

Storage Cage (Barber Shop)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: GFI electrical outlet damaged

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Storage Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Lower Level Shower Area

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123	Maintenance: Wall paint damaged with possible mold growth outside shower stall

# 1 and 2

105 CMR 451.123	Maintenance: Ceiling repair not finished in a work-person like fashion in shower # 1

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 2 and 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1 and 4

105 CMR 451.123*	Maintenance: Standing water observed on the floor outside of shower # 1

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 3, and 5

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower leaking in shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 out of order

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water tap leaking

Upper Level Shower Area

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123	Maintenance: Wall paint damaged with possible mold growth outside shower stall

# 1 and 4

105 CMR 451.123	Maintenance: Ceiling repair not finished in a work-person like fashion in shower # 2

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 4

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1070F at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

Lower Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 1-12, 1-13, 1-15, 1-19, 	1-22, and 1-25

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 1-01, 1-02, 1-03, 1-14, 	1-16, 1-20, 1-24, 1-28 and 1-30

Upper Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 2-01, 2-02, 2-21,

and 2-27

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 2-06, 2-07, 2-08, 2-09, 	2-18, and 2-28

Pod B

Common Area

No Violations Noted

Storage Cage

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: GFI electrical outlet damaged

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Storage Room

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Lower Level Shower Area

105 CMR 451.123*	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 5

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 4

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1, 2, and 5

105 CMR 451.123	Maintenance: Ceiling damaged in shower # 3

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123	Maintenance: Standing water observed on the floor outside of shower # 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 4 out of order

105 CMR 451.130	Hot Water: Shower water temperature recorded at 970F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water tap leaking

Upper Level Shower Area

105 CMR 451.123*	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Sink loose from wall

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 5

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 4

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a work-person like fashion in shower

stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Ceiling repair not finished in a work-person like fashion in shower

stall # 5

105 CMR 451.123*	Maintenance: Possible mold growth on the wall outside shower # 1 and 4

105 CMR 451.123	Maintenance: Possible mold growth on the wall outside shower # 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing from shower 	stall # 2

Lower Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 1-04, 1-12, 1-13, 1-21, 	1-22, 1-23, and 1-25

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 1-03, 1-11, 1-15, 1-19, 	and 1-29

Upper Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 2-08 and 2-29

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 2-13, 2-17, 2-26, 2-27, 	and 2-30

105 CMR 451.353	Interior Maintenance: Stool damaged in cell # 2-15, 2-17, 2-20, 2-29, and 2-31

Entrance Hallway for Pod C & D

Nurses’ Station

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1070F

Women’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1030F

Men’s Room

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels in holder

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1030F

Pod C

Common Area

No Violations Noted

Storage Cage

No Violations Noted

Janitor’s Closet

No Violations Noted

Storage Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Lower Level Shower Area

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 5

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a work-person like fashion in shower # 4

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 3

105 CMR 451.130	Hot Water: Shower water temperature recorded at 930F

Upper Level Shower Area

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, 3, 4, and 5

105 CMR 451.123*	Maintenance: Floor paint damaged in shower # 1 and 2

105 CMR 451.123*	Maintenance: Ceiling paint damaged in shower # 2

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1

105 CMR 451.123	Maintenance: Possible mold growth on ceiling in shower stall # 2

105 CMR 451.123	Maintenance: Wall paint damaged with possible mold growth outside shower stall

# 1, 2, 3, and 4

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1000F at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink

Lower Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 1-12 and 1-25

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 1-14, 1-18, 1-20, 1-21, 	1-24, and 1-29

105 CMR 451.353	Interior Maintenance: Stool damaged in cell # 1-09, 1-29, and 1-30

Upper Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 2-04, 2-12, 	2-20, 2-21, 2-24, 2-26, 2-27, and 2-31

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 2-03, 2-11, 2-17, 2-18, 	2-19, and 2-28

105 CMR 451.353	Interior Maintenance: Stool damaged in cell # 2-09

Pod D

Common Area

105 CMR 451.350	Structural Maintenance: Floor tile damaged outside cell # 2-20

Storage Cage

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop left in slop sink

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Storage Room

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Lower Level Shower Area

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 3, 4, and 5

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 3

105 CMR 451.123*	Maintenance: Wall dirty outside shower unit with possible mold growth in shower # 2

105 CMR 451.123	Maintenance: Wall dirty outside shower unit with possible mold growth in shower 	stall # 3, 4, and 5

105 CMR 451.123	Maintenance: Standing water observed on floor near hot water tap

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, lower shower head not 	functioning properly in handicap equipped shower stall # 1

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water tap leaking

Upper Level Shower Area

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1, 2, and 5

105 CMR 451.123	Maintenance: Wall dirty outside shower unit with possible mold growth in shower 	stall # 1, 2, 3, and 4

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower # 1, 2, 4, and 5

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F on handwash sink

Lower Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 1-04, 1-05, 	1-14, 1-16, 1-20, 1-21, 1-22, and 1-28

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 1-03, 1-06, 1-11, 1-27, 	and 1-29

Upper Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged near stool in cell # 2-03, 2-04, 2-07, 	2-09, 2-10, 2-11, 2-13, 2-17, 2-20, 2-28, 2-30, and 2-32

105 CMR 451.353	Interior Maintenance: Wall paint damaged near stool in cell # 2-12, 2-22, 2-23,

and 2-24

Intake and Discharge

Desk Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F

Shake Room # 1 & 2

No Violations Noted

Holding Cell # 1 & 2

105 CMR 451.353*	Interior Maintenance: Bench paint damaged in holding cell # 1

Institutional Property

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Holding Cell # 1-6

105 CMR 451.350	Structural Maintenance: Floor cracked in holding cell # 1, 2, 4, 5, and 6

Shower Room # 1 & 2

Shower Room # 1 used for storage at the time of inspection

Women’s Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

Men’s Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 990F

Janitor’s Closet

No Violations Noted

Break Room

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 440F

Inmate Property Room

No Violations Noted

Urinalysis Room

No Violations Noted

Food Service Area

Staff Dinning Room

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gaskets damaged on Arctic Air refrigerator unit

FC 4-502.13(B)	Maintenance and Operation, Utensils: Bulk milk dispenser tube not cut at a	diagonal

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, drink 	dispenser spouts dirty

Men’s Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Women’s Room

No Violations Noted

Main Kitchen

Hallway

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several floor tiles 	damaged

Inmate Bathroom

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, cardboard boxes on 	floor near toilet fixture

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, soap dispenser 	damaged

Staff Bathroom

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Supply Room # 1 (Culinary Arts Supply Room)

No Violations Noted

Supply Room # 1 (Dry Storage Room)

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils stored covered

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils stored with condiments and other items

Rack Spray Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation 	damaged

Freezer # 1

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, light shield damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	freezer floor dirty

Warmer #1 & 2

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on both warmers

Arctic Air Freezer Unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build up observed in unit

Tray Prep Area

No Violations Noted

Prep Handwash sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

Janitor’s Closet

No Violations Noted

Locker Area

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Ice Machine # 1 & 2

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket not secured properly on both units

Walk-In Refrigerator # 1

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination,	raw eggs storage above ready to eat food

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, light bulb broken in light fixture

Grease Hood Area

Kettles

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged

Fryers

No Violations Noted’

Grills and Stovetop

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

Ovens

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

Meat Cutter Area

No Violations Noted

Vegetable Prep and Sink Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucets loose

Ice Machine # 3

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

Handwash Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1050F

Walk-In Refrigerator # 2

No Violations Noted

Back Kitchen Pots & Pans Sink

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1050F

Dry Goods Bins and Baking Area

FC 4-502.11(A)	Maintenance and Operation, Utensils: Utensils not maintained in a state of good	repair, flour scoop damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

Serve Line # 1 Handwash Sink (near B Hallway Door)

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink faucet leaking

Serve Line # 2 Handwash Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, out of order

Mechanical Warewashing Area

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipe leaking under sink fixture

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, insulation on pipes 	damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty with 	possible mold growth behind spray sink

Front Kitchen Pots & Pans Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink faucet leaking

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking on three compartment sink

Loading Dock

No Violations Noted

Laundry Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, light shield 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, dirty behind 	washer and dryer units

Chemical Storage Closet

No Violations Noted

Culinary Arts Kitchen

Grease Hood

No Violations Noted

Prep Tables

No Violations Noted

Pots & Pans Sink

No Violations Noted

Handwash Sink

No Violations Noted

Storage Racks

No Violations Noted

Prep Sink Area

FC 5-202.13	Plumbing System, Design: Air gap between pipe and drain, air gap 	less than twice the diameter of the pipe

Walk-In Refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

Freezer Unit

No Violations Noted

Health Service Unit

ISO 1& 2

Not accessible at the time of inspection

Nurse’s Pantry

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F

Janitor’s Closet

No Violations Noted

Risk Cell # 1& 2

No Violations Noted

Holding Cell # 1-4

No Violations Noted

Ward A

105 CMR 451.126	Hot Water: Hot water temperature recorded at 700F

Inmate Shower Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 500F

105 CMR 451.123	Maintenance: Soap scum on walls and floor in shower unit

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Nurses’ Station and Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 700F

Cleaning Utility Room

No Violations Noted

Storage Room # 1

No Violations Noted

Storage Room # 2

No Violations Noted

Ward B

105 CMR 451.123	Maintenance: Ceiling vent dirty near showers

105 CMR 451.124*	Water Supply: Insufficient hot and cold water supply in quantity and pressure at 	handwash sinks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower # 2 not functioning 	properly

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking at sink # 1

Treatment Room #1

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 980F

Inmate Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 720F

Treatment Room # 2

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash 	sink

Dental Room

No Violations Noted

Pharmacy

Locked at the time of inspection

Medical Waste Room

No Violations Noted

Treatment Room #3

105 CMR 451.126	Hot Water: Hot water temperature recorded at 680F

Internal Medicine Room

Used for storage at the time of inspection

Exam Room # 1

No Violations Noted - Used as office space

Exam Room # 2

No Violations Noted - Used as office space

Women’s Bathroom

105 CMR 451.123	Maintenance: Interior vent dirty

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash 	sink

Men’s Bathroom

No Violations Noted

Old Building

Main Level

Lobby

105 CMR 451.345	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Women’s Room

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123	Maintenance: Self-closer detached from door

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 2 out of order

Men’s Room

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

Control Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.350	Structural Maintenance: Window sills and wall near windows damaged

105 CMR 451.350	Structural Maintenance: Several window panes broken

Roll Call Room

No Violations Noted

Old Administration Wing

Women’s Room

105 CMR 451.123	Maintenance: Windows not weather tight and structurally sound

Second Floor Break Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	interior of freezer and refrigerator dirty

Men’s Room

105 CMR 451.123	Maintenance: Strong odor observed in bathroom

105 CMR 451.123	Maintenance: Floor dirty

Men’s Locker Room

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sinks

105 CMR 451.123	Maintenance: Windows not weather tight and structurally sound

Women’s Locker Room

Locked at the time of inspection

Officer’s Weight Room

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Lower Report

A Side Cells

105 CMR 451.124*	Water Supply: Insufficient cold water supply in quantity and pressure at handwash 	sink in cell # 2

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash 	sink in cell # 2 and 4

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink # 1, 3, and 5

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 1

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted over in all cells

B Side Cells

105 CMR 451.123	Maintenance: Handwash sink dirty in cell # 2 and 5

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink # 4 and 5

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 1, 2, and 3

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink in all cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted over in all cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in all cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in all cells

105 CMR 451.360	Protective Measures: Live insects observed in sink fixture in cell # 2

1st Floor Training Building

Offices and Classroom

No Violations Noted

Library

No Violations Noted

Bathroom and Storage Room

105 CMR 451.123*	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Handwash sink dirty

Main Laundry

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Canteen

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Main Level

Old Wing Day Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Side Entry Stairs

105 CMR 451.351	Handrails: Handrail not in a state of good repair, yellow handrail missing from right 	side

Tier Building Dorm Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.353	Interior Maintenance: Portable fans dirty

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk 	stored in windows

Dorm Bathroom

105 CMR 451.123*	Maintenance: Windows not weather tight and structurally sound

105 CMR 451.123	Maintenance: Soap scum on walls in shower units

105 CMR 451.123	Maintenance: Drain flies observed in shower area

105 CMR 451.123	Maintenance: Standing water observed on floor near sink fixtures

105 CMR 451.123	Maintenance: Handwash sink # 8 dirty

105 CMR 451.123	Maintenance: Wall dirty near handicap equipped shower

105 CMR 451.124*	Water Supply: Insufficient hot water supply in quantity and pressure at handwash

sink # 2

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash

sink # 1 and 4

105 CMR 451.124	Water Supply: Insufficient cold water supply in quantity and pressure at handwash

sink # 3

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 980F

First Tier

Common Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Control

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Wet mop left in bucket

105 CMR 451.123	Maintenance: Wall paint damaged

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 4, 5, 6, 9 and 11

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

A & B Side

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # B16 and B26

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # A4, A6, and A7

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # A14 and B12

C & D Side (Administrative Segregation and Segregation Unit)

105 CMR 451.102	Pillows and Linens: No linens provided to inmates in all cells

105 CMR 451.210	Necessary Clothing: Inmates not provided with required clothing in all cells

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353*	Interior Maintenance: Windows dirty and damaged paint in cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # C23 and D4

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # C4, C12, C19, C20, D2, D3, D5, 	D7, D10, D13, C14, D15, D19, D20, D21, D24, and D25

Shower Room D23

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower provided for 20 	inmates

105 CMR 451.123	Maintenance: Walls and floor cover with a thick coat of soap scum

105 CMR 451.123	Maintenance: Window frame badly rusted out in shower room

105 CMR 451.123	Maintenance: Door badly rusted out in shower room

Second Tier

Common Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

Control

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Flying insects observed in shower area

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower stall # 1, 2, 3, 4, 5, and 8

105 CMR 451.123	Maintenance: Soap scum on walls in all shower stalls

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 6 and 10

E & F Side

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # E12

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # E1, E2, E7, and F22

G & H Side

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound in cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in hallway

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # H14

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # G13

105 CMR 451.353	Interior Maintenance: Heater cover missing in hallway

Gym

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water fountain not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

105 CMR 451.353	Interior Maintenance: Wall and floor dirty behind water fountain

Office

105 CMR 451.350	Structural Maintenance: Floor tiles missing

Officer’s Bathroom

105 CMR 451.123	Maintenance: Floor no longer easily cleanable, floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water controls not functioning 	properly

Third Tier	Under renovation at the time of inspection

105 CMR 451.330	Room Temperature: Room temperature ranged from 950F to 1010F in cell and hallway 	in the I & J unit

105 CMR 451.350	Structural Maintenance: Windows not weather tight and structurally sound in cells

Common Area

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Control

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing from shower 	stall # 7 and 9

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water controls not 	functioning properly on handwash sink

CWP Building

First Floor

Entrance

No Violations Noted

Officers’ Bathroom

No Violations Noted

Food Service Area

Dining Room

FC 3-202.16	Sources, Specifications; Specifications for Receiving: Inappropriate water source for 	ice, water filter dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, vent cover missing on ice machine

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, front vent area not secured properly

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior of 	ice machine dirty

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Kitchen

FC 3-501.16(A)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper hot holding temperature, warmer temperature 	recorded at 1050F

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on refrigerator unit

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution inadequate 	concentration according to the manufacturers recommendations

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not covered properly in closet

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 550F

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, three compartment sink faucet leaking

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Windows not weather tight and 	structurally sound

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

Inmate Housing Area

Shower and Bathroom

105 CMR 451.123*	Maintenance: Metal access panels rusted

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.123	Maintenance: Shower tiles damaged

105 CMR 451.123	Maintenance: Soap dispenser # 3 damaged

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink # 6

Supply Cage

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Hallway

105 CMR 451.353	Interior Maintenance: Outlet cover damaged

Laundry Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, dryer vent detached

105 CMR 451.353	Interior Maintenance: Dryer positioned securely on top of the washer machine

105 CMR 451.353	Interior Maintenance: Floor paint damaged

Recreational and Weight Room

105 CMR 451.350*	Structural Maintenance: Windows not weather tight and structurally sound

Second Floor

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling tiles water damaged

Bathroom

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.123	Maintenance: Hot water controls not functioning properly on sink # 1 and 2

105 CMR 451.123	Maintenance: Faucet loose on sink fixture # 1

105 CMR 451.123	Maintenance: Standing water observed on floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, urinal out of order

Plaza # 1

105 CMR 451.350	Structural Maintenance: Window # 4 not weather tight and structurally sound

105 CMR 451.353	Interior Maintenance: Window sill # 4 damaged

Plaza # 2

105 CMR 451.350	Structural Maintenance: Window # 4, 5, and 6 not weather tight and structurally sound

105 CMR 451.353	Interior Maintenance: Window sill # 4 damaged

Plaza # 3

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

Room # 1

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Outlet cover missing

Room # 2

105 CMR 451.350	Structural Maintenance: Wall damaged

Room # 3

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Inappropriate outlet cover

Room # 4

No Violations Noted

Room # 5

No Violations Noted

Room # 6

No Violations Noted

Room # 7

105 CMR 451.350	Structural Maintenance: Wall damaged

Room # 8

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Outlet cover not secured properly

105 CMR 451.353	Interior Maintenance: Outlet cover damaged

Room # 9

105 CMR 451.350	Structural Maintenance: Wall damaged

Room # 10

105 CMR 451.350	Structural Maintenance: Wall damaged

Work Release Building-House # 1

First Floor

Hallway

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: One light fixture not functioning properly

105 CMR 451.123	Maintenance: Ceiling tile not secured properly

105 CMR 451.123	Maintenance: Vent fan dirty

Bedrooms

105 CMR 451.353	Interior Maintenance: Window shade damaged in room # 2

Food Service Area

Dining Room

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on refrigerator unit

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	countertop and drawers dirty

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Windows not weather tight and 	structurally sound

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged in entryway

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed on countertop 	and in drawers

Kitchen

FC 3-202.16	Sources, Specifications; Specifications for Receiving: Inappropriate water source for 	ice, water filter dirty

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in refrigerator 	unit dirty with possible mold growth

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on freezer unit

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice build up observed in freezer unit

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of refrigerator unit cover in a mold like substance

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior of 	ice machine dirty

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, can 	opener dirty

FC 5-202.13	Plumbing System, Design: Air gap between pipe and flood rim, air gap less than twice 	the diameter of the pipe near ice machine

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens damaged

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sink

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Rodent droppings observed on oil 	containers next to stove

Second Floor

Stairway

105 CMR 451.353	Interior Maintenance: Rubber slip mats not secured properly to threads

Hallway

No Violations Noted

Bedrooms

No Violations Noted

Bathroom

No Violations Noted

Basement

Laundry Room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, dryer vent damaged and disconnected

105 CMR 451.353	Interior Maintenance: Standing water observed on floor

Chemical Storage Room

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Day Room Between Houses

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Vent dirty

Work Release Building-House # 2

First Floor

Officer’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Second and Third Floor

Bathroom

No Violations Noted

Bedrooms

105 CMR 451.141	Screens: Screen damaged in room # 8

105 CMR 451.322	Cell Size: Inadequate floor space in dorm rooms

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	room # 8

Basement

Day Room

105 CMR 451.331	Radiators and Heating Pipes: Insulation damaged on ceiling pipes

Bathroom

105 CMR 451.123*	Maintenance: Vent fan dirty

105 CMR 451.123*	Maintenance: Possible mold growth on shower units

105 CMR 451.123*	Maintenance: Floor drain cover missing in shower # R1

105 CMR 451.123	Maintenance: Floor drain cover missing in shower # L2, R1, and R2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # L1 and L2

Warehouse

Men’s Room

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F

Women’s Room

105 CMR 451.123	Maintenance: Ceiling vent dirty

Slop Sink Room

No Violations Noted

Walk-in Freezer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, entryway and wall damaged

Kitchenette

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

Observations and Recommendations

- The Lower Report cells were not maintained properly. The Department recommends the cells be periodically checked to ensure all toilets are flushed, cells are cleaned out, and plumbing is maintained in good working order.

- The Third Tier was still closed at the time of inspection. Several cells have trash and other debris on work surfaces The Department recommends the unit be thoroughly cleaned out prior to reoccupying the J & I and the K & L units.

- Expired eye wash solution was found in the Warehouse Slop Sink Closet. The Department recommends replacing all expired eyewash solutions.

- Electric fly traps in the food service area were full of dead flies at the time of inspection. The Department recommends cleaning them more frequently.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Sean McAdam, Superintendent

Captain William Buckley, EHSO

Billerica Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS