The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

mikel.beacham@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

February 17, 2010

Thomas M. Hodgson, Sheriff

Bristol County Sheriff's Office

Bristol County Jail and House of Correction

400 Faunce Corner Road

North Dartmouth, MA 02747

Re: Facility Inspection

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bristol County Jail and House of Correction on February 5, 2010 accompanied by Brian Bigelow, Internal Auditor. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Entrance

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Male Shower Room

No Violations Noted

Female Shower Room

No Violations Noted

Inside Units

EC Unit

Shower

105 CMR 451.123		Maintenance: Tiles damaged

Cells

105 CMR 451.350*		Structural Maintenance: Floors damaged in many cells

105 CMR 451.321*		Overcrowding: Cells double-bunked

EE Unit

Showers

105 CMR 451.123		Maintenance: Tiles damaged

Cells

105 CMR 451.350*		Structural Maintenance: Floors damaged in many cells

ED Unit

Showers

105 CMR 451.123*		Maintenance: Tiles damaged

Cells

105 CMR 451.321*		Overcrowding: Cells double-bunked

EB Unit (Female)

Main Area

105 CMR 451.350		Structural Maintenance: Floor tiles damaged

Bathrooms

105 CMR 451.123		Maintenance: Wall paint chipping/peeling

Cells

105 CMR 451.321*		Overcrowding: Cells double-bunked

105 CMR 451.350		Structural Maintenance: Vent damaged in dorm

Showers

105 CMR 451.123		Maintenance: Door frame damaged

105 CMR 450.127		Hot Water for Showers: Hot water temperature recorded at 96ºF in showers

105 CMR 451.123		Maintenance: Shower curtain dirty

Janitors Closet

105 CMR 451.350		Structural Maintenance: Wall paint chipping/peeling

EA Unit (Female)

Control

105 CMR 451.350		Structural Maintenance: Ceiling tiles damaged

Cells

105 CMR 451.321*		Overcrowding: Cells double-bunked

FB Unit

Control

No Violations Noted

Showers

105 CMR 450.127		Hot Water for Showers: Hot water temperature recorded at 97ºF in showers

105 CMR 451.123*		Maintenance: Vents dirty

105 CMR 451.123		Maintenance: Floor damaged in FG-B21

105 CMR 451.123		Maintenance: Wall tiles damaged in FG-B22

105 CMR 451.123		Maintenance: Light out in FG-B18

Cells

105 CMR 451.321*		Overcrowding: Cells double-bunked

105 CMR 450.330		Heating: Room temperature recorded at 56oF in cells

FA Unit

Control

No Violations Noted

Showers

105 CMR 451.123		Maintenance: Wall tiles damaged in FG-A18 & FM-A18

105 CMR 451.123		Maintenance: Floor damaged in FG-A18 & FM-A19

Cells

105 CMR 451.321*		Overcrowding: Cells double-bunked

105 CMR 450.340		Illumination: Light not working properly in cell  A25

Courtyard Units

GA Unit

Showers

105 CMR 451.123		Maintenance: Light cover cracked in GM-A27

105 CMR 451.123		Maintenance: Floor damaged in GM-A27 & GG-H28

105 CMR 451.123		Maintenance: Wall tiles damaged in GG-A30 & GG-A31

105 CMR 451.123		Maintenance: Interior of door paint chipping/peeling in GM-A31

Bathrooms

105 CMR 451.123		Maintenance: Partition missing between toilets in upper bathroom

Cells

105 CMR 451.350	Structural Maintenance: Light cover missing in cells # 13 & 41

GB Unit

Main Area

105 CMR 451.353	Interior Maintenance: Vents dirty

Showers

105 CMR 451.123		Maintenance: Floors damaged in GG-B28, GG-B27 &BM-B27

105 CMR 451.123		Maintenance: Paint chipping/peeling in GG-B28 & BM-B27

105 CMR 451.123		Maintenance: Showers dirty on upper level

Bathrooms

105 CMR 451.123		Maintenance: Toilet # 2 not working in lower bathroom

105 CMR 451.123		Maintenance: Floors dirty in upper bathroom

Cells

105 CMR 451.350		Structural Maintenance: Window needs caulking in cell # 24

105 CMR 451.102	Pillows and Linens: Insufficient pillow and linens available for inmates many cells

GC Unit (Former Gym)

Main Area

105 CMR 451.353	Interior Maintenance: Vents dirty

Bathroom

105 CMR 451.123*		Maintenance: Walls damaged in showers

105 CMR 450.340		Illumination: Light out

105 CMR 451.126	Hot Water: Hot water temperature 98ºF

Sleeping Area

105 CMR 451.103		Mattresses: Mattress ripped on beds # 1, 32 & 41

105 CMR 451.101	Blankets: Blanket ripped on bed # 3

Laundry Room

No Violations Noted

HB Unit

Main Area

105 CMR 451.353	Interior Maintenance: Floor dirty

Staff Bathroom

No Violations Noted

Showers

105 CMR 451.123		Maintenance: Showers dirty

105 CMR 451.123		Maintenance: Interior of door paint chipping/peeling on all showers

105 CMR 451.123		Maintenance: Wall paint chipping/peeling in HG-B22, HG-B23 & HM-B-23

105 CMR 451.123		Maintenance: Ceiling paint chipping/peeling in HG-B-26 & HM-B23

Cells

105 CMR 451.350	Structural Maintenance: Door paint chipping/peeling cell # 6, 7, 33 & 34

HA Unit

Main Area

105 CMR 451.353	Interior Maintenance: Vents dirty

105 CMR 451.353	Interior Maintenance: Floors dirty

Showers

105 CMR 451.123		Maintenance: Water not draining properly in HG-A22

105 CMR 451.123		Maintenance: HG-A23 not working

105 CMR 451.123		Maintenance: Wall tiles damaged in HG-A23 & HG-A26

105 CMR 451.123		Maintenance: Interior of door paint chipping/peeling on all showers

Cells

105 CMR 450.340		Illumination: Light not working properly in cell # 16

Inside Areas

Rotunda

No Violations Noted

Laundry

No Violations Noted

Trash Room

No Violations Noted

Receiving Yard

No Violations Noted

Maintenance Shop

No Violations Noted

Print Shop

No Violations Noted

Wood Shop

No Violations Noted

Staff Dining Room

No Violations Noted

Property Room

No Violations Noted

Dispatch / Receiving

Hallway

105 CMR 451.350*		Structural Maintenance: Ceiling tile damaged in hallway

Bathroom AI-I21

No Violations Noted

Cells

105 CMR 451.350*		Structural Maintenance: Floors dirty

HSU

Staff Bathroom

No Violations Noted

Inmate Bathroom 1

No Violations Noted

Inmate Bathroom 10

No Violations Noted

Inmate Bathroom 28

105 CMR 451.126	Hot Water: Hot water temperature 98ºF

Inmate Shower Room

No Violations Noted

Offices

105 CMR 451.350*		Structural Maintenance: Ceiling tiles damaged

Dental Area

No Violations Noted

Single Cells

No Violations Noted

Ward A

No Violations Noted

Sector D

Muster Room

No Violations Noted

Classrooms

No Violations Noted

Chapel

No Violations Noted

Food Service

Kitchen

FC 6-501.11			Repairing: Floor tiles damaged

FC 5-202.12			Hot Water: Hot water temperature recorded at 105ºF at handwash sink

FC 5-501.16			Receptacles at Handwash Sinks: No trash at sink in main area

FC 4-501.11(A)	Equipment Maintenance: Ice machine # 2 not working

FC 4-601.11(A)	Equipment Cleaning: Fan near ice machine dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket damaged on Hobart warmer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket damaged on Traulsen warmer

FC 5-501.16			Receptacles at Handwash Sinks: No trash at sink near dishwasher

FC 6-501.12(A)	Cleaning Physical Facilities: Ceiling dirty near dishwasher

FC 6-501.11	Repairing: Tile molding damaged near dishwasher

Inmate Dining

FC 6-501.11	Repairing: Ceiling tiles damaged

Dry Food Storage

FC 6-202.11	Light Bulbs, Protective Shielding: Light bulb missing

Cooler 1

No Violations Noted

Cooler 2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket damaged

Freezer 1

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket damaged

FC 4-501.11(A)	Equipment Maintenance: AC unit leaking/ice build-up on pipes

Modular Building

1 West

105 CMR 451.350		Structural Maintenance: Ceiling damaged at entrance

Laundry

No Violations Noted

Bathroom 1 (right side)

105 CMR 451.123*		Maintenance: Wall paint chipping/peeling

105 CMR 451.123*		Maintenance: Toilet stalls rusting

105 CMR 451.123*		Maintenance: Cove molding damaged

105 CMR 451.123		Maintenance: Ceiling paint chipping/peeling

105 CMR 451.123		Maintenance: Showers dirty

105 CMR 451.126	Hot Water: Hot water temperature 100ºF

Bathroom 2 (left side)

105 CMR 451.123*		Maintenance: Wall paint chipping/peeling

105 CMR 451.123*		Maintenance: Walls dirty

105 CMR 451.123*		Maintenance: Cove molding damaged

105 CMR 451.126		Hot Water: Hot water temperature 101ºF

Dorms

105 CMR 451.353*		Interior Maintenance: Molding damaged

Staff Bathroom

No Violations Noted

Janitors Closet

105 CMR 451.350		Structural Maintenance: Cove molding damaged

1 East

Bathroom 1 (right side)

105 CMR 451.123		Maintenance: Ceiling paint chipping/peeling

105 CMR 451.121(A)		Privacy: No privacy partition between toilets/showers

105 CMR 451.126*		Hot Water: Hot water temperature recorded at 97ºF

105 CMR 451.123		Maintenance: Cove molding damaged

Bathroom 2 (left side)

105 CMR 451.123		Maintenance: Ceiling paint chipping/peeling

105 CMR 451.121(A)		Privacy: No privacy partition between toilets/showers

105 CMR 451.123*		Maintenance: Wall paint peeling

105 CMR 451.123*		Maintenance: Shower paint peeling

105 CMR 451.123		Maintenance: Cove molding damaged

105 CMR 451.123		Maintenance: Toilet # 1 not working

Dorms

105 CMR 451.353*		Interior Maintenance: Cove molding damaged

105 CMR 451.350*		Structural Maintenance: Walls damaged in some rooms

Janitors Closet

No Violations Noted

Staff Bathroom

No Violations Noted

2 West

Bathroom 1 (right side)

105 CMR 451.123*		Maintenance: Floor tile at entrance damaged

105 CMR 451.123		Maintenance: Cove molding damaged

105 CMR 451.123*		Maintenance: Wall paint chipping/peeling

105 CMR 451.123*		Maintenance: Toilet stalls rusting

105 CMR 451.123		Maintenance: Wall damaged

105 CMR 451.121(A)*		Privacy: No privacy partition between toilets/showers

Bathroom 2 (left side)

105 CMR 451.123*		Maintenance: Wall paint chipping/peeling

105 CMR 451.123		Maintenance: Cove molding damaged

105 CMR 451.123*		Maintenance: Toilet stalls rusting

105 CMR 451.121(A)*		Privacy: No privacy partition between toilets/showers

Dorms

105 CMR 451.353*		Interior Maintenance: Vents dirty

Staff Bathroom

No Violations Noted

2 East

Bathroom 1 (right side)

105 CMR 451.123*		Maintenance: Toilet stalls rusting

105 CMR 451.123*		Maintenance: Wall paint chipping/peeling

105 CMR 451.121(A)*		Privacy: No privacy partition between toilets/showers

105 CMR 451.123		Maintenance: Ceiling paint chipping/peeling

Bathroom 2 (left side)

105 CMR 451.123		Maintenance: Sink # 7 loose

105 CMR 451.123		Maintenance: Sink # 4, 5 & 6 not working properly

105 CMR 451.123		Maintenance: Wall damaged under sinks

105 CMR 451.121(A)*		Privacy: No privacy partition between toilets/showers

105 CMR 451.123*		Maintenance: Wall paint chipping/peeling

Dorms

No Violations Noted

Staff Bathroom

No Violations Noted

Observations and Recommendations:

- Inmate compliant regarding insufficient pillows

- Inmate compliant regarding temperature of cells. The temperature did seem low in a number of cell blocks throughout the facility

- Inmate complaint regarding trash barrel covers missing in EB Unit (female unit)

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Mikel Beacham

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

Francis Haddocks, Deputy Superintendent
Steven Souza, Assistant Deputy Superintendent, Security

Joe Machado, Environmental Health Officer

Brian Bigelow, Internal Auditor

Dartmouth Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Kevin M. Burke, Executive Office of Public Safety