The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

mikel.beacham@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

March 5, 2010

Thomas M. Hodgson, Sheriff

Bristol County Sheriff's Office

Dartmouth Women’s Center

400 Faunce Corner Road

North Dartmouth, MA 02747

Re: Facility Inspection

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bristol County Sheriff's Office Dartmouth Women’s Center on February 11, 2010 accompanied by Joe Machado, Environmental Health and Safety Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Interior

Main Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Officers Room

FC 4-601.11(A)			Equipment: Microwave dirty

FC 4-601.11(C)			Equipment: Refrigerator gasket damaged

FC 4-501.11(A)			Equipment Maintenance: Handle missing on microwave

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Food Service Area (There is no food cooked in this facility)

Dining Room

FC 6-501.11			Repairing: Ceiling tiles damaged

Kitchen

FC 6-501.11			Repairing: Window cracked at exit door

FC 4-903.11(B)(2)		Protection of Clean Items, Storing: Pots and pans not inverted

Staff Bathroom

105 CMR 451.123	Maintenance: Counter top damaged at handwash sink

Rear Hall by Weight Room

No Violations Noted

A Wing

General

105 CMR 451.350	Structural Maintenance: Window cracked in Day Room

105 CMR 451.383(A)	Fire Safety System: Fire Alarm on exit door not working properly

Bathroom

105 CMR 451.123	Maintenance: Light out

105 CMR 451.123	Maintenance: Paint on ceiling vent chipping/peeling

105 CMR 451.123		Maintenance: Light cover in shower area coming loose

B Wing

General

105 CMR 451.322*		Cell Size: Rooms double bunked

105 CMR 451.350	Structural Maintenance: Window cracked in Day Room

105 CMR 451.344	Illumination in Habitable Areas: Light out in Day Room

Bathroom

105 CMR 451.123	Maintenance: Paint on ceiling chipping/peeling

105 CMR 451.130	Hot Water: Shower water temperature 120ºF

105 CMR 451.121(A)	Privacy: 2 Shower curtains missing

D Wing

General

105 CMR 451.322*		Cell Size: Rooms double bunked

105 CMR 451.103		Mattresses: Mattress ripped in D10

Bathroom

105 CMR 451.123		Maintenance: 1 toilet in bathroom J2-D8 not working

105 CMR 451.123	Maintenance: Light out in J2-D8

105 CMR 451.123		Maintenance: Partitions between toilets rusty

C Wing

General

105 CMR 451.322*		Cell Size: Rooms double bunked

105 CMR 451.103		Mattresses: Mattress damaged in room # C3, C6 & C8

Bathroom

105 CMR 451.123		Maintenance: Shower floor damaged in shower # 1

Exterior

105 CMR 451.350	Structural Maintenance: Concrete damaged on walkway between visiting area and main office

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Mikel Beacham

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

Francis Haddocks, Deputy Superintendent
Steven Souza, Assistant Deputy Superintendent, Security

Joe Machado, Environmental Health and Safety Officer

Dartmouth Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Kevin M. Burke, Executive Office of Public Safety