The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

Phone: 781-828-7700 Fax: 781-828-7703



MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

CHARLES D. BAKER

Governor

KARYN E. POLITO

Lieutenant Governor

 June 25, 2015

Allison Hallett, Superintendent

Massachusetts Alcohol and Substance Abuse Center

2 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection - Massachusetts Alcohol and Substance Abuse Center, Bridgewater

Dear Superintendent Hallett:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Alcohol and Substance Abuse Center on June 12, 2015 accompanied by Michael DeCosta, Environmental Health and Safety/Fire Safety Officer. Violations noted during the inspection are listed below including 20 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Control Center**

*Lobby*

 No Violations Noted

*Bathroom*

Unable to Inspect – Out-of-Order

*Slop Sink*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, sink not working properly

*Kitchenette*

FC 4-903.11(A)(2) Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

**Administration Building # 5**

*Lobby*

 No Violations Noted

*Female Bathroom # 102*

 No Violations Noted

*Male Bathroom # 143*

 No Violations Noted

*Male Officer’s Locker Room # 114*

 No Violations Noted

*Female Officer’s Locker Room # 115*

 No Violations Noted

*Roll Call Room # 117*

 No Violations Noted

*Slop Sink # 121*

 No Violations Noted

*Classrooms*

 No Violations Noted

*Room # 128*

 No Violations Noted

*Room # 108*

 No Violations Noted

**Food Service Area # 6**

*Kitchen*

 No Violations Noted

*Food Storage # 150*

 No Violations Noted

*Dining Area*

 No Violations Noted

*Administrative Assistant Office*

 No Violations Noted

**Intake # 6**

*Toxic/Caustic Cabinet*

 No Violations Noted

*Inmate Bathroom # 151*

 No Violations Noted

*Slop Sink Room # 152*

 No Violations Noted

*Urinalysis Room # 153*

 No Violations Noted

*Staff Bathroom # 154*

 No Violations Noted

*Biohazard Storage Room # 155*

 No Violations Noted

*Laundry Cage*

 No Violations Noted

*Medication Room # 161*

 No Violations Noted

*X-Ray Room # 165*

 No Violations Noted

*Dentist Office # 162 and 164*

 No Violations Noted

*Shower Room # 167*

105 CMR 451.123\* Maintenance: Ceiling vent dusty in shower

*Shake Room # 168*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Room # 169*

 No Violations Noted

*Property Room # 170*

FC 4-501.11(B)\* Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

*Property Room # 171*

 No Violations Noted

*Doctor’s Office # 172*

 No Violations Noted

**A Barracks**

**A1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Officer’s Station # 186*

 No Violations Noted

*Officer’s Bathroom # 185*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Counselor’s Office # 188*

 No Violations Noted

*Sleeping Area*

 No Violations Noted

*Laundry*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

105 CMR 451.123 Maintenance: Wall damaged at entrance of shower

**A2 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Janitor’s Closet*

 No Violations Noted

*Sleeping Area*

 No Violations Noted

*Inmate Bathroom* Unable to Inspect – Occupied

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**B Barracks**

**B1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Officer’s Station # 201*

 No Violations Noted

*Officer’s Bathroom # 201A*

 No Violations Noted

*Toxic and Caustic Storage Room # 203*

 No Violations Noted

*Sleeping Area*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

105 CMR 451.123\* Maintenance: Soap scum on floor in shower area

**B2 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Sleeping Area*

 No Violations Noted

*Slop Sink Room # 200*

 No Violations Noted

*Inmate Bathroom* Unable to Inspect Shower – Occupied

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

105 CMR 451.123\* Maintenance: Wall paint peeling

**C Barracks**

**C Recreational Area**

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, water fountain shut off due to leak

*Officer’s Station # 218*

 No Violations Noted

*Officer’s Bathroom # 218A*

 No Violations Noted

*Recreational Office # 216*

 No Violations Noted

*Workout Area*

 No Violations Noted

*Laundry*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**C1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Janitor’s Closet Room # 215*

 No Violations Noted

*Sleeping Area*

 No Violations Noted

*Inmate Bathroom* Unable to Inspect Shower – Occupied

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**D Barracks**

**D1 Barracks**

105 CMR 451.322\* Cell Size: Inadequate floor space in dorm room

*Officer’s Station*

 No Violations Noted

*Storage Closet*

 No Violations Noted

*Sleeping Area*

 No Violations Noted

*Medical Cells*

 No Violations Noted

*Inmate Bathroom* Unable to Inspect – Occupied

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

*Nurse’s Station # 231*

 No Violations Noted

*Nurse’s Bathroom*

 No Violations Noted

*Exam Room # 233*

 No Violations Noted

**D2 Barracks**

105 CMR 451.322 Cell Size: Inadequate floor space in dorm room

*Doctor’s Office*

 No Violations Noted

*Sleeping Area*

105 CMR 451.350\* Structural Maintenance: Back door not rodent and weathertight

*Slop Sink Room # 230*

 No Violations Noted

*Inmate Bathroom* Unable to Inspect Shower – Occupied

105 CMR 451.121(A)\* Privacy: No privacy partition between showers

**Observations and Recommendations**

1. The inmate population was 173 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

 Sincerely,

 Marian Robertson

 Environmental Health Inspector, CSP, BEH

cc: Suzanne K. Condon, Associate Commissioner, Director, BEH

 Steven Hughes, Director, CSP, BEH

Jay Youmans, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Carol Higgins O’Brien, Commissioner, DOC

 Michael DeCosta, EHSO/FSO

Eric J. Badger, CHO, Health Agent, Bridgewater Board of Health

 Clerk, Massachusetts House of Representatives

 Clerk, Massachusetts Senate

 Daniel Bennett, Secretary, EOPSS