The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

September 28, 2012

Michael Bellotti, Sheriff

Norfolk County Correctional Center

P.O. Box 149

200 West Street
Dedham, MA 02027

Re: Facility Inspection

Dear Sheriff Bellotti:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Dedham Alternative Center on September 4, 2012 accompanied by Officer Jim Gannon and Amy Riordan, Environmental Health Inspector of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

SECOND FLOOR

South Wing

Main Area

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Bedrooms

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, trash bag covering light in

cell # 31

105 CMR 451.350	Structural Maintenance: Broken light shield in cell # 27 and 30

Storage Cell

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Air vent dusty

Bathroom

105 CMR 451.123	Maintenance: Urinals not working properly

105 CMR 451.123	Maintenance: Wall damaged in shower # 1

105 CMR 451.123	Maintenance: Floor not easily cleanable in shower # 1

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Mold-like substance in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head broken in shower

# 1 and 2

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower # 3 leaking

105 CMR 451.350	Structural Maintenance: Light shield broken

North Wing

Main Area

105 CMR 451.350	Structural Maintenance: Floor tiles missing at the top of stairs

Bedrooms

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, sweatshirt covering light in

cell # 9

105 CMR 451.350	Structural Maintenance: Light shield broken in cell # 16

Bathroom

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Mold-like substance in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, all showers leaking

105 CMR 451.123*	Maintenance: Ceiling vents dusty

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1400F

105 CMR 451.350	Structural Maintenance: Light shield missing

FIRST FLOOR

South Wing

Main Area

No Violations Noted

Bedrooms

105 CMR 451.350	Structural Maintenance: Light shield missing in cell # 21

Bathroom

105 CMR 451.123	Maintenance: Floor dirty, debris on floor in bathroom

105 CMR 451.123	Maintenance: Mold-like substance on ceiling

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

North Wing

North-side Classroom

No Violations Noted

Main Area

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bedrooms

105 CMR 451.102	Pillows and Linens: No pillow in cell # 7

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1360F

105 CMR 451.123	Maintenance: Ceiling damaged above toilet # 1

105 CMR 451.123	Maintenance: Showers used for storage of cleaning products

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

MAIN AREA

Main Area

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice machine missing door

Office

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom

105 CMR 451.123	Maintenance: Floor not easily cleanable, broken floor tiles

Laundry Room

105 CMR 451.350*	Structural Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes insulation damaged

Main Entrance Utility Room

105 CMR 451.350	Structural Maintenance: Floor drain broken

105 CMR 451.353	Interior Maintenance: Receptacle missing shield

Classroom

No Violations Noted

MAINENANCE BUILDING

Office Bathroom

105 CMR 451.350*	Structural Maintenance: Light shield missing

Bathroom #2

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Observations and Recommendations

- The inmate population was 88 at the time of inspection

- Chemical dispenser hose too long inside laundry utility closet

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Peter Perroncello, Superintendant

Sgt. Dave Munchback, Environmental Health and Safety Officer

Bill Earley, Preventive Maintenance Manager

Dedham Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS