The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

Nicholas.Gale@massmail.state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

February 5, 2013

Lisa Mitchell, Superintendent

OCCC Kitchen Core Services

1 Administration Road

Bridgewater, MA Zip 02324

Re: OCCC Kitchen Core Services Facility Inspection

Dear Superintendant Mitchell:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the OCCC Kitchen Core Services on January 24, 2013 accompanied by Bill Pappas, EHSO and Paul Halfmann, Assistant Director of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Loading Dock

No Violations Noted

Trap Office

No Violations Noted

Main Kitchen

Hallway

FC 6-202.11(A)	*		Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 				or protected by light shields, light shield missing near offices

Swill Room

No Violations Noted

Directors Office

No Violations Noted

Cooler # 9

No Violations Noted

Cart Storage Room

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots/Pans not stored in the inverted/self-draining position

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater 	than recommended concentration, 200 ppm

Handwash Sink near Cart Storage Room

No Violations Noted

Grease Hood Area

No Violations Noted

Diet Kitchen

No Violations Noted

Roll Call Room

No Violations Noted

Office # 155

No Violations Noted

Office # 157

FC 6-501.11			Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 				not functioning properly

Office # 158

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged outside of office # 158

Ovens

No Violations Noted

Three-Compartment Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

Cooler # 1

No Violations Noted

Cooler # 3

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty

Hobart Refrigerator # 1294

FC 4-501.11(A)			Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, refrigerator door broken

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, refrigerator door gaskets damaged

Freezer # 1

Freezer Full – Unable to Inspect

Cooler # 2

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, milk spilled on floor

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, gap under large cooler door

Ice Machines

No Violations Noted

Dry Storage

No Violations Noted

Inmate Bathroom

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink, dispenser broken

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, bathroom toilet dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, bathroom floor dirty

Utensils Closet

No Violations Noted

New Pot Room

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater 	than recommended concentration, 200 ppm

FC 6-501.114(A)		Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 				repaired or removed from premises, 3-bay sink not installed

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, no hot water at handwashing sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, wall faucet leaking in swill rinse area

Market Area

Cooler # 4

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall not easily cleanable, wall damaged in far left corner

Cooler # 5

FC 4-903.11(A)(2)		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils left uncovered

Freezer # 2

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, cooler door damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, cooler door gaskets damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damaged

FC 6-101.11(A)(1)	Materials for Construction and Repairs: Surface not easily cleanable, ceiling damaged

Cooler # 6

No Violations Noted

Cooler # 7

FC 6-501.12(A)			Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.11			Maintenance and Operation; Repairing: Facility not in good repair, light out

Staff Bathroom

No Violations Noted

Toxic/Caustic

No Violations Noted

Receiving Office

No Violations Noted

Warehouse

Staff Bathroom

No Violations Noted

Double Door Freezer

FC 4-501.11(A)	*		Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, ice buildup observed in glass light shields

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on walls

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor uneven

Single Door Freezer

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on walls

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on plastic shields

Bakery

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Roaches observed in bakery area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

Three-Compartment Sink and Mechanical Warewashing Area

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, mechanical warewashing machine not functioning properly

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Roaches observed in 3-bay sink

Dry Storage # 127

FC 6-501.11			Maintenance and Operation; Repairing: Facility not in good repair, lights out

Bathroom

No Violations Noted

Cooler # 12

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fans dirty

Storage Room # 121

No Violations Noted

Hobart # 1282

No Violations Noted

Freezer

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice buildup on ceiling

Pot Area

Main Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Inmate Dining Area

Dining Room

No Violations Noted

Double Door Warmer

No Violations Noted

Refrigerator

No Violations Noted

Food Service Line

No Violations Noted

Kitchen Area

No Violations Noted

Handwash Sink

FC 6-501.16			Maintenance and Operation; Cleaning: Wet mop stored in bucket near sink

Mechanical Warewashing Machine

No Violations Noted

Hallway

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, metal molding at bottom of doorways rusted

Slop Sink Room # 111

No Violations Noted

Men’s Bathroom # 112

No Violations Noted

Inmate Bathroom # 114

FC 5-205.15(B)*		Plumbing System, Operations and Maintenance: Plumbing system not maintained in 				good repair, faucet leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, toilet paper holder damaged

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, cold water out-of-order

Women’s Bathroom # 115

No Violations Noted

Toxic and Caustic Storage Room # 118

No Violations Noted

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Bill Pappas, EHSO

Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS