The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: (781) 828-7910

Facsimile: (781) 828-7703

Marian.Robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

January 27, 2014

Tanja Gray, Superintendent

Boston Pre-Release Center

430 Canterbury Street

Roslindale, MA 02131

Re: Facility Inspection – Boston Pre-Release Center, Roslindale

Dear Superintendent Gray:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Boston Pre-Release Center on January 23, 2014 accompanied by Laura Clarke, EHSO, and James Morrone, Director of Security. Violations noted during the inspection are listed below including 31 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

FIRST FLOOR

Lobby

No Violations Noted

Visitor’s Room A1-4

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, microwave handle broken

Female Visitor’s Bathroom A1-5

No Violations Noted

Male Visitor’s Bathroom A1-6

No Violations Noted

Janitor’s Closet A1-7

No Violations Noted

A Wing

Hallway

No Violations Noted

Female Staff Bathroom A1-9

105 CMR 451.123	Maintenance: Sink dirty

Male Staff Bathroom A1-10

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Intake Holding A1-12

No Violations Noted

Property A1-17

No Violations Noted

Holding Cell A1-18

No Violations Noted

Right Weight Room

105 CMR 451.353	Interior Maintenance:  Wall paint damaged

Left Weight Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Male Staff Locker Room A1-29/30

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 840F

Janitor’s Closet A1-31

No Violations Noted

Female Staff Locker Room A1-32/33

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 800F

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1140F

Emergency Electrical Room A1-34A

No Violations Noted

Emergency Electrical Room A1-34

No Violations Noted

Electrical Room A1-35

No Violations Noted

Mechanical Room A1-36 (Medical Waste Storage)

No Violations Noted

Storage/Warehouse A1-38

105 CMR 451.353*	Interior Maintenance: Standing water left in bucket

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Tool Crib A1-39

No Violations Noted

Health Service Unit

Bathroom A1-23

No Violations Noted

Medical Lab A1-24

No Violations Noted

Exam Room A1-25

No Violations Noted

Dental Room A1-26

No Violations Noted

Food Service Area

Bathroom

No Violations Noted

Coffee Station

No Violations Noted

Ice Machine

No Violations Noted

Grease Hood and Prep Table

No Violations Noted

Walk-in Refrigerator

No Violations Noted

Walk-in Freezer

No Violations Noted

Office A1-42

No Violations Noted

Dry Storage Room A1-46

No Violations Noted

Mechanical Warewashing Room

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water leaking out of cabinet connected to spray hose

Food Service Line

No Violations Noted

Supply Room A1-50

No Violations Noted

Rubbish Room (Chemical Storage) A1-51

No Violations Noted

Inmate Dining Room A1-52

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, lights fixtures not functioning properly, 3 lights not operable

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Dining Room A1-53

No Violations Noted

B Wing

Hallway

No Violations Noted

Day Room

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

Laundry Room B1-31

105 CMR 451.353*	Interior Maintenance: Sprinkler head cap missing

105 CMR 451.353*	Interior Maintenance: Walls dusty behind dryers

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged above washer # 1

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling above washer # 1

105 CMR 451.353	Interior Maintenance: Wall unfinished near washer # 3, left in work-person like fashion

Bathroom B1-32

105 CMR 451.123*	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Handsink # 1 not working

105 CMR 451.123	Maintenance: Standing water under toilet stall # 2 on left side

Shower Room B1-33

105 CMR 451.123*	Maintenance: Soap scum on walls in all shower units

105 CMR 451.123*	Maintenance: Soap scum on floors in all shower units

105 CMR 451.123	Maintenance: Wall paint damaged throughout shower room

105 CMR 451.123	Maintenance: Water control missing in shower unit # L3

105 CMR 451.123	Maintenance: Paint peeling on partitions in all showers

105 CMR 451.123	Maintenance: Partitions rusted along bottom in all shower units

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Ceiling paint peeling throughout shower room

Janitor’s Closet B1-34

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350	Structural Maintenance: Wall water damaged

105 CMR 451.353	Interior Maintenance: Standing water on floor

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells triple bunked

C Wing

Day Room

No Violations Noted

Laundry Room C1-31

No Violations Noted

Bathroom C1-32

105 CMR 451.123	Maintenance: Ceiling paint peeling

Shower Area

105 CMR 451.123*	Maintenance: Soap scum on floor in all shower units

105 CMR 451.123*	Maintenance: Shower baseboard damaged in all shower units

105 CMR 451.123*	Maintenance: Shower floor finish damaged in all shower units

Janitor’s Closet C1-34

No Violations Noted

Cells

No Violations Noted

SECOND FLOOR

A Wing

Multi-Purpose Room A2-2

No Violations Noted

Employment Connection Offices

No Violations Noted

Classrooms A2-5/A2-4

No Violations Noted

Barber Shop A2-11

No Violations Noted

Janitor’s Closet A2-12

No Violations Noted

Staff Bathroom A2-34

No Violations Noted

Storage A2-36

No Violations Noted

Administrative Area

Janitor’s Closet A2-24

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Standing water left in bucket

Female Staff Bathroom A2-25

105 CMR 451.123*	Maintenance: Ceiling vent dusty

Male Staff Bathroom A2-26

No Violations Noted

Kitchenette

FC 3-501.16(B)*	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 550F

B Wing

Day Room

105 CMR 451.350*	Structural Maintenance: Wall damaged behind drink machine

105 CMR 451.353	Interior Maintenance: Floor tiles missing near drink machine

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near drink machine

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

Bathroom B2-31

105 CMR 451.123*	Maintenance: Ceiling vents throughout bathroom dusty

Janitor’s Closet B2-32

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.353	Interior Maintenance: Standing water on floor

Shower Room B2-33

105 CMR 451.123*	Maintenance: Soap scum on floors in all shower units

105 CMR 451.123*	Maintenance: Soap scum on walls in all shower units

105 CMR 451.123*	Maintenance: Partitions rusted along bottom in all shower units

105 CMR 451.123	Maintenance: Paint peeling on partitions in all showers

105 CMR 451.123	Maintenance: Wall paint damaged throughout shower room

105 CMR 451.123	Maintenance: Water control missing in shower unit # L4

105 CMR 451.123	Maintenance: Ceiling paint peeling throughout shower room

Laundry Room B2-34

105 CMR 451.353*	Interior Maintenance: Debris behind washer and dryer units

Cells

105 CMR 451.321*	Cell Size: Inadequate floor space, cells triple bunked

C Wing

Day Room

105 CMR 451.353	Interior Maintenance: Floor tiles damaged near drink machine

Laundry Room C2-31

No Violations Noted

Bathroom C2-32

No Violations Noted

Shower Room C2-33

105 CMR 451.123*	Maintenance: Soap scum on floors in all shower units

105 CMR 451.123*	Maintenance: Soap scum on walls in all shower units

Janitor’s Closet C2-34

No Violations Noted

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # C208

Observations and Recommendations

- The inmate count was 159 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Laura Clarke, EHSO

Thomas Goodfellow, Assistant Commissioner, Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS