The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone:  (781) 828-8046

Facsimile:  (781) 828-7703

mikel.beacham@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

January 25, 2010

# Steven O'Brien, Superintendent

# Old Colony Correctional Center

# 1 Administration Road

# Bridgewater, MA 02324

Re: Facility Inspection

Dear Superintendent O’Brien:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; I conducted an inspection of the Bridgewater Correctional Complex Core Services on January 6, 2010 accompanied by Bill Pappas, Environmental Health Officer, John Economines, Deputy Director, Steve Burnett, Deputy Director, and Joe Eugenio, Food Service Director. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Main Kitchen

Swill Room

No Violations Noted

Directors Office

No Violations Noted

Cooler 9

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Gasket damaged

Cart Storage Room

FC 6-501.11			Repairing: Floor tiles damaged

Kitchen

FC 6-501.11			Repairing: Ceiling damaged

FC 4-601.11(A)*		Equipment Cleaning: Mold like build-up behind chute on ice machine

FC 6-501.11*			Repairing: Floor tiles damaged

Roll Call Room

No Violations Noted

Cooler 1

No Violations Noted

Cooler 3

FC 6-501.11			Repairing: Floor grate damaged

Baxter Ovens

FC 4-501.11(A)			Maintenance and Operation, Equipment: Shelf 3 broken

Inmate Bathroom

FC 6-501.12(A)			Maintenance and Operation: Cleaning: Vent dirty

Utensil Cabinet

No Violations Noted

Freezer 1

FC 6-501.12(A)			Maintenance and Operation: Cleaning: Debris on floor

FC 6-501.11*			Repairing: Floor tiles damaged

Cooler 2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Gasket damaged

FC 6-501.11*			Repairing: Floor tiles damaged

Dry Storage

No Violations Noted

Market Area

Cooler 4

FC 6-501.11*			Repairing: Floor tiles outside door damaged

FC 6-501.11			Repairing: Diamond plate molding damaged

Cooler 5

No Violations Noted

Freezer 2

FC 6-501.11*			Repairing: Floor tiles damaged

Cooler 6

No Violations Noted

Inmate Bathroom

No Violations Noted

Toxic/Caustic

No Violations Noted

Warehouse

Double Door Freezer

FC 6-501.12(A)			Maintenance and Operation: Cleaning: Debris on floor

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Gasket damaged

FC 6-303.11	Light Intensity: Light out

Single Door Freezer

FC 4-501.11(A)			Maintenance and Operation, Equipment: Fan unit not working

Bakery

FC 4-501.11(A)			Maintenance and Operation, Equipment: Refrigerator not working

FC 4-903.11(B)(2)*		Protection of Clean Items, Storing: Pots and pans not inverted

FC 6-501.11*			Repairing: Floor tiles damaged

Dry Storage

FC 6-201.16(A)			Design, Construction, and Installation; Cleanability: Walls not easily cleanable (paint)

Bathroom

No Violations Noted

Cooler 12

FC 6-501.11			Repairing: Floor tiles damaged

Cooler 11

No Violations Noted

Freezer

FC 6-202.11			Light Bulbs, Protective Shielding: 1 light missing shield

FC 4-501.11(A)			Maintenance and Operation, Equipment: Ice build-up on ceiling and floor

Pot Area

Main Area

FC 3-305.11(A)(3)		Food Storage: Steel coolers/containers stored on ground

FC 3-305.11(A)(3)		Food Storage: Igloo coolers stored on ground

FC 4-903.11(B)(2)*		Protection of Clean Items, Storing: Pots and pans not inverted

FC 5-501.16(C)*		Refuse, Recyclables, and Returnable’s; Numbers and Capacities: No conveniently 				located waste receptacle at handwashing sink

FC 6-201.16(A)			Design, Construction, and Installation; Cleanability: Wall dirty under hose

FC 6-501.12(A)			Maintenance and Operation: Cleaning: Debris on floor

Inmate Bathroom

No Violations Noted

Dining Area

FC 6-501.11*			Repairing: Floor tiles damaged

FC 4-501.11(A)			Maintenance and Operation, Equipment: Dishwasher broken

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Mikel Beacham

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

Sgt. Bill Pappas, Environmental Health Officer, Bridgewater Complex Core Services

Joe Eugenio, Food Service Director, Bridgewater Complex Core Services

John Economines, Deputy Director, Bridgewater Complex Core Services

Steve Burnett, Deputy Director, Bridgewater Complex Core Services

Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Kevin M. Burke, Executive Office of Public Safety