The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

May 20, 2010

Duane MacEachern, Superintendent

MCI Shirley

P.O. Box 1218

Shirley, MA 01464

Re: Facility Inspection

Dear Superintendent MacEachern:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Shirley on May 10, 11, 12, 13 and 14, 2010 accompanied by Robert Fournier, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ADMINISTRATION BUILDING

Hallway

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Female Staff Locker Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water doesn’t work

Male Staff Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Handwash sink cracked

Female Staff Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Role Call Room

No Violations Noted

Break Room

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Janitor’s Closet

No Violations Noted

Vending Area

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water stained

PROGRAMS BUILDING

Female Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Archive File Room

105 CMR 451.353*	Interior Maintenance: Unfinished floor

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350	Structural Maintenance: Ceiling leaks

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Hole in the wall

105 CMR 451.353	Interior Maintenance: Missing electrical cover

Break Room

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Inmate Bathroom

No Violations Noted

Utility Room (C126)

No Violations Noted

Utility Closet

No Violations Noted

EDUCATION BUILDING

Supply Room

No Violations Noted

Staff Break Room

No Violations Noted

Inmate Bathroom

No Violations Noted

Mop Closet

105 CMR 451.353	Interior Maintenance: Missing light shields

Library

No Violations Noted

Staff Bathroom

Unable to inspect, in use

Classrooms

No Violations Noted

VOCATIONAL EDUCATION

Main Door

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

Canteen Storage

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

Fatherhood Office

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Barber Shop

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink leaks when turned on

CRA Room

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

New Classrooms

105 CMR 451.353	Interior Maintenance: Uncovered junction boxes

Inmate Bathroom

Unable to inspect, in use

Sewing Shop

No Violations Noted

Bathroom (sewing shop)

Unable to inspect, in use

Canteen Processing Room

No Violations Noted

Exterior Door

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Sewing Shop Storage Door

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Staff Bathroom

Unable to Inspect, in use

Weight Room

No Violations Noted

OPERATIONS/VISITING ROOM

Visiting Room

Visiting Area

No Violations Noted

Inmate Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Tiles missing near toilet

Men’s Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Female Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

Operations

Female Bathroom

No Violations Noted

Men’s Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not draining properly

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Light not functioning properly

GYM

105 CMR 451.350	Structural Maintenance: Insulation falling from ceiling

105 CMR 451.350	Structural Maintenance: Roof leaks

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight, all doors

Office

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 470F

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Utility Room

105 CMR 451.350	Structural Maintenance: Ceiling water stained

105 CMR 451.353	Interior Maintenance: Mold like substance on ceiling

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Janitor’s Closet

No Violations Noted

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink doesn’t drain properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaks

Storage Room

Unable to Inspect

Weight Area

105 CMR 451.350	Structural Maintenance: Roof leaks

FOOD SERVICE

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor has pulled away from the walls throughout the building

105 CMR 451.350	Structural Maintenance: Floor not secured to the walls

Inmate Dining Area

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall damage

Serving Area

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized trays and cups not allowed to air dry fully

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1080F

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

FC 4-202.11(A)(2)*	Design and Construction, Cleanability: Damaged food-contact surface no longer	easily cleanable, some trays are cracked

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, food left on trays

Dish Room

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized pans not allowed to air dry fully

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at handwashing sink

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an unapproved purpose, cups and debris in the sink

FC 4-204.115	Design and Construction, Functionality: Dishwasher temperature not meeting manufacturer’s standards

Grill Area

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damage

FC 5-205.11(A)	Plumbing System, Operations and Maintenance: Handwashing sink not accessible, sink blocked

Slop Sink Area

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet loose

105 CMR 451.353	Interior Maintenance: Heater cover missing

Inmate Bathroom

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Missing baseboards

Mop Closet

105 CMR 451.123	Maintenance: Ceiling vent dusty

Pig Cooler

No Violations Noted

Tool Crib

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Utensils, not stored  inches off the floor, whisk stored on ground

Baking Area

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, 2 ovens

FC 3-305.11(A)(1)	Preventing Contamination from Premises: Food stored in an inappropriate location, yogurt stored in bakers rack

Diet Area

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises, 2 ovens

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damaged

Walk in Freezer

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

Dry Storage

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, ceiling damaged

Rear Loading Dock

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, door not weathertight

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damaged in hall

Staff Bathroom – Left

105 CMR 451.123	Maintenance: Fan dusty

Staff Bathroom – Right

105 CMR 451.123	Maintenance: Ceiling vent dusty

CULINARY ARTS

Kitchen

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor tile damaged behind ovens

Dry Storage

No Violations Noted

Dining Area

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

FC 6-403.11(B)	Location and Placement; Employee Accommodations: Inmate clothing stored under cabinets

PROPERTY

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350	Structural Maintenance: Floor tile damaged at entry

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Bathroom

105 CMR 451.123	Maintenance: Standing water on floor

Laundry Area

No Violations Noted

A-1 HOUSING

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.350	Structural Maintenance: Floor tile damaged in cells

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell #16, 22, 27 & 33

105 CMR 451.350	Structural Maintenance: Wall damage in cell #6, 7, 25 43 & 54

Janitor’s Closet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Uncovered vent in wall

Showers

105 CMR 451.123	Maintenance: Paint peeling in all showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower A, B, D, H, I & J

105 CMR 451.123	Maintenance: Uncovered vent in all showers

105 CMR 451.123	Maintenance: Wall damage in shower E, F, I & J

105 CMR 451.130	Hot Water: Shower water temperature 1200F

Staff Bathroom

No Violations Noted

Staff Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall damaged near sink

A-2 HOUSING

105 CMR 451.320	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350	Structural Maintenance: Floor tile damaged in cells

105 CMR 451.141	Screens: Screen damaged in cells

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell #1, 3, 5, 6, 9, 10, 32 & 39

105 CMR 451.353	Interior Maintenance: Paint peeling in cell #18, 21, 33, 39, 42, 44 & 53

105 CMR 451.350	Structural Maintenance: Wall damage in cell #3, 6, 7, 8, 12 & 15

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Paint peeling

Showers

105 CMR 451.123	Maintenance: Paint peeling in shower A & B

105 CMR 451.123	Maintenance: Soap scum on walls in shower A, B, D, E, G, H, I & J

105 CMR 451.123	Maintenance: Uncovered vent in all showers

Staff Bathroom

105 CMR 451.123	Maintenance: Holes in the wall

Staff Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall damage near sink

B-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350	Structural Maintenance: Floor tile damaged in cells

105 CMR 451.350*	Structural Maintenance: Exterior of building damaged

Cells

105 CMR 451.141	Screens: Screen damaged in cell #5, 6, 7, 11, 22, 26 & 42

105 CMR 451.350	Structural Maintenance: Wall damage in cell #9, 17, 18, 21, 22, 26, 28 & 50

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell #8, 14, 17, 18, 20, 21 & 23

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Paint peeling in F, G, H, I & J

105 CMR 451.123	Maintenance: Soap scum on walls in A, B, C, F, G, H, I & J

105 CMR 451.123	Maintenance: Wall damage in F, G, H & J

105 CMR 451.123	Maintenance: Holes in wall in D & E

Staff Bathroom

105 CMR 451.123	Maintenance: Floor tile damaged

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall near sink damaged

B-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell #18, 19, 20, 24, 34 & 59

105 CMR 451.353	Interior Maintenance: Paint peeling in cell #11, 14, 17, 25, 34 & 41

105 CMR 451.350	Structural Maintenance: Wall damage in cell #3, 6, 7, 8, 12 & 15

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling in cell #7

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Paint peeling in B, D, E, F, H & J

105 CMR 451.123	Maintenance: Soap scum on walls in shower B, D, E, F, H, & J

105 CMR 451.123	Maintenance: Wall damage in B, E, F, H & J

105 CMR 451.123	Maintenance: Ceiling paint peeling in B, D, E & F

105 CMR 451.123	Maintenance: Missing vent cover in F

105 CMR 451.130	Hot Water: Shower water temperature 1220F

Staff Bathroom

105 CMR 451.123	Maintenance: Floor tile damage

105 CMR 451.353	Interior Maintenance: Vent dusty

Staff Office

FC 4-602.13 	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces, refrigerator dirty

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

C-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.141	Screens: Screen damaged in cells

105 CMR 451.350	Structural Maintenance: Wall damage in cells

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell #13

105 CMR 451.101	Blankets: Blanket damaged in cell #29

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling in cell #40

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall damage

Showers

105 CMR 451.123	Maintenance: Floor paint peeling in E & F

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Vent dusty in D, E, I & J

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

C-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell #5, 11, 13, 15, 19, 25, 35, 43 & 55

105 CMR 451.141	Screens: Screen damaged in cell #7, 20, 22, 24 & 55

105 CMR 451.350	Structural Maintenance: Floor damage in cell #25

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #34 & 54

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Chemicals are stored in an inappropriate bottle

Showers

105 CMR 451.130	Hot Water: Shower water temperature 1220F

105 CMR 451.123	Maintenance: Floor paint peeling in E

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling paint peeling

105 CMR 451.350	Structural Maintenance: Wall damage behind sink

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing light shields

D-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350*	Structural Maintenance: Roof leaks, ceiling tiles water stained

Cells

105 CMR 451.350	Structural Maintenance: Wall damage in cell #16, 32, 51, 52, 53, 54 & 59

105 CMR 451.141	Screens: Screen damaged in cell #1, 2, 17, 31, 37, 54 & 60

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell #31

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Vent dusty

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in A, B, C, D & E

105 CMR 451.123	Maintenance: Vent dusty in B

105 CMR 451.123	Maintenance: Door peeling in I

105 CMR 451.123	Maintenance: Wall damage in I

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water left in buckets

D-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.141	Screens: Screen damaged in cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cells

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cells

Cells

105 CMR 451.350	Structural Maintenance: Wall damage in cell #12, 14, 33 & 52

105 CMR 451.350	Structural Maintenance: Wall bubbling in cell #18 from toilet upstairs

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #1, 20 & 24

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Doors peeling in C, D, E, H, I & J

105 CMR 451.123	Maintenance: Paint peeling in C, D, E & I

105 CMR 451.123	Maintenance: Ceiling damaged in C, D, E, I & J

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Vent dusty in C

105 CMR 451.350	Structural Maintenance: Wall damage in E

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Standing water left in buckets

E-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.141	Screens: Screen damaged in cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cells

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cells

Cells

105 CMR 451.350	Structural Maintenance: Wall damage in cell #48

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #5, 7, 21, 33, 38, 39, 41, 55, 57 & 58

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.130*	Hot Water: Shower water temperature 1290F

105 CMR 451.123*	Maintenance: Wall damage in all showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Floor paint peeling in A, B, C, D & E

105 CMR 451.123	Maintenance: Holes in the wall in A & B

105 CMR 451.123	Maintenance: Appearance of mold in G

Staff Bathroom

105 CMR 451.123	Maintenance: Paint peeling near baseboards

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1350F

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Wall damage

E-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.141	Screens: Screen damaged in cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cells

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cells

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell #2, 16 & 19

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Showers

105 CMR 451.123	Maintenance: Unfinished walls in I

105 CMR 451.130	Hot Water: Shower water temperature 1250F

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Landing peeling in all showers

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1360F

Staff Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, thermometer broken

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Missing light covers

F-1 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cells

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cells

Cells

105 CMR 451.141	Screens: Screen damaged in cell #30

105 CMR 451.350	Structural Maintenance: Water damage under window in cell #17 & 19

Janitor’s Closet

No Violations Noted

Showers

105 CMR 451.130	Hot Water: Shower water temperature 1230F

105 CMR 451.123	Maintenance: Landing peeling in showers

Staff Bathroom

No Violations Noted

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall paint peeling

F-2 HOUSING

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.353	Interior Maintenance: Circuits are overloaded in cells

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cells

105 CMR 451.350	Structural Maintenance: Floor tiles damaged in cells

Cells

105 CMR 451.102	Pillows and Linens: Linens damaged in cell #41

105 CMR 451.103	Mattresses: Mattress damage in cell #52

105 CMR 451.350	Structural Maintenance: Wall damage in cell #46 & 55

105 CMR 451.126	Hot Water: Hot water temperature recorded at 560F in cell #14

105 CMR 451.141	Screens: Screen damaged in cell #10, 14 & 15

105 CMR 451.353	Interior Maintenance: Fan cord laying across tier

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Paint peeling

Showers

105 CMR 451.130*	Hot Water: Shower water temperature 960F

105 CMR 451.123	Maintenance: Hole in the wall in A

105 CMR 451.123	Maintenance: Landing peeling in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handicapped shower leaking

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Paint peeling

SMU BUILDING

Visiting Room

105 CMR 451.350	Structural Maintenance: Wall and tile damage

Triage Room

No Violations Noted

Staff Bathroom

No Violations Noted

Kitchen Area

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)*		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.13 	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces, ice build up in the freezer

105 CMR 451.353	Interior Maintenance: Missing cover on heater

Sergeant’s Office

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Control

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

Bathroom

105 CMR 451.123	Maintenance: Ceiling tiles water stained

105 CMR 451.123	Maintenance: Ceiling tiles missing

105 CMR 451.123	Maintenance: Wall paint damaged

SMU 1

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in copy room

Cells

105 CMR 451.141	Screens: Screen damaged in cell #2, 4, 7, 8, 10, 11, 29 & 30

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vents blocked in cell #3, 4 & 30

105 CMR 451.350	Structural Maintenance: Paint peeling in cell #2, 3, 5, 10, 11, 12, 13 & 29

Showers

105 CMR 451.130	Hot Water: Shower water temperature 1250F

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Peeling paint in A, B, C, D & E

105 CMR 451.123	Maintenance: Ceiling rusty in B

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower C leaking

105 CMR 451.123	Maintenance: Vents dusty in C & D

SMU 2

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell #17 & 20

105 CMR 451.141	Screens: Screen damaged in cell #8, 10, 12, 26 & 27

105 CMR 451.350	Structural Maintenance: Wall damage in cell #1, 3, 11, 13, 27, 28 & 29

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vents blocked in cell #7, 11, 13, 27, 28, 29 & 30

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Paint peeling in all showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower A leaks

105 CMR 451.123	Maintenance: Ceiling vent dusty in all cells

HSU BUILDING

Booking

Cell 2

105 CMR 451.350	Structural Maintenance: Baseboard damage

Holding Cell

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Camera casing damaged

Strip Room

No Violations Noted

Assisted Daily Living (ADL)

Trauma Room

105 CMR 451.350	Structural Maintenance: Floor damage

Med Room – Rear

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling vent blocked

Day Room

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Room 1

105 CMR 451.103	Mattresses: Mattress damaged

Staff Bathroom

No Violations Noted

Chemical Closet

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom in Room 3

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1020F

Bathroom (across from Room 2)

105 CMR 451.123	Maintenance: Ceiling vent blocked

Cell 7

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Med Line

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Women’s Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Office #136

105 CMR 451.350	Structural Maintenance: Wall damage

Treatment 1

No Violations Noted

Treatment 2

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Break Room

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Bathroom C105

105 CMR 451.353	Interior Maintenance: Soap dispenser broken

Inmate Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Med Storage – Front

No Violations Noted

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Vent dusty

Dental

No Violations Noted

Dorm 128

105 CMR 451.350*	Structural Maintenance: Wall damage

Dorm 127

No Violations Noted

Janitor’s Closet

No Violations Noted

Dorm 126

105 CMR 451.103	Mattresses: Mattress damaged

105 CMR 451.350	Structural Maintenance: Tile damage

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Dorm 125

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Dialysis Unit (124)

105 CMR 451.350*	Structural Maintenance: Wall paint damaged

105 CMR 451.130*	Plumbing: Pipes draining into toilet

PT Room

No Violations Noted

Showers

105 CMR 451.130	Hot Water: Shower water temperature 1150F

105 CMR 451.123*	Maintenance: Holes in the wall in A

105 CMR 451.123*	Maintenance: Vent dusty in all showers

105 CMR 451.123*	Maintenance: Floors damaged in B

105 CMR 451.123*	Maintenance: Light not working properly

Kitchen (113)

105 CMR 451.353	Interior Maintenance: Missing light covers

105 CMR 451.353	Interior Maintenance: Debris behind the ice machine

Biohazard Storage

No Violations Noted

MAINTENANCE/INDUSTRIES/LAUNDRY

Laundry

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.350	Structural Maintenance: Ceiling and water damage behind dryers

Office

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Hallway to Maintenance

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall and baseboard damage

105 CMR 451.350*	Structural Maintenance: Ceiling damaged, water stained and holes

Staff Bathroom

No Violations Noted

Utility Room

No Violations Noted

Supply Crib (125)

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Supply Crib

105 CMR 451.350*	Structural Maintenance: Ceiling damaged throughout

105 CMR 451.353*	Interior Maintenance: Missing light covers

Fred’s Office

105 CMR 451.350*	Structural Maintenance: Wall damage

Maintenance Shop

105 CMR 451.350*	Structural Maintenance: Ceiling damage throughout

105 CMR 451.350*	Structural Maintenance: Wall damage throughout

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food product stored in an inappropriate location, cups stored less than 6 inches from the floor

Industries

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling damage throughout

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.350*	Structural Maintenance: Roof leaks

105 CMR 451.350*	Structural Maintenance: Appearance of mold growth in the corners of the building

Room 110 & 111

105 CMR 451.353*	Interior Maintenance: Exposed wiring

Room 104

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Storage Warehouse

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Room 114

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.350	Structural Maintenance: Appearance of mold growth

Janitor’s Closet

105 CMR 451.350	Structural Maintenance: Ceiling vent dusty

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Male Staff Bathroom

105 CMR 451.123*	Maintenance: Hole in ceiling

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Hole in ceiling and appearance of mold growth

Inmate Bathroom

105 CMR 451.350	Structural Maintenance: Ceiling leaks, holes in ceiling, ceiling peeling, floor cracked, portion of ceiling removed

105 CMR 451.350	Structural Maintenance: Water damage and appearance of mold

TOWERS

Tower 1

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.123*	Maintenance: Toilet is on a piece of wood

105 CMR 451.353*	Interior Maintenance: Exposed wiring in electrical room

105 CMR 451.350	Structural Maintenance: Paint peeling in weapons locker

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food product stored in an inappropriate location, cups stored less than 6 inches off floor

Tower 2

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1600F

105 CMR 451.350	Structural Maintenance: Tiles missing

Tower 3

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.126	Hot Water: Hot water temperature recorded at 940F

105 CMR 451.350*	Structural Maintenance: Wall damage next to toilet

WAREHOUSE

105 CMR 451.350	Structural Maintenance: Wall damage in shared area

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight near side exit

Max Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

105 CMR 451.123	Maintenance: Ceiling tiles water damaged/hole in ceiling

Max Cleaning Closet

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Medium Freezer

FC 6-501.11	Maintenance and Operation; Repairing: Equipment not in good repair, ceiling damaged

Medium Walk In

FC 3-302.11(A)(4)		Preventing Food and Ingredient Contamination: Preventing cross contamination, food 				not appropriately covered

Hot Water Heating Room

105 CMR 451.350*	Structural Maintenance: Hole in the ceiling

Medium Bathroom

105 CMR 451.123	Maintenance: Ceiling tiles water stained

MODULAR A

C.O.’s Office

105 CMR 451.350*	Structural Maintenance: Baseboard damage

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.353*	Interior Maintenance: Electrical cover panel missing

FC 3-501.16(B)		Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 		temperature recorded at 490F

105 CMR 451.123	Maintenance: Missing vent cover in bathroom

Common/Day Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Holes in the wall near dryers

Bathroom Area

105 CMR 451.123*	Maintenance: Slop sink missing a drain cover

105 CMR 451.123*	Maintenance: Missing tiles near toilets

105 CMR 451.123*	Maintenance: Ceiling tiles dirty

105 CMR 451.123*	Maintenance: Outlets not GFI

105 CMR 451.123	Maintenance: Sink #7 leaks

105 CMR 451.123	Maintenance: Sink #4 not working

Shower Area

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.130	Hot Water: Shower water temperature 1190F

Shower Chase

105 CMR 451.123*	Maintenance: Debris in this area

Phone Room

No Violations Noted

Room 1

No Violations Noted

Room 2

No Violations Noted

Room 3

No Violations Noted

Room 4

105 CMR 451.350*	Structural Maintenance: Missing ceiling tiles

Room 5

No Violations Noted

Room 6

No Violations Noted

Room 7

No Violations Noted

Room 8

No Violations Noted

Room 9

105 CMR 451.141	Screens: Screen damaged

Room 10

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.353	Interior Maintenance: Light cover missing

MODULAR B

Central Area

No Violations Noted

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Chase Room

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Tile damage under sink

105 CMR 451.123*	Maintenance: Missing vent cover

Office E

No Violations Noted

Office D

No Violations Noted

Office C

105 CMR 451.350	Structural Maintenance: Damaged ceiling

Office B

No Violations Noted

Office A

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

Library

No Violations Noted

Rooms

Classroom 1

No Violations Noted

Classroom 4

105 CMR 451.353	Interior Maintenance: Missing electrical cover

Chapel

105 CMR 451.141	Screens: Screen damaged

Dry Storage

105 CMR 451.350*	Structural Maintenance: Missing ceiling tiles

105 CMR 451.353	Interior Maintenance: Vent dusty

Classroom 3

105 CMR 451.350	Structural Maintenance: Baseboard damage

Room 5

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Baseboard damage

Hall Door

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Library

No Violations Noted

Parole

No Violations Noted

Barber Shop

105 CMR 451.353	Interior Maintenance: Walls dirty

105 CMR 451.350	Structural Maintenance: Baseboard damage

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Uncovered junction box

105 CMR 451.353	Interior Maintenance: Chemicals stored in an inappropriate container

Law Library

No Violations Noted

Bathroom Area

105 CMR 451.123*	Maintenance: Slop sink missing drain cover

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123	Maintenance: Toilet #5 has no door

105 CMR 451.123	Maintenance: Sink #5 not working

105 CMR 451.123	Maintenance: Sink #9 cold water not working

105 CMR 451.126	Hot Water: Hot water temperature recorded at 830F

105 CMR 451.123	Maintenance: Sink #4 & 7 hot water not working

105 CMR 451.123	Maintenance: Vent dusty

Shower Area

105 CMR 451.123*	Maintenance: Shower #3 missing shower head

105 CMR 451.123*	Maintenance: Appearance of mold by pipes

105 CMR 451.123	Maintenance: Urinal #1 leaking

105 CMR 451.123	Maintenance: Shower #8 missing face plate

Shower Chase

105 CMR 451.350*	Structural Maintenance: Wood floor water damaged

COTTAGE 6

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

2nd Floor

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123	Maintenance: Heater damaged

Storage

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 9

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 10

105 CMR 451.141	Screens: Screen damaged

Room 11

105 CMR 451.353	Interior Maintenance: Light cover damaged

1st Floor

Room 8

No Violations Noted

Room 7

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

Room 5

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Window leaks

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 6

105 CMR 451.141	Screens: Screen damaged

Bathroom

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.123	Maintenance: Unfinished wall

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353	Interior Maintenance: Soap dispenser damaged

Room 3

105 CMR 451.353	Interior Maintenance: Missing light cover

Room 4

No Violations Noted

Room 1

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Recreation Room

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Window doesn’t stay open

105 CMR 451.350	Structural Maintenance: Ceiling bubbling

Bathroom

105 CMR 451.350	Structural Maintenance: Window doesn’t stay open

Tool Crib

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Room 14

105 CMR 451.353	Interior Maintenance: Light cover damaged

105 CMR 451.350	Structural Maintenance: Window cracked

105 CMR 451.350	Structural Maintenance: Floor tiles damage

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Kitchen Area

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Ice build up in freezer

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent doesn’t open completely

105 CMR 451.353	Interior Maintenance: Cabinets damaged

Staff Area

105 CMR 451.353*	Interior Maintenance: Light fixture broken

105 CMR 451.350	Structural Maintenance: Wall damage

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Light not functioning properly

Basement

105 CMR 451.350	Structural Maintenance: Wall damage going into basement

Laundry

105 CMR 451.350	Structural Maintenance: Wall damage

Recreation Area

105 CMR 451.353	Interior Maintenance: Missing face plate on light switch

Gym

105 CMR 451.353	Interior Maintenance: Missing light cover

Supply

105 CMR 451.350	Structural Maintenance: Wall damage

Bathroom

105 CMR 451.123*	Maintenance: Caulking damage

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall board damage

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Property

Bathroom

105 CMR 451.353	Interior Maintenance: No light

105 CMR 451.350	Structural Maintenance: Ceiling and wall damage

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Office

105 CMR 451.353	Interior Maintenance: Heater damage

Clothing

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.141	Screens: Screen damaged

COTTAGE 7

105 CMR 451.320*	Cell Size: Inadequate floor space in cell

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Room 12

105 CMR 451.103	Mattresses: Mattress damage in cell

105 CMR 451.141	Screens: Screen damaged

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353	Interior Maintenance: Exposed wires

105 CMR 451.353	Interior Maintenance: Ceiling vent cover missing

2nd Floor

Room 8

105 CMR 451.103	Mattresses: Mattress damaged

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Shades damaged

Room 9

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Light cover damaged

Room 10

105 CMR 451.102	Pillows and Linens: Pillow damaged

105 CMR 451.353	Interior Maintenance: Shades damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Bathroom (near room 10)

105 CMR 451.123	Maintenance: Tile damage

105 CMR 451.126	Hot Water: Hot water temperature recorded at 910F

105 CMR 451.123	Maintenance: Ceiling paint peeling

Room 11

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: 3 lights not working properly

Tool Crib

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light cover

Phone Area

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Bathroom (near room 4)

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Room 5

105 CMR 451.353	Interior Maintenance: Light cover damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

Room 4

105 CMR 451.141	Screens: Screen damaged

Room 6

105 CMR 451.141*	Screens: Screen damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.353	Interior Maintenance: Shades damaged

1st Floor

Recreation Room

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.141	Screens: Screen missing

105 CMR 451.350	Structural Maintenance: Ceiling damage

Office

105 CMR 451.353	Interior Maintenance: Exposed wires

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Room 1

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Shades damaged

Room 2

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.353	Interior Maintenance: Shades damaged

Basement

105 CMR 451.353*	Interior Maintenance: Missing light covers

Laundry

105 CMR 451.350*	Structural Maintenance: Door water damaged

105 CMR 451.353	Interior Maintenance: Missing light covers

105 CMR 451.353	Interior Maintenance: Plastic holding pipes

Storage Room

105 CMR 451.350	Structural Maintenance: Paint peeling

105 CMR 451.353	Interior Maintenance: Missing light covers

Toxic/Caustic Room

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.350	Structural Maintenance: Wall damage

Bathroom

105 CMR 451.123*	Maintenance: Light cover switch missing

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 840F

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.123*	Maintenance: Wall damage between toilets

105 CMR 451.123*	Maintenance: Appearance of mold in showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.353*	Interior Maintenance: Missing light bulbs

105 CMR 451.123*	Maintenance: Tile damage

105 CMR 451.123*	Maintenance: 1 urinal not working

105 CMR 451.353*	Interior Maintenance: Missing light covers

Rear Foyer Exit

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.350	Structural Maintenance: Door damage

105 CMR 451.353	Interior Maintenance: Uncovered junction box

COTTAGE 8

105 CMR 451.350	Structural Maintenance: Peeling paint

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.350	Structural Maintenance: Missing railing on stairs

3rd Floor

Room 14

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Missing door frame

105 CMR 451.103	Mattresses: Mattress B damaged

Room 13

105 CMR 451.103	Mattresses: Mattress B damaged

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.350	Structural Maintenance: Wall damage

Bathroom

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123*	Maintenance: Damage behind toilet

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation

105 CMR 451.123	Maintenance: Wall damage

2nd Floor

Bathroom (near room 12)

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.123	Maintenance: Wall damage

Tool Crib

105 CMR 451.353	Interior Maintenance: Missing light shield

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Missing light shield

Room 12

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Shades damaged

Hallway (near room 8)

105 CMR 451.353	Interior Maintenance: Light cover damaged

Room 8

105 CMR 451.353*	Interior Maintenance: Light cover damaged

105 CMR 451.350	Structural Maintenance: Door jam damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.353	Interior Maintenance: Shades damaged

Bathroom (near room 8)

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Mop stored on floor

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

Room 9

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Shades damaged

Room 7

105 CMR 451.141	Screens: Screens don’t fit windows

105 CMR 451.353	Interior Maintenance: Shade damaged

Room 6

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Shade damaged

1st Floor

Dining Room

105 CMR 451.141	Screens: Screen missing

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

FC 6-202.11(A)*		Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 				or protected by light shields

Kitchen

105 CMR 451.141	Screens: Screen missing

Room 3

105 CMR 451.103	Mattresses: Mattress damage in cell

105 CMR 451.350	Structural Maintenance: Holes in ceiling

105 CMR 451.350	Structural Maintenance: Appearance of mold on window casing

Hallway

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Officer’s Bathroom

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Missing light

Basement

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipes leaking

Ping Pong Room

No Violations Noted

Storage

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Exposed wires

Laundry

105 CMR 451.350*	Structural Maintenance: Ceiling peeling and damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Lint build-up behind dryer

Bathroom

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.123*	Maintenance: Wall damaged/broken in showers

105 CMR 451.123*	Maintenance: Appearance of mold in showers

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at faucet

105 CMR 451.353	Interior Maintenance: Electrical fixture missing

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Rear Foyer Exit

105 CMR 451.350	Structural Maintenance: Door damaged

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Floor peeling

COTTAGE 9

105 CMR 451.350*	Structural Maintenance: Front steps have cracks

105 CMR 451.350*	Structural Maintenance: Front porch has rotted pillars

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated in entry way

3rd Floor

Room 13

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.344*	Illumination in Habitable Areas: Light fixture not working properly in closet

105 CMR 451.350*	Structural Maintenance: Ceiling damage around light in closet

Room 12

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Missing light switch in closet

Bathroom

105 CMR 451.123	Maintenance: Ceiling flaking

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent not secure to ceiling

2nd Floor

Room 7

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.141	Screens: Screen damaged/missing

Room 4

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.350	Structural Maintenance: Window doesn’t stay open

Room 6

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

Bathroom (near room 6)

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.353*	Interior Maintenance: Missing electrical cover

Room 5

105 CMR 451.353	Interior Maintenance: Shade damaged

Room 8

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Ceiling has holes

Bathroom (near room 8)

105 CMR 451.350*	Structural Maintenance: Roof shingles on roof outside are in poor condition

105 CMR 451.353	Interior Maintenance: Uncovered junction box behind sink

105 CMR 451.123	Maintenance: Tile damage behind sink

Room 9

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

Room 11

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

1st Floor

Staff Bathroom

No Violations Noted

C.O’s Office

105 CMR 451.353	Interior Maintenance: Exposed wires

105 CMR 451.350	Structural Maintenance: Window cracked

Counselor’s Office

105 CMR 451.353	Interior Maintenance: Missing light cover

Day Room

105 CMR 451.141*	Screens: Screen doesn’t fit window

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

105 CMR 451.353	Interior Maintenance: Missing light cover

Toxic/Caustic Room

No Violations Noted

Kitchen Area

FC 5-205.15(B)			Plumbing System, Operations and Maintenance: Plumbing system not maintained in 				good repair, sink leaking

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an 		unapproved purpose, debris in sink

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer fan damaged

Room 1

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

Room 2

105 CMR 451.353	Interior Maintenance: Shade damaged

Basement

Bathroom Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, showers leaking

105 CMR 451.123	Maintenance: Tiles missing on wall and floor

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Laundry Area

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.350*	Structural Maintenance: Tile damage

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.350*	Structural Maintenance: Ceiling paint flaking

105 CMR 451.353	Interior Maintenance: Dryer not vented to the outside

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Pipes covered with tape on ceiling

Supply/Janitor’s Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

Weight Room

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.353	Interior Maintenance: Missing light covers

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

COTTAGE 10

105 CMR 451.320*	Cell Size: Inadequate floor space in cell

3rd Floor

Hallway

105 CMR 451.353	Interior Maintenance: Missing light cover

Room 15

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Light covers damaged

Room 16

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Bathroom (room 16)

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.353*	Interior Maintenance: Missing light covers

2nd Floor

Room 9

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

Bathroom (room 9)

105 CMR 451.130	Hot Water: Shower water temperature 1230F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

Room 10

105 CMR 451.350*	Structural Maintenance: Ceiling has water damage

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Shade damaged

Bathroom (room 10)

105 CMR 451.123	Maintenance: Ceiling cracked

105 CMR 451.353	Interior Maintenance: Light cover damaged

Room 11

105 CMR 451.353	Interior Maintenance: Shade damaged

Room 12

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Bathroom

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.123*	Maintenance: Missing tiles

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353	Interior Maintenance: Missing light covers

Room 14

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.350	Structural Maintenance: Wall damage, plastic over wall

105 CMR 451.350	Structural Maintenance: Ceiling leaks

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Windows don’t stay open

105 CMR 451.353	Interior Maintenance: Missing light covers

Bathroom (room 14)

105 CMR 451.123	Maintenance: Hold in wall behind toilet

105 CMR 451.353	Interior Maintenance: Door knob missing

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 13

105 CMR 451.353	Interior Maintenance: Shade damaged

105 CMR 451.141	Screens: Screen damaged/missing

Bathroom (room 13)

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink runs

105 CMR 451.350	Structural Maintenance: Tiles damaged by window

105 CMR 451.123	Maintenance: Wall damage in shower

105 CMR 451.130	Hot Water: Shower water temperature 1160F

1st Floor

Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.344	Illumination in Habitable Areas: Light not working properly

105 CMR 451.353	Interior Maintenance: Light fixture loose on wall

105 CMR 451.353	Interior Maintenance: Mop stored in sink

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Missing light cover

Storage

105 CMR 451.344	Illumination in Habitable Areas: Light not working properly

Visiting/Eating Area

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Window doesn’t stay open

Visitor’s Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet doesn’t shut off

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet runs

Kitchen

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

FC 6-201.11*	Floors, Walls and Ceilings: Floor not easily cleanable, tile damaged

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sewage pipe damaged

Health Services

No Violations Noted

C.O.’s Office

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Basement

Rear Foyer Exit

105 CMR 451.350*	Structural Maintenance: Ceiling flaking

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Door damaged

105 CMR 451.353	Interior Maintenance: Missing electrical cover

105 CMR 451.350	Structural Maintenance: Transom damaged

105 CMR 451.350	Structural Maintenance: Ceiling and wall damaged

Weight Room

105 CMR 451.350	Structural Maintenance: Windows don’t stay open

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.141*	Screens: Screen damaged/missing

Utility Room

105 CMR 451.350	Structural Maintenance: Unfinished wall

Laundry Area

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Lint build-up behind dryers

Storage Room

105 CMR 451.353	Interior Maintenance: Missing vent cover

Utility Room (next to shower)

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Missing door knob

105 CMR 451.353	Interior Maintenance: Light cover damaged

105 CMR 451.350	Structural Maintenance: Wall tile missing

105 CMR 451.350*	Structural Maintenance: Damaged window frame

Bathroom

105 CMR 451.123*	Maintenance: Missing floor tiles

105 CMR 451.130*	Plumbing: No backflow preventer on slop sink

105 CMR 451.350*	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Exposed plywood in stalls

105 CMR 451.353	Interior Maintenance: Missing outlet cover

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.130	Hot Water: Shower water temperature 1180F

COTTAGE 11

105 CMR 451.350*	Structural Maintenance: Entry way damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in cells

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Exposed wires in hall

105 CMR 451.350	Structural Maintenance: Window damaged

Staff Office

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Exposed wires

Staff Bathroom

105 CMR 451.123	Maintenance: Unfinished ceiling

Laundry

105 CMR 451.353	Interior Maintenance: Debris behind the dryer

Rooms 1 & 2

No Violations Noted

Bathroom 1 & 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaks

105 CMR 451.353	Interior Maintenance: Fan broken

105 CMR 451.353	Interior Maintenance: Missing light cover

Rooms 3 & 4

105 CMR 451.141	Screens: Screen damaged/missing in 3

105 CMR 451.353	Interior Maintenance: Paper in light in 4

Bathroom 3 & 4

105 CMR 451.123	Maintenance: Ceiling damage

105 CMR 451.353	Interior Maintenance: Missing light cover

Rooms 5 & 6

105 CMR 451.141	Screens: Screens don’t fit windows in 5 & 6

Bathroom 5 & 6

105 CMR 451.353	Interior Maintenance: Light cover broken

105 CMR 451.353	Interior Maintenance: Wires hanging from light

Rooms 7 & 8

105 CMR 451.141	Screens: Screens don’t fit windows in 7 and 8

Bathroom 7 & 8

105 CMR 451.353	Interior Maintenance: Missing light shield

105 CMR 451.123	Maintenance: Fan broken

Room 9 & 10

No Violations Noted

Bathroom 9 & 10

105 CMR 451.123*	Maintenance: Missing light cover

105 CMR 451.123*	Maintenance: Fan cover missing

Rooms 11 & 12

105 CMR 451.141	Screens: Screen damaged/missing in 11 & 12

Bathroom 11 & 12

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Fan cover missing

Room 13 & 14

105 CMR 451.141*	Screens: Screen damaged/missing in 14

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

Bathroom 13 & 14

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent broken

105 CMR 451.353	Interior Maintenance: Door knob broken

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

Janitor’s Closet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Wall tile damage

KITCHEN/DINING AREA

Dishwasher Area

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

105 CMR 451.350*	Structural Maintenance: Window doesn’t stay open

Main Kitchen

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, damaged tiles

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior windows

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaks

105 CMR 451.353	Interior Maintenance: Uncovered junction box

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls covering not easily 	cleanable, paint peeling

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Mold growth observed on interior	surfaces of ice machine

Milk Cooler

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, appearance of mold on walls and ceiling

1199 - Walk In

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, cracked/damaged

1194 Walk In

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, appearance of mold on the walls and ceiling

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Slop Sink/Electrical Room

105 CMR 451.350*	Structural Maintenance: Floor tile damage

105 CMR 451.353*	Interior Maintenance: Missing light covers

Dry Storage

FC 6-202.15(D)(1)*	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

105 CMR 451.350*	Structural Maintenance: Window damaged

Tool Crib

105 CMR 451.350*	Structural Maintenance: Window secured with duct tape

105 CMR 451.350*	Structural Maintenance: Tile damage

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

105 CMR 451.353*	Interior Maintenance: Vent cover damaged

Storage

105 CMR 451.353*	Interior Maintenance: Heater not secured to the wall

105 CMR 451.350*	Structural Maintenance: Wall damage

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Inmate Bathroom

No Violations Noted

Old Bakery

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

105 CMR 451.353	Interior Maintenance: Boards not secured to the ceiling

Dining Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, holes in the ceiling

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged/tiles damaged missing

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous	or toxic materials must be clearly labeled with common name

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Window doesn’t stay open

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.123	Maintenance: Wall tile damage

105 CMR 451.123	Maintenance: Light cover damaged

Storage Area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous	or toxic materials must be clearly labeled with common name

Women’s Room

105 CMR 451.123*	Maintenance: Wall and baseboard damage

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.123*	Maintenance: Ceiling damage

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water is discolored

Staff Dining

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

Basement

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, steam pipe leaking

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

MEAT PLANT

105 CMR 451.350	Structural Maintenance: Floor tile damage

105 CMR 451.353	Interior Maintenance: Light covers damaged

105 CMR 451.126	Water Supply: No hot water supplied to building

Basement

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, steam pipe leaking

105 CMR 451.353	Interior Maintenance: Exposed wires

105 CMR 451.350	Structural Maintenance: Approximately 2 inches of standing water on floor

105 CMR 451.353	Interior Maintenance: Appearance of mold everywhere

105 CMR 451.350	Structural Maintenance: Floor damage

Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 620F

Office 2

105 CMR 451.350	Structural Maintenance: Floor tile damage

105 CMR 451.353	Interior Maintenance: Exposed wires

Staff Bathroom

No Violations Noted

Office 3

105 CMR 451.353	Interior Maintenance: Missing electrical cover

105 CMR 451.353	Interior Maintenance: Wires hanging from ceiling

Office 1

105 CMR 451.353	Interior Maintenance: Light cover cracked

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Passage Area

105 CMR 451.350	Structural Maintenance: Baseboard damage

105 CMR 451.353	Interior Maintenance: Uncovered electrical outlet

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Outside Cooler East

105 CMR 451.353	Interior Maintenance: Some lights not working

Outside Cooler West

105 CMR 451.350	Structural Maintenance: Wall damage

COTTAGE 12 - STATE TRANS

105 CMR 451.353	Interior Maintenance: Missing light covers in hallway

105 CMR 451.353	Interior Maintenance: Missing electrical cover on D side

105 CMR 451.353	Interior Maintenance: Strong musty odor throughout the entire building

1st Floor

Bathrooms

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

105 CMR 451.123	Maintenance: Ceiling tile damage

105 CMR 451.123	Maintenance: Tub is dirty

Rear Office

105 CMR 451.353	Interior Maintenance: Missing light covers

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Front Office

105 CMR 451.350	Structural Maintenance: Wall damage

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator gaskets dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, refrigerator dirty

Storage Closet

105 CMR 451.353	Interior Maintenance: Missing light shields

Disciplinary Office – Rear Left

105 CMR 451.353	Interior Maintenance: Exposed wires

Disciplinary Office – Front Left

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Telecommunications Room

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.353	Interior Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.353	Interior Maintenance: Uncovered junction box

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: A lot of water damage in this room

Basement

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Exposed wires

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Missing light covers

2nd Floor

105 CMR 451.353	Interior Maintenance: Missing light covers

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Paint peeling

105 CMR 451.353	Interior Maintenance: Exposed wires

105 CMR 451.353	Interior Maintenance: Missing outlet cover

105 CMR 451.353	Interior Maintenance: Appearance of mold

105 CMR 451.350	Structural Maintenance: Wall damage

3rd Floor

105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.353	Interior Maintenance: Missing light covers

JOSEPH RIBEIRO TRAINING BUILDING

105 CMR 451.350	Structural Maintenance: Rear porch not secure

105 CMR 451.141	Screens: Screens missing throughout building

105 CMR 451.350	Structural Maintenance: Rear door not rodent and weathertight

1st Floor

Room 105

FC 4-101.16			Materials for Construction and Repair; Multiuse: Sponges used in kitchen area

Room 107

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Missing light cover

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

2nd Floor

Men’s Room

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Women’s Room

No Violations Noted

Room 203

105 CMR 451.353	Interior Maintenance: Missing light fixture

Basement

105 CMR 451.350	Structural Maintenance: Tile damage

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Water leaks in through walls during rain storms

105 CMR 451.350	Structural Maintenance: Water damage to pillars

Men’s Room

No Violations Noted

Women’s Room

105 CMR 451.123	Maintenance: 1 toilet is out of order

105 CMR 451.123	Maintenance: Soap dispense is broken

BUILDING 20

1st Floor

Kitchen Area

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Back Storage Area

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.350	Structural Maintenance: Damaged window casings

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

2nd Floor

Bathroom

No Violations Noted

Office

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Wires on the floor

Hallway

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

BUILDING 16

105 CMR 451.141	Screens: Screen damaged/missing

Hallway

105 CMR 451.353	Interior Maintenance: Missing electrical covers

105 CMR 451.353	Interior Maintenance: Missing ceiling panel

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Exposed wires

Left Office

No Violations Noted

Right Office

105 CMR 451.353	Interior Maintenance: Missing light cover

Mop Closet in Office

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.350	Structural Maintenance: Paint peeling on walls

105 CMR 451.350	Structural Maintenance: Hole in ceiling

Kitchen Area

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 480F

2nd Floor

Bathroom

No Violations Noted

Office

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.353	Interior Maintenance: Missing electrical cover

Captain’s Office

No Violations Noted

Deputy’s Office

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Observations and Recommendations

- The Department recommends everything in the meat plant basement, including the cardboard boxes, should be discarded as they are covered in a mold like substance

- The Department recommends a drying rack for the dishes to be dried on in the kitchens

- Unable to access building #19

- Dishwasher is equipped with a sanitizing solution to ensure dishes are sanitized

- Medical Waste information given to Stacey Haven, Clinical Administrator

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

Robert Fournier	, EHSO

Shirley Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS