The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

June 11, 2010

James Saba, Superintendent

NCCI Gardner

P.O. Box 466

Gardner, MA 01440

Re: Facility Inspection

Dear Superintendent Saba:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of NCCI Gardner on June 7, 8 and 9, 2010 accompanied by Bill Homans, EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ADMINISTRATION BUILDING

Lobby

Female Bathroom

No Violations Noted

Male Bathroom

105 CMR 451.123	Maintenance: Unfinished wall

Vending Area

No Violations Noted

Basement

Male Bathroom

105 CMR 451.123	Maintenance: Missing light shields

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.123	Maintenance: Wall damage

Female Bathroom

105 CMR 451.123	Maintenance: Missing light shields

Treasurers Office

No Violations Noted

2nd Floor

Superintendents Office

No Violations Noted

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 930F

Male Bathroom

No Violations Noted

Administration

No Violations Noted

Trap (inside)

Staff Area

No Violations Noted

Basement

Cell 21

No Violations Noted

Cell 20

No Violations Noted

Booking

105 CMR 451.353	Interior Maintenance: Missing light cover

Bathroom

105 CMR 451.123	Maintenance: Faucet loose

105 CMR 451.126	Hot Water: Hot water temperature recorded at 930F

Slop Sink/Urinal

No Violations Noted

Training Area

105 CMR 451.350	Structural Maintenance: Wall damage near window

2nd Floor

Role Call Room

105 CMR 451.350	Structural Maintenance: Hole in door in hall

105 CMR 451.353	Interior Maintenance: Missing light shields

Offices

No Violations Noted

THOMPSON HALL 1

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Staff Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F in bathroom

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Basement

Property

105 CMR 451.350	Structural Maintenance: Ceiling damage

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling water damaged

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.350	Structural Maintenance: Hole in ceiling

Chemical Room

Unable to access

Elevator Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking, creating standing water in this area

South Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell #132, 134, 142

105 CMR 451.103	Mattresses: Mattress damage in cell #140

Showers

No Violations Noted

Day Room

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Wall damage

North Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell #103, 104 and 105

Showers

105 CMR 451.130	Hot Water: Shower water temperature 1300F

105 CMR 451.123	Maintenance: Face plate damaged in 1 shower

Day Room

No Violations Noted

S.M.U (1st Floor)

Office Area

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Cells

105 CMR 451.141	Screens: Screen damaged/missing in cell #6

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Face plate loose

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

2nd Floor

Office Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Cells

No Violations Noted

Shower

105 CMR 451.130	Hot Water: Shower water temperature 1230F

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

H.S.U

X-Ray Room

No Violations Noted

Room 26

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

105 CMR 451.353	Interior Maintenance: Missing light cover

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Inmate Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Male Staff Bathroom

105 CMR 451.141	Screens: Screen missing

Break Room

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged and dirty

Cell A & B

No Violations Noted

Ward

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose on sink

THOMPSON HALL 2

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Staff Area

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

105 CMR 451.353	Interior Maintenance: Wires hanging from ceiling

Dorm Area

105 CMR 451.350	Structural Maintenance: Baseboard damage

105 CMR 451.353	Interior Maintenance: Excessive amounts of pigeon feces on window sills

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet loose in bathroom

105 CMR 451.123	Maintenance: Missing vent cover in bathroom

South Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell #234, 249 and 250

Showers

105 CMR 451.130	Hot Water: Shower water temperature 1280F

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 shower leaking

Day Room

105 CMR 451.141*	Screens: Screen damaged/missing

Slop Sink Room 214

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Missing light cover

East Wing

Cells

105 CMR 451.141	Screens: Screen damaged/missing in cell #270

Showers

105 CMR 451.123	Maintenance: Missing tiles

105 CMR 451.123	Maintenance: Only 2 showers working

Day Room

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.350	Structural Maintenance: Window damaged

North Wing

Slop Sink Room 15

105 CMR 451.350	Structural Maintenance: Ceiling damage

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell #204, 207, 208, 209, 214 & 217

105 CMR 451.350	Structural Maintenance: Wall leaks when it rains in cell #209

105 CMR 451.350	Structural Maintenance: Wall damage in cell #210, 213 and 218

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: 1 shower missing the dial

Day Room

No Violations Noted

THOMPSON HALL 3

105 CMR 451.320	Cell Size: Inadequate floor space in cells

Staff Area

No Violations Noted

Dorm Area

105 CMR 451.350	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet running

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

South Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell #342, 344 & 346

Hallway

105 CMR 451.350	Structural Maintenance: Ceiling tiles are water stained

Showers

Unable to inspect – in use

Day Room

105 CMR 451.350	Structural Maintenance: Window cracked

105 CMR 451.353*	Interior Maintenance: Electrical outlet doesn’t work

East Wing

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell #362

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Window damaged

Day Room

105 CMR 451.353*	Interior Maintenance: Missing electrical cover

105 CMR 451.353*	Interior Maintenance: Electrical outlet doesn’t work

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, in offices in day room

Slop Sink Room, door 15

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Light bulb missing

North Wing

Cells

105 CMR 451.353	Interior Maintenance: Missing light cover in cell #318 & 323

Showers

105 CMR 451.123*	Maintenance: Damaged tiles

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Ceiling paint peeling

Day Room

105 CMR 451.353	Interior Maintenance: Uncovered electrical box in room #24

D BUILDING

2nd Floor

IPS Office

105 CMR 451.350	Structural Maintenance: Ceiling water damaged in urine room

105 CMR 451.350	Structural Maintenance: Roof leak in urine room

105 CMR 451.353	Interior Maintenance: Missing light cover in office

Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1600F

Break Area

No Violations Noted

Holding Cell

No Violations Noted

Male Bathroom

105 CMR 451.141	Screens: Screen missing

1st Floor

Visiting Female Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1400F

Male Visiting Bathroom

No Violations Noted

Vending Area

No Violations Noted

Non-Contact (back room)

105 CMR 451.350	Structural Maintenance: Wall damage

Inmate Bathroom

No Violations Noted

Strip Room

105 CMR 451.353	Interior Maintenance: Missing light cover

D-Office

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Baseboard damage

Basement

Bathroom

No Violations Noted

Break Room

No Violations Noted

Bathroom

No Violations Noted

Tool Crib

No Violations Noted

Shop Area

105 CMR 451.353	Interior Maintenance: Missing light cover

Mop Room

No Violations Noted

E BUILDING

2nd Floor

Rooms

105 CMR 451.350	Structural Maintenance: Ceiling damage in room #315

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty in room #313

Staff Bathroom

105 CMR 451.123	Maintenance: Vent dusty

1st Floor

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1040F

105 CMR 451.123	Maintenance: Ceiling damage

Religious Area

105 CMR 451.350	Structural Maintenance: Ceiling damage

Inmate Bathroom

105 CMR 451.123	Maintenance: Urinal leaking

105 CMR 451.123	Maintenance: Ceiling damaged

Barber Shop

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.353	Interior Maintenance: Floor dirty

Mop Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Basement

No Violations Noted

F BUILDING

2nd Floor

Office

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

A Dorm

105 CMR 451.103	Mattresses: Mattress damage on bed #10 & 12

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Staff Bathroom

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Missing cover over smoke detector

D Dorm

No Violations Noted

C Dorm

105 CMR 451.353	Interior Maintenance: Uncovered junction box

105 CMR 451.103	Mattresses: Mattress damage on bed #8

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Bathroom

Unable to inspect – in use

F-204

No Violations Noted

Day Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

B Dorm

105 CMR 451.353	Interior Maintenance: Uncovered junction box

105 CMR 451.103	Mattresses: Mattress damage on bed #6

1st Floor

A Dorm

105 CMR 451.353	Interior Maintenance: Uncovered junction box

D Dorm

No Violations Noted

C Dorm

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Handicapped Shower/Slop Sink F1-6

105 CMR 451.353	Interior Maintenance: Mop stored on floor

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Day Room

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Staff Bathroom

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

B Dorm

105 CMR 451.353	Interior Maintenance: Uncovered junction box

Basement

105 CMR 451.350	Structural Maintenance: Paint peeling

105 CMR 451.141	Screens: Screen damaged/missing

Dog Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, valve on sink leaking

Bathroom (F-B05)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350	Structural Maintenance: Floor tile damage

FOOD SERVICE

Chow Hall

East Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 900F

West Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 810F

105 CMR 451.123	Maintenance: Ceiling paint peeling

Main Kitchen

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, doors to refrigerators do not close properly

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gaskets damaged

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, 3 bay sink faucet leaking

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, sprayer on 3 bay sink hangs below the sink line

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, convection oven door doesn’t shut properly

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 690F

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized utensils, plates, bowls not allowed to air dry fully

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ceiling above 3 bay sink is yellow

Bakery

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, appearance of mold on ceiling

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, ceiling tiles damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, bad odor coming from the pipes

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1470F

Bakery Storage

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, missing floor tiles

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, missing ceiling tiles

Meat Cooler

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination, ready-to-eat foods not appropriately separated from raw foods, raw food stored above ready to eat foods

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

Milk Cooler

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, milk spilled on the floor

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination, ready-to-eat foods not appropriately separated from raw foods, raw food stored above ready to eat foods

Produce Cooler

No Violations Noted

Dry Goods

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor tiles damaged

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly segregated

Inmate Bathroom

No Violations Noted

Loading Dock

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

Pig Cooler

No Violations Noted

Barrel Washing Room

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls covering not easily 	cleanable, wall damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling damaged

FC 5-203.14	Plumbing System, Design: No backflow prevention device on threaded pipe

Electrical Room

FC 4-903.11(B)(2)	Protection of Clean Items, Storing: Uncovered equipment not protected from 	contaminations, meat slicer not covered

FC 4-903.12 (A)(4)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, meat slicer stored in mechanical room

Mop Closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, vent dusty

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing

Office

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, 	food stored less than 6 inches from the floor, bananas stored on floor

Tool Crib

No Violations Noted

Bathroom (134)

No Violations Noted

East Tray Room

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, hole in ceiling

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink pipe leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture doesn’t work

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, dishwasher not functioning properly

West Tray Room

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, ceiling tiles damaged and missing

Culinary

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered

Dish Room

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1020F

Mop Closet

FC 6-501.16*	Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 6-202.11(A)*	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant or protected by light shields

WOOD SHOP – NOT IN USE

1st Floor

105 CMR 451.350	Structural Maintenance: Area not rodent and weather-tight

Inmate Bathroom

105 CMR 451.350	Structural Maintenance: Wall damaged

Basement

105 CMR 451.350	Structural Maintenance: Wall paint peeling

VOC ED

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1030F

Staff Bathroom

105 CMR 451.123	Maintenance: Wall damage

LAUNDRY BUILDING

105 CMR 451.126	Water Supply: No hot water supplied to building

105 CMR 451.350	Structural Maintenance: Area not rodent and weather-tight

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Bathroom

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.350*	Structural Maintenance: Window broken

Mattress Room

105 CMR 451.350	Structural Maintenance: Window broken

Optical

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Missing smoke detector

MUSIC BUNKER
105 CMR 451.350	Structural Maintenance: Roof leaking

105 CMR 451.350	Structural Maintenance: Ceiling tiles water damaged

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

G BUILDING

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

2nd Floor

Dorm

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2nd sink leaks when turned on

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

1st Floor

Dorm

No Violations Noted

Bathroom

Unable to inspect – in use

Basement

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 shower broken

Day Room

No Violations Noted

Heater Room

105 CMR 451.353	Interior Maintenance: Floor dirty

Chemical Closet

No Violations Noted

I BUILDING

Officer’s Station

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1430F in bathroom

105 CMR 451.123	Maintenance: Floor damage in bathroom

West Side – Empty

East Side

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Baseboard damage

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1390F at sink

H BUILDING

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

2nd Floor

Dorm

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

Bathroom

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in the bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work on slop sink

1st Floor

Dorm

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work on slop sink

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.123	Maintenance: Unfinished wall

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Basement

Showers

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 2nd sink leaking

NEW GYM

Mezzanine

Staff Bathroom

No Violations Noted

1st Floor

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, low hot water pressure

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler clogged

Male Staff Bathroom

105 CMR 451.123	Maintenance: Soap dispenser broken

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

C.O’s Office

No Violations Noted

Basement

105 CMR 451.350	Structural Maintenance: Ceiling leaking in SW stairwell

105 CMR 451.350	Structural Maintenance: Ceiling damaged in SW stairwell

Optical Area

Staff Bathroom

No Violations Noted

Inmate Bathroom (left)

No Violations Noted

Inmate Bathroom (right)

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Mop Room

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Tool Area

No Violations Noted

Mechanical Room

No Violations Noted

WEIGHT GYM 
105 CMR 451.350	Structural Maintenance: Wall damage

105 CMR 451.350	Structural Maintenance: Floor damage

Bathroom

No Violations Noted

A BUILDING

Officer’s Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

2nd Floor

South Dorm

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, blocked vent over bed 29/30

105 CMR 451.350	Structural Maintenance: Unfinished wall

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm rooms

South Showers

105 CMR 451.123*	Maintenance: Floor tiles cracked

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.353	Interior Maintenance: Vent outside shower room dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

Slop Sink Room

No Violations Noted

Bathroom/Mop Room

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Urine Testing Bathroom

105 CMR 451.141	Screens: Screen missing

Day Room

No Violations Noted

West Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

North Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

North Showers

105 CMR 451.123	Maintenance: Unfinished wall under sink

105 CMR 451.123	Maintenance: Missing wall tiles

105 CMR 451.123	Maintenance: Wall tile damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Vent dusty

1st Floor

Officer’s Area

No Violations Noted

South Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.102*	Pillows and Linens: Pillow damaged on bed #4

South Showers

105 CMR 451.123*	Maintenance: Generally dirty

105 CMR 451.123*	Maintenance: Appearance of mold growth

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 shower broken

Slop Sink Room

105 CMR 451.350	Structural Maintenance: Unfinished wall

Bathroom/Mop Room

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.353	Interior Maintenance: Missing vent cover

Staff Bathroom

No Violations Noted

Day Room

No Violations Noted

North Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350	Structural Maintenance: Unfinished wall

North Shower

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: 1 shower missing dial

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 sink leaks

CRA Basement

Inmate Bathroom

105 CMR 451.123	Maintenance: Ceiling paint peeling

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink drains slowly

B BUILDING

105 CMR 451.350	Structural Maintenance: Roof is in poor condition, shingles are damaged and not secure to roof

2nd Floor

Officer’s Area

No Violations Noted

South Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350	Structural Maintenance: Roof leaking over bed #21

105 CMR 451.350	Structural Maintenance: Unfinished wall

South Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty inside and outside of shower room

105 CMR 451.353	Interior Maintenance: Mop stored on floor

105 CMR 451.123	Maintenance: Hole in wall

105 CMR 451.130	Hot Water: Shower water temperature 1150F

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Heater cover has sharp jagged edges

Staff Bathroom

105 CMR 451.141	Screens: Screen damaged

Chemical Room

105 CMR 451.141*	Screens: Screen damaged/missing

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Day Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, bubbler has excessive water pressure

105 CMR 451.353	Interior Maintenance: Handle missing on bubbler

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Center Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

North Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in runners room

North Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

1st Floor

Staff Area

No Violations Noted

South Dorm

105 CMR 451.322	Cell Size: Inadequate floor space in dorm room

105 CMR 451.103	Mattresses: Mattress damage on bed #22

South Showers

Unable to inspect – in use

Staff Bathroom

No Violations Noted

Day Room

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Wall damage behind faucet

Mop Storage/Bathroom

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353	Interior Maintenance: Sink used to drain mop

Basement

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

B.S.M.U

105 CMR 451.350*	Structural Maintenance: Exterior brickwork needs pointing

Control

105 CMR 451.353	Interior Maintenance: Air conditioner not secured in the wall

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Staff Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Tile damage

105 CMR 451.130	Hot Water: Shower water temperature 970F

105 CMR 451.123	Maintenance: 1 shower dial missing

105 CMR 451.123	Maintenance: Ceiling vent rusty

Day Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Triage Room

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Basement

Library

No Violations Noted

LAUREL BUILDING
105 CMR 451.350*	Structural Maintenance: Exterior brickwork needs pointing

105 CMR 451.350*	Structural Maintenance: Chimneys are leaning

3rd Floor

105 CMR 451.350	Structural Maintenance: Roof leaks

105 CMR 451.350	Structural Maintenance: Paint peeling

105 CMR 451.350	Structural Maintenance: Ceiling water stained

2nd Floor

105 CMR 451.350	Structural Maintenance: Wall and floor damage

105 CMR 451.350	Structural Maintenance: Ceiling damaged

1st Floor

Staff Bathroom

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water has a brown color to it

Inmate Bathroom

105 CMR 451.123	Maintenance: Wall damage

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, water has a brown color to it

CRA Office Bathroom

Unable to access

Office 125

105 CMR 451.350	Structural Maintenance: Wall damage

Office 102

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Basement

105 CMR 451.350	Structural Maintenance: Area not rodent and weather-tight

Recycling Area

No Violations Noted

Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Electrical Room

105 CMR 451.353	Interior Maintenance: Uncovered electrical box

105 CMR 451.350	Structural Maintenance: Ceiling damage

Elevator Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

STORE HOUSE

2nd Floor

No Violations Noted

1st Floor

Inmate Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 720F

Staff Bathroom

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

Receiving

No Violations Noted

Cooler 1

FC 6-501.11	Maintenance and Operation; Repairing: Equipment not in good repair, ceiling damaged

FC 3-305.11(A)(2)		Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Cooler 2

FC 6-501.11	Maintenance and Operation; Repairing: Equipment not in good repair, wall paint peeling

Cooler 3

Not in Use

Cooler 4/Freezer 1

FC 6-201.11	Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling

FC 6-201.11	Floors, Walls and Ceilings: Ceiling not easily cleanable, ceiling paint peeling

Freezer 3

No Violations Noted

Freezer 4

Not in Use – In poor condition

Locust Freezer

No Violations Noted

Basement

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Missing light cover

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

POWER PLANT

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Drain cover broken

Bathroom

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1000F

Break Room

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

GARAGE

Bathrooms

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

GARBAGE COOLER

FC 6-501.12			Cleaning, Frequency and Restrictions: Area not kept clean

FC 4-501.11(A)			Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, door doesn’t stay shut

FC 6-501.12*			Cleaning, Frequency and Restrictions: Bad odor in this cooler

105 CMR 451.353		Interior Maintenance: Light not working

LOCUST BUILDING
105 CMR 451.320	Cell Size: Inadequate floor space in cells

3rd Floor

Bathroom

No Violations Noted

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Shower 3, wall damage

Room 203 & 202

105 CMR 451.353	Interior Maintenance: Missing light cover

1st Floor

Office

No Violations Noted

Day Room

105 CMR 451.350	Structural Maintenance: Cardboard over window

Mop Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Bathroom

No Violations Noted

Kitchen

FC 4-302.14	Numbers and Capacities, Testing Devices: No sanitizer testing kit available

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized equipment not allowed to air dry fully

FC 5-205.11(B)	Plumbing System, Operations and Maintenance: Handwashing sink used for an unapproved purpose, utensils stored in it

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, hot water valve on handwash sink not functioning properly

FC 3-302.11(A)(1)(b)	Preventing Food and Ingredient Contamination: Preventing cross contamination,	ready-to-eat foods not appropriately separated from raw foods

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Dry Storage

No Violations Noted

Basement

No Violations Noted

TOWER 1

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.141	Screens: Screens missing

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged and moldy

VEHICLE TRAP

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Uncovered electrical box

105 CMR 451.350*	Structural Maintenance: Ceiling rusted/rotted out

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet leaks

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Windows cracked

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Side Bathroom

105 CMR 451.350	Structural Maintenance: Floor damage

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Floor damage

TOWER 5

105 CMR 451.141	Screens: Screen missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet runs

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink faucet loose

105 CMR 451.123	Maintenance: Toilet cracked

105 CMR 451.126	Hot Water: Hot water temperature recorded at 770F

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-501.16(B)			Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 				temperature recorded at 500F

JUNIPER BUILDING

Bathroom

FC 4-903.11(A)	Protection of Clean Items, Storing: Clean/Single-use articles not stored in an 		appropriate location, utensils stored in bathroom

Lock Shop

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged and dirty

ASSEMBLY BUILDING

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 3-501.18(F)(1) 		Limitation of Growth of Organisms, Temperature and Time Control: Vending food 				not discarded 7 days after preparation, expired food in machine

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

Basement

105 CMR 451.141	Screens: Screen damaged/missing

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper

Observations and Recommendations

- The Department recommends that the sanitizer that is used in the kitchen be changed to either a quaternary solution or a bleach solution. The iodine solution that is currently used makes it very difficult to determine if the sanitizer is clean or dirty

- The Department recommends that drying racks be purchased to ensure the dishes are thoroughly dried

- Dishwasher in the East Tray Room was shut down during inspection

- I building is being shut down for complete renovations

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Harold W. Clarke, Commissioner, DOC

William Homans, EHSO

Gardner Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS