The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA 01060

Telephone (413) 586-7525, ext. 1196

Facsimile (413) 784-1037 TTY (800) 769-9991

peter.wheeler@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

May 9, 2011

Michael J. Ashe Jr., Sheriff

Western Massachusetts Women’s Correctional Center

701 Center Street

Chicopee, MA 01013

Re: Facility Inspection

Dear Sheriff Ashe:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Western Massachusetts Women’s Correctional Center on May 5, 2011 accompanied Heather Brovillettz, Standards and Training Officer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Lobby

No Violations Noted

Staff Dinning

No Violations Noted

Kitchen

FC 3-304.12(A)			In-Use Utensils: Scoop handle touching sugar

FC 4-701.10 			Food Contact Surface: Dirty ice machine

INTAKE

105 CMR 451.353		Interior Maintenance: Urinalysis machine # 21036 drains into handsink

LAUNDRY

No Violations Noted

Minimum B

Laundry

No Violations Noted

Bathroom

No Violations Noted

Showers

No Violations Noted

Cells

No Violations Noted

Minimum A

Laundry

No Violations Noted

Janitor’s Closet

No Violations Noted

Day Area

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Blocked air vent cell # 10

Bathroom

No Violations Noted

Showers

No Violations Noted

Unit 1A

Janitor’s Closet

No Violations Noted

Day Area

No Violations Noted

Cells

No Violations Noted

Bathroom

No Violations Noted

Showers

No Violations Noted

Unit 1B

Janitor’s Closet

No Violations Noted

Day Room

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Anti slip tape on shower floor is peeling in upper and lower

Cells

105 CMR 451.353	Interior Maintenance: Dirty air vent in cell # 2

Unit 2A

Laundry

No Violations Noted

Janitor’s Closet

105 CMR 451.353		Interior Maintenance: Mop stored in bucket

Bathroom

105 CMR 451.123			Maintenance: Sharp edge on threshold in room # 214

Cells

105 CMR 451.353*		Interior Maintenance: Blocked air vent cell # 7 and 22

105 CMR 451.353		Interior Maintenance: Debris on wall cell # 19

Sub Day Room

No Violations Noted

Unit 2B

Laundry

No Violations Noted

Janitor’s Closet

No Violations Noted

Bathroom

No Violations Noted

Cells

105 CMR 451.353*		Interior Maintenance: Debris on air vent in cell # 22

Showers

No Violations Noted

Medical

FC 4-602.12(B)		Cooking and Baking Equipment: Dirty toaster oven

FC 4-602.12(B)		Cooking and Baking Equipment: Dirty microwave oven

Programs

Break room

No Violations Noted

Observations and Recommendations

- The inmate population was 108 at the time of inspection

This facility does not comply with the Department’s regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Peter Wheeler

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

Judyann Bigby, Secretary of Health and Human

Luis S. Spencer, Acting Commissioner, DOC

Corporal Thomas Kalil, Environmental Health Officer

Heather Brovillettz, Standards and Training Supervisor

Chicopee Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS