The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

lauren.molotnikov@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

April 25, 2011

Andrea J. Cabral, Sheriff

Suffolk County Jail

200 Nashua Street

Boston, MA 02214

Re: Facility Inspection

Dear Sheriff Cabral:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of Suffolk County Jail on April 1, 2011 accompanied by Michael Chisholm and Angel Lopez, FS/EHSO’s. Violations noted are listed below

(* indicates conditions documented on previous inspection reports).

Entry Level

Front Lobby

No Violations Noted

Men’s Room

No Violations Noted

Women’s Room

No Violations Noted

7th Floor

Hallway

105 CMR 451.353	Interior Maintenance: Baseboard missing

Visiting Rooms

No Violations Noted

Floor 6.5

Gym

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not 	functioning properly

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty near water fountain

Staff Bathroom # 6503

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Inmate Bathroom # 6506

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F

Inmate Bathroom # 6506

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.124	Water Supply: Insufficient hot water supply in quantity and pressure at handwash sink

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 640F

6th Floor

Staff Bathroom 6-1 & 6-2

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Door dirty

Staff Bathroom 6-3 & 6-4

105 CMR 451.123	Maintenance: Toilet paper holder damaged

Unit 6-1A

Common Area

No Violations Noted

Kitchenette

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket and 	no sanitizer solution available

Storage Room # 61G

No Violations Noted

Shower Area	Occupied at the time of Inspection

Cells

No Violations Noted

Unit 6-1

Common Area

105 CMR 451.353	Interior Maintenance: Window dirty near cell # 36

105 CMR 451.353	Interior Maintenance: Water fountain dirty near cell # 24

Kitchenette

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Vent dirty

Shower # 617	Occupied at the time of Inspection

Shower # 618

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Ceiling dirty

Shower # 711

105 CMR 451.123*	Maintenance: Shower walls and wall need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Shower tiles damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Shower # 712

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Possible mold growth on shower tiles

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 36

Unit 6-2

Common Area

105 CMR 451.353	Interior Maintenance: Vent dirty outside cell # 17

105 CMR 451.353	Interior Maintenance: Window dirty near cell # 6

Kitchenette

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket and 	no sanitizer solution available

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Slop Sink Room # 62B

105 CMR 451.353	Interior Maintenance: Wet mop not hung properly

Shower # 625

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

Shower # 626	Occupied at the time of Inspection

Meeting Room # 627

No Violations Noted

Storage Room # 62C

No Violations Noted

Visit Rooms

No Violations Noted

Shower # 721

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Shower head missing

105 CMR 451.123	Maintenance: Floor dirty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower out of order

Shower # 722

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Shower walls dirty

Shower # 723

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Possible mold growth on ceiling

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Cells

No Violations Noted

Unit 6-3

Common Area

105 CMR 451.353	Interior Maintenance: Window dirty near cell # 12, 17, and 29

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Meeting Room # 63B

No Violations Noted

Shower # 63C

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Step tiles missing

105 CMR 451.123*	Maintenance: Wall tiles damaged near door frame

Slop Sink Room # 63D

105 CMR 451.353*	Interior Maintenance: Vent dirty

Shower # 63E

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Floor tiles dirty

Storage Room # 63F

105 CMR 451.353	Interior Maintenance: Vent cover missing

Shower # 63G

105 CMR 451.123	Maintenance: Shower walls need re-grouting

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Access panel rusted

105 CMR 451.123	Maintenance: Shower vent dirty

Shower # 63H

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Shower # 63J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Floor tiles damaged near drain

Visiting Rooms

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly in visiting room # 709

Cells

No Violations Noted

Unit 6-4

Common Area

105 CMR 451.353	Interior Maintenance: Water fountain drain dirty

105 CMR 451.353	Interior Maintenance: Window sill dirty near cell # 5, 8, 25, and 28

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sink

Shower #64B

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor tiles damaged near drain

105 CMR 451.123	Maintenance: Light fixture rusted

Slop Sink Room # 64C

No Violations Noted

Shower # 64D

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Light fixture rusted

105 CMR 451.123	Maintenance: Possible mold growth on shower wall tiles

Shower # 64E

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Floor tiles missing near drain cover

105 CMR 451.123*	Maintenance: Shower tiles dirty

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Shower vent dirty and rusted

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls in shower

105 CMR 451.123	Maintenance: Ceiling paint damaged

Storage Room # 64F

No Violations Noted

Shower # 64G

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower tiles dirty

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on walls in shower

Shower # 64H

105 CMR 451.123*	Maintenance: Upper edge of tiles not sealed properly to ceiling

105 CMR 451.123	Maintenance: Shower floor dirty

105 CMR 451.123	Maintenance: Shower vent dirty

Visiting Rooms

105 CMR 451.353	Interior Maintenance: Vent dirty in visiting room # 711

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling dirty in cell # 11

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 40

5th Floor

Hallway

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

Visiting Rooms

105 CMR 451.350	Structural Maintenance: Floor unfinished in room # 501

105 CMR 451.353	Interior Maintenance: Glass broken in room # 511

Medical Area

Waiting Room

No Violations Noted

Nurses Area

105 CMR 451.353	Interior Maintenance: Countertop front at handwash sink damage and no longer 	easily cleanable

Omni Cell Room # 5041

No Violations Noted

Diabetic Room 5044

No Violations Noted

Male Staff Locker and Bathroom # 5093

105 CMR 451.123	Maintenance: Vent dirty

Female Staff Locker and Bathroom # 5124

105 CMR 451.123	Maintenance: Vent dirty

Staff Break Room # 5033

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, shelf missing from refrigerator unit

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of refrigerator unit dirty and disorganized

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator light not functioning properly

Dental Office

105 CMR 451.353	Interior Maintenance: Counter top front at handwash sink damage and no longer 	easily cleanable

Exam Room # 1 and Bathroom #5032

No Violations Noted

Exam Room # 2 and Bathroom #5030

No Violations Noted

X-Ray Room

No Violations Noted

Medical Waste Storage Room # 5507

No Violations Noted

Medical Housing Unit

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

Kitchenette

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels at handwash sink

Isolation Cell # 5514

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink not working 	properly

Shower # 5512

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Shower floor dirty

105 CMR 451.123	Maintenance: Vent rusted and damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted over

Shower # 5554

105 CMR 451.123	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123	Maintenance: Shower door window damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted over

Cells

105 CMR 451.353	Interior Maintenance: Vent dirty in cell # 16, 18, 19, and 20

Psychiatric Housing Unit # 5552

Storage # 5553

105 CMR 451.353	Interior Maintenance: Light shield loose

Room # 5555

105 CMR 451.383(B)	Fire Safety System: Facility not in compliance with 780 CMR Massachusetts Building Code provisions for fire safety, storage less than 18 inches from ceiling

Kitchenette

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Shower # 5573

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123	Maintenance: Light fixture rusted

105 CMR 451.123	Maintenance: Wall tiles damaged near doorway

105 CMR 451.123	Maintenance: Shower floor dirty

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent painted over

Slop Sink Room

No Violations Noted

Cells

No Violations Noted

4th Floor

Staff Bathroom 4-1 & 4-2

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Toilet paper holder damaged

Staff Bathroom 4-3 & 4-4

105 CMR 451.123	Maintenance: Paper towel holder door not secured properly

Unit 4-1

Common Area

105 CMR 451.353	Interior Maintenance: Water fountain dirty

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket and 	no sanitizer solution available

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

Slop Sink Room # 41N

105 CMR 451.353	Interior Maintenance: Slop sink dirty

105 CMR 451.353	Interior Maintenance: Walls and floor dirty

Room # 41M

No Violations Noted

Shower # 41G

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Interior access door paint damaged

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Wall and floor tiles dirty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

Shower # 41H

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123	Maintenance: Interior access door paint damaged

105 CMR 451.123	Maintenance: Wall and floor tiles dirty

105 CMR 451.123	Maintenance: Soap scum on shower wall and floor tiles

105 CMR 451.123	Maintenance: Step tiles damaged

105 CMR 451.123	Maintenance: Lower wall and door frame damaged

Shower # 41I

105 CMR 451.123	Maintenance: Soap scum on shower wall tiles

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted

Shower # 41J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123	Maintenance: Soap scum on shower wall tiles

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted

Shower # 41K

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on shower wall tiles

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 2, 3, 4, 6, 12, 16, 24, 30, 31, and 33

Unit 4-2

Common Area

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty outside shower # 42D

Kitchenette

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty behind 	trash receptacle

Meeting Room # 42B

105 CMR 451.353	Interior Maintenance: Floor dirty

Slop Sink Room # 42C

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly

Shower # 42D

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on shower wall and floor tiles

Shower # 42E

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Shower walls and floor dirty

Room # 42F

No Violations Noted

Shower # 42G

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on shower wall and floor tiles

105 CMR 451.123*	Maintenance: Doorframe rusted

105 CMR 451.123	Maintenance: Ceiling dirty

Shower # 42H

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Metal access door rusted

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on shower wall and floor tiles

Shower # 42J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on shower wall and floor tiles

Cells

105 CMR 451.344	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly in cell # 23

Unit 4-3

Common Area

105 CMR 451.353	Interior Maintenance: Water fountain dirty

105 CMR 451.353	Interior Maintenance: Door dirty on shaft # 3

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, sink fixture dirty

Shower # 43C

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Shower access panel and door frame rusted

105 CMR 451.123	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Floor tiles damaged near drain

105 CMR 451.123	Maintenance: Wall tile damaged

Slop Sink Room # 43D

105 CMR 451.353*	Interior Maintenance: Vent dirty

Shower # 43E

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123	Maintenance: Drain flies observed in shower unit

Storage Room # 43F

105 CMR 451.353	Interior Maintenance: Vent cover missing

Shower # 43G

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Metal access plate on ceiling rusted

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on shower wall tiles

Shower # 43H

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.123*	Maintenance: Possible mold growth on ceiling

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Soap scum and possible mold growth on wall tiles

Shower # 43I

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Possible mold growth on ceiling

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Floor tiles missing near drain

105 CMR 451.123	Maintenance: Soap scum and possible mold growth on wall tiles

105 CMR 451.123	Maintenance: Floor dirty

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 3

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 11, 14, and 15

Unit 4-4

Common Area

105 CMR 451.353	Interior Maintenance: Windows dirty near cell # 5 and 24

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket and 	no sanitizer solution available

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, water 	fountain dirty

Shower # 44B

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123	Maintenance: Possible mold growth on ceiling

105 CMR 451.123	Maintenance: Drain flies observed in shower area

105 CMR 451.123	Maintenance: Floor tiles missing

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Soap scum on shower wall tiles

Slop Sink Room # 44C

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Shower # 44D

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Light fixture rusted

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Wall tiles damaged

Meeting Room # 44E

No Violations Noted

Shower # 44F

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

Closet # 44G

105 CMR 451.353*	Interior Maintenance: Ceiling fire-retardant insulation not intact

Shower # 44H	Occupied at the time of inspection

Shower # 44I

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Step tiles missing

Shower # 44J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Cells

105 CMR 451.103	Mattresses: Mattress damage in cell # 1

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 1, 3, 6, 12, 22, 24, and 30

Floor 3.5

Office Area

No Violations Noted

Slop Sink Room # 3503

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

File Room Kitchen

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

2nd Floor

Staff Bathroom 2-1 & 2-2

105 CMR 451.123	Maintenance: Vent dirty

Staff Bathroom 2-3 & 2-4

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123	Maintenance: Toilet paper holder damaged

105 CMR 451.123	Maintenance: Light shield damaged

Unit 2-1

Common Area

105 CMR 451.353	Interior Maintenance: Window dirty near cell # 15 and 34

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket and 	no sanitizer solution available

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1020F

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Shower # 21B

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Ceiling vent rusted

105 CMR 451.123*	Maintenance: Step tiles damaged

105 CMR 451.123	Maintenance: Light fixture rusted

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Soap scum on shower wall tiles

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent painted over

Slop Sink Room # 21C

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Shower # 21D

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Light fixture damaged’

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Handicap shower head hose damaged

105 CMR 451.123	Maintenance: Ceiling vent dirty

Meeting Room # 21E

No Violations Noted

Shower # 21F

105 CMR 451.123	Maintenance: Shower walls need re-grouting

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Flying insects observed in shower area

Shower # 21G

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Possible mold growth on ceiling

105 CMR 451.123*	Maintenance: Shower head loose

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Door rusted

105 CMR 451.123	Maintenance: Ceiling paint damaged

Closet # 21H

No Violations Noted

Shower # 21J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Wall tiles missing near door frame

105 CMR 451.123	Maintenance: Ceiling paint damaged

Cells

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 3, 4,5, 8, 18, 23, 29, 35, and 36

Unit 2-2

Common Area

105 CMR 451.353	Interior Maintenance: Window dirty near cell # 6 and 23

105 CMR 451.353	Interior Maintenance: Vent dirty outside slop sink room # 22D

105 CMR 451.353	Interior Maintenance: Stairs dirty

Kitchenette

No Violations Noted

Meeting Room # 22B

No Violations Noted

Shower # 22C

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor dirty

Slop Sink Room # 22D

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Shower # 22E

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Wall tiles dirty

Closet # 22F

No Violations Noted

Shower # 22H

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Floor tiles missing near drain

105 CMR 451.123*	Maintenance: Shower vent dirty

Shower # 22I

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Wall tiles dirty

105 CMR 451.123	Maintenance: Soap scum on shower wall tiles

105 CMR 451.123	Maintenance: Shower vent dirty

Shower # 22J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Step tiles damaged

105 CMR 451.123	Maintenance: Shower head loose

Cells

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 5

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 3, 7, 17, and 20

Unit 2-3

Common Area

105 CMR 451.350	Structural Maintenance: Floor tiles damaged near cell # 18

105 CMR 451.353	Interior Maintenance: Floor and stairway dirty

105 CMR 451.353	Interior Maintenance: Vent dirty outside shower # 23C

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Meeting Room # 23B

No Violations Noted

Shower # 23C

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Wall tiles dirty

105 CMR 451.123	Maintenance: Possible mold growth on shower tiles

105 CMR 451.123	Maintenance: Shower vent dirty

Slop Sink Room # 23D

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Vent dirty and damaged

Shower # 23E

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.123	Maintenance: Shower vent dirty

105 CMR 451.123	Maintenance: Shower floor tiles dirty

Closet # 23F

105 CMR 451.353*	Interior Maintenance: Vent dirty

Shower # 23G

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Access panel rusted

105 CMR 451.123	Maintenance: Soap scum with possible mold growth on shower tiles

105 CMR 451.123	Maintenance: Shower vent dirty

Shower # 23H

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Shower vent dirty

105 CMR 451.123*	Maintenance: Floor tiles missing near floor drain

105 CMR 451.123	Maintenance: Shower tiles damaged

105 CMR 451.123	Maintenance: Possible mold growth on shower tiles

Shower # 23J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Possible mold growth on ceiling

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Access panel rusted

105 CMR 451.123*	Maintenance: Soap scum with possible mold growth on shower tiles

Visiting Rooms

105 CMR 451.353	Interior Maintenance: Floor dirty in visiting room # 307 and 309

Cells

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 18

Unit 2-4

Common Area

105 CMR 451.353	Interior Maintenance: Water fountain dirty

105 CMR 451.353	Interior Maintenance: Stairway dirty

105 CMR 451.353	Interior Maintenance: Windows dirty near cell # 5 and 24

Kitchenette

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of both microwave oven 	dirty

FC 6-301.11	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels

Shower # 24B

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.123*	Maintenance: Shower vent dirty

Slop Sink Room # 24C

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

Shower # 24D

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Shower head loose

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Door frame rusted

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Meeting Room # 24E

No Violations Noted

Shower # 24F

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Shower head loose

Closet # 24G

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Vent cover missing

Shower # 24H

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123	Maintenance: Shower floor dirty

Shower # 24J

105 CMR 451.123*	Maintenance: Shower walls and floor need re-grouting

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a workman like manner

105 CMR 451.123*	Maintenance: Soap scum on wall tiles

105 CMR 451.123	Maintenance: Shower floor dirty

Cells

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially	hazardous food not held at the proper cold holding temperature, unrefrigerated milk in 	cell # 2, 6, 11, 12, 13, 16, 22, 23, and 24

Entry Level (Inside)

Staff Cafeteria # 1066

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen area

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.13	Maintenance and Operation, Equipment: Microwave oven does not meet safety	standards

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, nozzles on 	juice machine dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Coffee vending machine dirty

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel at handwash sink

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty 	behind vending machines

Weight Room # 1070

105 CMR 451.353	Interior Maintenance: Exercise equipment damaged making the equipment no longer 	easily cleanable

Slop Sink Room # 1072

105 CMR 451.350	Structural Maintenance: Wall damaged

Water Fountain

No Violations Noted

Blue Shirt’s Locker Room # 1075

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Toilet paper holders damaged

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Ceiling damaged

Female Staff Locker Room # 1076

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Toilet paper holders damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 810F

Captain and Lieutenants’ Locker Room # 1077

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Floor dirty

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 500F

Administration Bathrooms

Female Bathroom # 1013

105 CMR 451.123	Maintenance: Ceiling vent dirty

Male Bathroom # 1015

105 CMR 451.123	Maintenance: Ceiling vent dirty

105 CMR 451.126	Hot Water: Hot water temperature recorded at 810F

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water control handle leaking

Ground Level

Storage Room # G11

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on refrigerator

Maintenance # G12

105 CMR 451.353	Interior Maintenance: Eye wash station protective caps missing from fountains

Locker Room # G13

No Violations Noted

Laundry Room # G23

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on refrigerator

Loading Dock # G26

No Violations Noted

Garbage Room # G37

105 CMR 451.353	Interior Maintenance: Walls no longer easily cleanable, wall paint damaged

Staff Bathroom # G44

No Violations Noted

Staff Bathroom # G46

No Violations Noted

Female Booking Area

Holding Cells

105 CMR 451.353	Interior Maintenance: Vent in holding cell # 3

Male Booking Area

Control

No Violations Noted

Property Room # G62

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty on refrigerator

Staff Bathroom # G64

No Violations Noted

Male Intake Cells # G74

No Violations Noted

Holding Cage

No Violations Noted

Holding Cells

No Violations Noted

Back Gate Control # G80

No Violations Noted

Staff Bathroom # G81

No Violations Noted

Food Service Area

Office

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

Trash Area

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Fly sticky trap full

Oven and Steamer Hood Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not properly cleaned, light cage dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, grease hood 	dirty

Grease Hood/Ice Machines

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Drink coolers not stored at least 6 inches off the 	floor

FC 6-403.11(B)	Location and Placement; Employee Accommodations: Personal items observed in 	kitchen area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, two light fixtures 	not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles missing 	near drain

Dry Storage

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, fire retardant 	coating on ceiling loose

Storage Cage

FC 4-202.11(A)(2)	Design and Construction, Cleanability: Damaged food-contact surface no longer	easily cleanable, utensil’s number etched on the food contact surfaces

FC 4-903.11(B)(2)	Protection of Clean Items, Storing: Uncovered equipment not protected from 	contaminations, meat cutter not covered

Inmate Dinning Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles 	damaged

Inmate Bathroom

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipe leaking from handwash sink # 2

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, heater cover loose 	and rusted

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, counter top edge 	damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, electrical outlet 	damaged and incorrect type

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard tiles 	damaged

Chemical Storage Cage

No Violation Noted

Can Opener Table

No Violations Noted

Refrigerator # 1

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 450F

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gages not functioning properly

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	gasket dirty

Refrigerator # 2	Canteen refrigerator locked at the time of inspection

Vegetable Chest # 3

No Violation Noted

Milk Chest # 4

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

Freezer # 5

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, floor 	dirty

Bread Refrigerator # 6

No Violation Noted

Tray Prep Area

FC 5-202.12(A)	Plumbing System, Design: Prep and handwash sinks water temperature recorded at 	1400F

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, soap dispenser 	damaged

Kettle Area

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1400F

3-Compartment Sink

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 1440F

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, water control handles leaking

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink fixture leaking causing standing water on the ground

Mechanical Warewashing Area

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, wash gage not functioning properly on the mechanical warewashing machine

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, mechanical warewashing machine leaking in several areas causing an 	extensive amount of standing water on the floor

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor grout 	missing and floor tiles damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tile missing

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, hose wrapped with 	plastic bags

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, portable fan 	dirty

Tray Racks

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, several 	trays dirty on drying rack

FC 4-202.11(A)(2)	Design and Construction, Cleanability: Damaged food-contact surface no longer	easily cleanable, several trays damaged on drying rack

Observations and Recommendations

- Please note the following documents are enclosed in this report and should be provided to the medical staff in charge of medical waste-Guidelines for Medial Waste Management at Secure Lockup Facilities and example of record-keeping log for medical or biological waste

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Lauren Molotnikov

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Acting Commissioner, DOC

Eugene Sumpter, Superintendent

Michael Chisholm, FS/EHSO

Angel Lopez, FS/EHSO

Boston Public Health Commission

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS