The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2322

Facsimile: 508-792-7706

TTY: 508-835-9796

Amy.M.Riordan@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

January 3, 2013

Gary Roden, Superintendent

MCI Norfolk

2 Clark Street

P.O. Box 43

Norfolk, MA 02056

Re: Facility Inspection

Dear Superintendent Roden:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Norfolk on November 26, 27, 29, 30 and December 3, 2012 accompanied by George Marino, EHSO and Marian Robertson of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

TOWERS

5 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Trash littered on the ground at entrance of tower

105 CMR 451.353	Interior Maintenance: Uncovered junction box

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

4 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.350	Structural Maintenance: Wall damaged at sink

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Hole in ceiling

3 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Wall damaged behind toilet

2 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.353	Interior Maintenance: Trash littered at entrance to tower

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

1 Tower

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at plumbing stack

105 CMR 451.353	Interior Maintenance: Trash littered at entrance to tower

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1010F

105 CMR 451.350	Structural Maintenance: Ceiling damaged

GATE HOUSE

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Some ceiling tiles missing and damaged

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

3rd Floor

Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling paint flaking

Hallway

105 CMR 451.350*	Structural Maintenance: Wall paint flaking

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

2nd Floor

105 CMR 451.350	Structural Maintenance: Wall damaged at radiator

Disciplinary Office

105 CMR 451.350*	Structural Maintenance: Wall damaged under window

105 CMR 451.350*	Structural Maintenance: Wall damaged in copy room

FC 4-102.11(B)(2)		Materials for Construction and Repair; Multiuse: Unused single-service article not 				protected against contamination

Women’s Room

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

1st Floor

105 CMR 451.350*	Structural Maintenance: Windows cracked

Men’s Room

105 CMR 451.123	Maintenance: Ceiling damaged

Women’s Room

No Violations Noted

Inmate Transportation

105 CMR 451.351*	Handrails: Baluster not provided on both sides of stairs

TRAP

No Violations Noted

VISITOR’S BUILDING

Visitor’s Area

No Violations Noted

Staff Breakroom

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, items left uncovered, plastic knives not covered

Visitor’s Bathroom

105 CMR 451.350	Structural Maintenance: Baseboard heat cover damaged

Staff Bathroom

105 CMR 451.350	Structural Maintenance: Baseboard heat cover missing

S.M.U.

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

3rd Floor

Control

No Violations Noted

Showers

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.126	Hot Water: Hot water temperature recorded at 770F

Hallway

105 CMR 451.353	Interior Maintenance: Radiator rusty at both ends of hallway

Storage Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Insulin Cage Room

105 CMR 451.126	Hot Water: Hot water temperature recorded at 870F

Cells

105 CMR 451.353	Interior Maintenance: Trash in window in cell # 333

105 CMR 451.350	Structural Maintenance: Window damaged in cell # 324 and 327

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 316

Back Hallway

105 CMR 451.350	Structural Maintenance: Ceiling leaking

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

2nd Floor

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Bathroom

No Violations Noted

Staff Breakroom

105 CMR 451.350	Structural Maintenance: Windows damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

105 CMR 451.350	Structural Maintenance: Missing vent covers

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water left in bucket

Hallway

105 CMR 451.35*0	Structural Maintenance: Ceiling paint peeling

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.350	Structural Maintenance: Hallway ceiling damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Water bubbler broken

Medical Room

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Window paint peeling

105 CMR 451.353	Interior Maintenance: Generally dirty

105 CMR 451.353	Interior Maintenance: Cabinet damaged

Large Bathroom

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.123	Maintenance: Hot water faucet broken

Small Bathroom

105 CMR 451.123*	Maintenance: Wall paint peeling

Shower

105 CMR 451.130*	Hot Water: Shower water temperature 780F

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Wall paint peeling

Cells

No Violations Noted

Insulin Cage Room

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Holding Cell

No Violations Noted

1st Floor

Shower

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Damaged wall tiles

105 CMR 451.123	Maintenance: Missing floor drain cover

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 110, 111, 112, 114-117 and 123

Staff Supply Room

No Violations Noted

Laundry Room

No Violations Noted

Law Library

No Violations Noted

Lunch Room

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.141	Screens: Screen damaged

Strip Area

No Violations Noted

Visits

No Violations Noted

Hallway

105 CMR 451.350	Structural Maintenance: Window panes broken and missing

ADMINISTRATION OFFICES

3rd Floor

Women’s Room

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.126	Hot Water: Hot water temperature recorded at 650F

Kitchen

No Violations Noted

IPS

No Violations Noted

Room 300

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

2nd Floor

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

Utility Closet #210

No Violations Noted

Break Room

105 CMR 451.350	Structural Maintenance: Wall damaged

Room 202

No Violations Noted

Room 208

No Violations Noted

1st Floor

Women’s Room

No Violations Noted

Men’s Room

No Violations Noted

Room 105

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Holding Cell

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

Kitchen

No Violations Noted

Utility Closet

105 CMR 451.350	Structural Maintenance: Wall damaged

Deputy’s Office

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.353*	Interior Maintenance: Mop stored in the bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Side Entrance

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Captain’s Office

105 CMR 451.350	Structural Maintenance: Wall damaged

H.S.U.

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

4th Floor

105 CMR 451.350*	Structural Maintenance: Windows panes cracked

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall damaged

3rd Floor

Records Room

No Violations Noted

Room 303 and 305

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Hallway

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Bathroom 321

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Room 320

105 CMR 451.353	Interior Maintenance: Water stored in bucket

Room 311, 313 and 316

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Day Room

No Violations Noted

2nd Floor

Room 210

No Violations Noted

Room 220

No Violations Noted

Room 219

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

Room 206

No Violations Noted

Room 205

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.350*	Structural Maintenance: Paint peeling

Room 204

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.350*	Structural Maintenance: Paint peeling

Back Cells

No Violations Noted

Bathroom 213

No Violations Noted

Laundry Room

105 CMR 451.353*	Interior Maintenance: Debris behind the dryer

105 CMR 451.350	Structural Maintenance: Wall damaged behind dryers

105 CMR 451.353	Interior Maintenance: Radiator rusty

105 CMR 451.353	Interior Maintenance: Louvers don’t open completely on vent fan

Hall Sink

No Violations Noted

Room 212 Shower

In Use – Unable to Inspect

Staff Bathroom 216A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet leaks

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination (outside of bathroom)

Ward

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350*	Structural Maintenance: Window panes cracked

1st Floor

Room 125

105 CMR 451.353*	Interior Maintenance: Mop stored in the bucket

105 CMR 451.353	Interior Maintenance: Missing light shield

Room 106

105 CMR 451.350	Structural Maintenance: Ceiling leaking

Room 124

No Violations Noted

Staff Bathroom

No Violations Noted

Insulin Room

No Violations Noted

Dentist’s Office

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hose leaking under sink

Hallway

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Room 119

105 CMR 451.353*	Interior Maintenance: Missing light shields

Room 113

105 CMR 451.350	Structural Maintenance: Floor tile damaged

NP Office Bathroom

105 CMR 451.350*	Structural Maintenance: Window panes cracked

NP Office

105 CMR 451.350	Structural Maintenance: Window panes cracked

Basement

B-05 A - Booking

No Violations Noted

Holding Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Waiting Room

No Violations Noted

B-06

105 CMR 451.350*	Structural Maintenance: Wall damaged

B-05

No Violations Noted

X-Ray

No Violations Noted

B-03(A) Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, air gap missing from faucet

Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature recorded at 980F

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Dark Room

105 CMR 451.353	Interior Maintenance: Chemicals stored on the ground

CULINARY ARTS

Hallway

Freezers

No Violations Noted

Inmate’s Bathroom

105 CMR 451.353	Interior Maintenance: Missing light shields

B-01

No Violations Noted

Dry Goods

FC 4-501.12	Maintenance and Operation, Equipment: Cutting surfaces damaged and no longer 	easily cleanable

B-09

FC 6-404.11	Location and Placement; Distressed Merchandise: Dented cans not properly segregated

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly, original manufactures label missing

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers

B-10

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, louvers don’t open completely

B-11

No Violations Noted

B-12

No Violations Noted

Dining Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles water damaged

Kitchen

FC 5-501.16(C)	Refuse, Recyclables, and Returnables; Numbers and Capacities: No conveniently 	located waste receptacle at handwashing sink

FC 5-202.13	Plumbing System, Design: Air gap between (inlet) pipe and flood rim, air gap less than twice the diameter of the pipe at 3 bay sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily cleanable, wall damaged at 3 bay sink

FC 5-202.13	Plumbing System, Design: Air gap between (inlet) pipe and drain, air gap less than twice the diameter of the pipe at the ice machine

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, lights above the hood system dirty

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged behind griddle

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall paint peeling in dish area

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line in dish area

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged in dish area

Slop Sink in Hall

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

MAIN KITCHEN

Spice Room

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed

Dry Storage

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, all spice bins are littered with debris and old food product

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line

Chemical Closet

No Violations Noted

Inmate Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipe leaking

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, rusted partition at toilet

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink damaged

105 CMR 451.123	Maintenance: Wall damaged near urinal and toilet

105 CMR 451.126	Hot Water: Hot water temperature 1360F

Dish Room

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, peeling paint over windows

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, rodent droppings observed on window sill

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots/Pans/Bowls not stored in the inverted/self-draining position

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel at hand sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, floor drain not secured

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipe leaking at handwash sink

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, handwash sink dirty

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, 	details, storage surfaces dirty

Diet Kitchen

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers

FC 3-501.16(A)	Limitation of Growth of Organisms, Temperature and Time Control: Potentially hazardous food not held at the proper hot holding temperature, inmate food left unrefrigerated

FC 4-903.11(A)	Protection of Clean Items, Storing: Clean/Single-use items not stored in an 	appropriate location, items left uncovered

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	details, food debris left in steam table

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, Hallal warmer damaged

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

Officers Station

No Violations Noted

Staff Bathroom (inside Officers Station)

FC 4-903.12 (A)(2)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, food stored in bathroom

FC 4-903.12 (A)(2)	Protection of Clean Items, Storing: Food product stored in an inappropriate location, refrigerator located in bathroom

FC 4-502.11(A)	Maintenance and Operation, Utensils: Utensils not maintained in a state of good repair, whisk and rolling pin damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

Freezer in Office

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on floor

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged

Mop Closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Wall paint peeling

Cage Area

No Violations Noted

Kettle Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, paint peeling

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, mold growth in kettle area

FC 4-602.13	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces dirty, 	details, ovens dirty to the touch

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not 	repaired or removed from premises, oven not working

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall paint peeling behind kettles

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Walls/Ceiling covering not easily 	cleanable, skylight wall paint peeling

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, window sills dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, beams over kettles rusted

Baking Area

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall paint peeling behind mixer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gaskets damaged on warmers

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, radiators rusted

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall paint peeling at griddle

Cart Room

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Mold growth observed on interior	surfaces of ice machine

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, handwash sink leaking

Cooler 1

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Cooler 2

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Mop Closet

No Violations Noted

Butcher Shop

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Cooler

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall covering not easily 	cleanable, wall damaged inside cooler

SUPPLY

Office

No Violations Noted

Loading Dock

105 CMR 451.350	Structural Maintenance: Windows damaged

Bathroom

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Egg Room (cooler 2)

No Violations Noted

Freezer 1

No Violations Noted

Freezer 2

No Violations Noted

2nd Floor

Office

No Violations Noted

East Side

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Bathroom

No Violations Noted

West Side

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Windows cracked

3rd Floor

Bathroom

No Violations Noted

East Side

105 CMR 451.350*	Structural Maintenance: Ceiling cracking

105 CMR 451.350*	Structural Maintenance: Window panes cracked

West Side

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall damaged

SOUTH YARD HOUSING UNIT

Not In Use – Not Inspected

O.I.C. BUILDING

2nd Floor

Men’s Room

105 CMR 451.123	Maintenance: Ceiling vent dusty

Women’s Room

No Violations Noted

Teacher’s Room

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Hallway

No Violations Noted

Room 211

105 CMR 451.353	Interior Maintenance: Missing light shield

Room 202 and 203

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged

1st Floor

Back Door

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Staff Bathroom (across from inmate bathroom)

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.353	Interior Maintenance: Missing light shield

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Window broken

105 CMR 451.123	Maintenance: 2 sinks broken

105 CMR 451.123	Maintenance: Soap dispenser broken

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

Officer’s Break Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer and refrigerator gaskets damaged

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior top portion of coffee maker is dirty

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

Library

105 CMR 451.353	Interior Maintenance: Missing light cover

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket in the closet

Law Library

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Window damaged

Supply Closet

Unable to Access

VOC EDUCATION BUILDING

2nd Floor

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Drain in urinal not secured

EHSO Office

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

Room 207

105 CMR 451.350	Structural Maintenance: Ceiling structurally unsafe

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.350	Structural Maintenance: Frame holding ceiling in place

1st Floor

Staff Bathroom

105 CMR 451.121(B)	Privacy: Separate toilet facilities not provided for male and female staff

105 CMR 451.123	Maintenance: Drain cover missing at urinal

Inmate Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 urinal out-of-order

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Inmate Bathroom Area

No Violations Noted

Barber Shop

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sprayer leaking at sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water faucet broken

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353	Interior Maintenance: Chair # 9 damaged

Hallway

105 CMR 451.350*	Structural Maintenance: Window panes damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Basement

Laundry

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Bathroom

No Violations Noted

MAINTENANCE BUILDING

3rd Floor Storage

105 CMR 451.350	Structural Maintenance: Window panes cracked

Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water doesn’t work

2nd Floor

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling damaged

Office

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Carpentry Shop

105 CMR 451.350*	Structural Maintenance: Area not rodent and weathertight

1st Floor

105 CMR 451.350*	Structural Maintenance: Main door not rodent and weathertight

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet leaks

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

CANTEEN

Staff Bathroom

No Violations Noted

Staff Office

FC 3-305.11(A)(3)		Preventing Contamination from Premises: Food stored in an inappropriate location, 				food stored less than 6 inches from the floor

Kitchenette

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, interior top part of coffee machine dirty

Main Area

105 CMR 451.350*	Structural Maintenance: Doors not rodent and weathertight

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water damaged

Inmate Bathroom

No Violations Noted

Freezers

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

C.S.D. BUILDING

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Council Room

No Violations Noted

Auditorium

105 CMR 451.350*	Structural Maintenance: Ceiling water stained and damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaks

Chemical Closet

No Violations Noted

CSD-08

105 CMR 451.130	Plumbing: No backflow preventer on slop sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Muslim Room

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Foyer Chapel Instrument Room

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Inmate Bathroom – 100B

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Slop Sink

105 CMR 451.353*	Interior Maintenance: Wall paint peeling at sink

Staff Bathroom

No Violations Noted

Inmate Bathroom (battle room)

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Ceiling paint peeling

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Urine Room

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Missing light shield

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Window leaks

105 CMR 451.350	Structural Maintenance: Window sill damaged

INDUSTRIES BUILDING

3rd Floor

Office

No Violations Noted

Binder Shop

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Staff Bathroom

105 CMR 451.123	Maintenance: Wall damaged behind pipe

Upholstery Shop

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Window panes cracked

Bathroom – in upholstery

No Violations Noted

East Stairway

No Violations Noted

2nd Floor

Inmate Bathroom (South)

No Violations Noted

Inmate Bathroom North)

No Violations Noted

Staff Bathroom

No Violations Noted

Metal 2

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet

No Violations Noted

1st Floor

Maintenance Work Area

105 CMR 451.350*	Structural Maintenance: Roof leaking

Staff Bathroom

No Violations Noted

Mattress Room

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Janitorial Shop

105 CMR 451.350	Structural Maintenance: Windows broken

105 CMR 451.353	Interior Maintenance: Trash container damaged and leaking

Metal 1

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Ceiling leaking over band saw

Inmate Bathroom

No Violations Noted

Office

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, interior top part of coffee machine dirty

Chemical Room

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Break Room

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.130	Plumbing: Backflow preventer leaking on faucet

105 CMR 451.353	Interior Maintenance: Missing light shields

Inmate Bathroom

No Violations Noted

GYM
105 CMR 451.350*	Structural Maintenance: Doors not rodent and weathertight

Basketball Court

105 CMR 451.350*	Structural Maintenance: Ceiling paint peeling

Handball Court

No Violations Noted

Weight Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: There is a lot of debris behind the gate

105 CMR 451.350	Structural Maintenance: Ceiling leaks

Toxic Closet

No Violations Noted

Game Room

105 CMR 451.350*	Structural Maintenance: Ceiling has water damage

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

105 CMR 451.350	Structural Maintenance: Ceiling leaks

Women’s Staff Bathroom

No Violations Noted

Men’s Staff Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No toilet paper in stall

Staff Breakroom

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator door damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Inmate Bathroom

No Violations Noted

Visitor’s Showers

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.123	Maintenance: Ceiling vent dusty

Music Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

Control

105 CMR 451.350*	Structural Maintenance: Ceiling water stained and has missing tiles

105 CMR 451.350	Structural Maintenance: Ceiling leaks

105 CMR 451.350	Structural Maintenance: Ceiling damaged

PROBATION UNIT

105 CMR 451.320*	Cell Size: Inadequate floor space

Control

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Sink rusty

Probation 1

Cleaning Supply Case

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no hot water

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water handle broken

Dorm Area

105 CMR 451.353	Interior Maintenance: Cardboard in light in cell # 19, 22 and 33

Bathroom

105 CMR 451.123	Maintenance: Partitions rusted at toilets

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 2 broken

105 CMR 451.123	Maintenance: Flush buttons rusted at urinals

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 6 and 7 doesn’t work

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 4, cold water doesn’t work

Shower

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, exhaust fan not opening properly

105 CMR 451.122*	Shower Floors: Shower floors not sloped to drain, creating standing water

105 CMR 451.123*	Maintenance: Shower # 2 and 7 damaged

105 CMR 451.123	Maintenance: Nails sticking out of the wall near showers

105 CMR 451.123	Maintenance: Fan dusty

Kitchen Area

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 480F

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

FC 3-304.12(A)			Preventing Contamination from Utensils: Service utensils handle stored below the 				food and container line, scoop stored in cereal

FC 3-305.11(A)(1)	Preventing Contamination from Premises: Food stored in an inappropriate location, milk stored in cabinet

FC 4-501.15	Maintenance and Operation: Sanitize cycle not functioning properly on the dishwasher

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1360F

Probation 2

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.353	Interior Maintenance: Vents dusty throughout the unit

Cleaning Supply Case

No Violations Noted

Shower

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.122*	Shower Floors: Shower floors not sloped to drain, creating standing water

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, exhaust fan dusty

Bathroom

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, exhaust fan dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 4 no cold water

Kitchen Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

FC 4-602.13 	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces, steam table has debris in it

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Sanitizer solution tested greater than recommended concentration

UNIT 1-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Missing drain cover in shower

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Cells

105 CMR 451.353	Interior Maintenance: Wall damaged cell # 319

2nd Floor

Bathroom

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.123	Maintenance: Ceiling leaking from 3rd floor

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 220 and 221

105 CMR 451.350	Structural Maintenance: Ceiling bubbling in cell # 216

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 218

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.123*	Maintenance: Vent fan dusty

105 CMR 451.123	Maintenance: Wall damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Light bulb missing

Cells

No Violations Noted

Kitchen

FC 6-101.11(A)(1)*	Materials for Construction and Repairs: Surface not easily cleanable, wall behind heater damaged

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 6-501.14			Cleaning Ventilation Systems: Vents dusty

FC 6-201.11	Floors, Walls and Ceilings: Floor not easily cleanable, tile damaged

Dining Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-602.13 	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces, cabinets are dirty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shields

UNIT 1-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Mold on ceiling

105 CMR 451.123*	Maintenance: Vent grille painted

105 CMR 451.126	Hot Water: Hot water temperature recorded at 890F in showers

105 CMR 451.126	Hot Water: Hot water temperature recorded at 1050F at sink

105 CMR 451.123	Maintenance: Soap dispenser broken

105 CMR 451.123	Maintenance: Sink legs damaged

105 CMR 451.123	Maintenance: Vents dusty

105 CMR 451.123	Maintenance: Wall damaged at door

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 324

105 CMR 451.103	Mattresses: Mattress damaged in cell # 321

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 301, 302 and 304

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent fan dusty

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

105 CMR 451.123	Maintenance: Wall damaged at door

105 CMR 451.123	Maintenance: Shower floor damaged

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall damaged

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 212 and 213

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 215

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 209 and 223

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.117*	Toilet Fixtures: Urinal stained

105 CMR 451.123	Maintenance: Vent broken

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Slop Sink

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Water left in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

No Violations Noted

Kitchen

FC 6-201.11			Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged

FC 7-102.11(A)	Poisonous or Toxic Materials; Storage: Poisonous and toxic materials not properly 	stored, chemicals stored with food

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, sanitizer line dirty

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, louvers don’t open completely

Basement

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Light out in chemical room

UNIT 1-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

In Use – Unable to Inspect

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 320

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 301

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 304

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350	Structural Maintenance: Wall damaged

Cells

No Violations Noted

1st Floor

Bathroom

105 CMR 451.350*	Structural Maintenance: Wall crumbling

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink

No Violations Noted

Cells

No Violations Noted

Kitchen

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 3-305.11(A)(2)		Preventing Contamination from Premises: Food exposed to dust, fans are dusty

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-304.14(B)(2)		Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets damaged

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields in chemical closet

UNIT 2-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Vent fan dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower leaking

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 303 and 324

105 CMR 451.103	Mattresses: Mattress damaged in cell # 312

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Shower walls paint peeling

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, Vent fans don’t open completely

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 201 and 224

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 221, 222 and 223

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall paint flaking in shower

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent doesn’t open completely

Cells

No Violations Noted

Kitchen

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 6-201.11	Floors, Walls and Ceilings: Walls not easily cleanable, paint peeling

FC 6-201.11	Floors, Walls and Ceilings: Floor not easily cleanable, tiles damaged

FC 3-304.14(B)(2)		Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Dining Area

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-501.14			Cleaning Ventilation Systems: Vents dusty

Sergeants Office

105 CMR 451.350	Structural Maintenance: Ceiling paint peeling

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Wall paint peeling

UNIT 2-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1150F

Cells

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 303 and 315

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaks

105 CMR 451.123	Maintenance: Vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall paint peeling in cell # 205

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 215

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 221

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

No Violations Noted

Rec Room

No Violations Noted

Kitchen

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, window fan does not open and close properly

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, vent fan dusty

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Sanitizer solution tested greater than recommended concentration

105 CMR 451.350	Structural Maintenance: Window cracked

Dining Area

No Violations Noted

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Missing light shield in utility closet

105 CMR 451.353	Interior Maintenance: Dryer vent stuffed with a rag

105 CMR 451.350	Structural Maintenance: Wall paint peeling

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

UNIT 2-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Paint peeling in shower

105 CMR 451.123*	Maintenance: Shower walls cracked

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink missing a drain cover

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 301

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 303 and 304

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 313

2nd Floor

Bathroom

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover in sink

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.123	Maintenance: Missing shower curtain

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling damaged in cell # 104

Kitchen

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 6-201.11	Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged, paint peeling

105 CMR 451.350	Structural Maintenance: Window cracked

Dining Area

FC 4-602.13 	Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces damaged, counter tops not secured

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Floor damaged

UNIT 3-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.350	Structural Maintenance: Roof leaking in hall

Bathroom

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

Cells

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 314

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 309 and 317

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vents are dusty

Bathroom

105 CMR 451.123*	Maintenance: Vent dusty

Cells

No Violations Noted

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 104

Kitchen

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Sanitizer solution tested greater than recommended concentration

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent fan doesn’t open completely

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer doesn’t close tightly

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

UNIT 3-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.350	Structural Maintenance: Window pane cracked

105 CMR 451.123	Maintenance: Floor paint peeling

105 CMR 451.123	Maintenance: Wall damaged behind heater

Slop Sink

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Missing light shield

Cells

No Violations Noted

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Vent doesn’t close completely

105 CMR 451.123	Maintenance: Shower paint peeling

105 CMR 451.123	Maintenance: Soap scum on walls in showers

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 211 and 214

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Missing drain cover

105 CMR 451.123	Maintenance: Wall damaged

Cells

No Violations Noted

Kitchen

FC 4-501.15	Maintenance and Operation: Sanitize cycle not functioning properly on the dishwasher

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested greater than the recommended concentration

Dining Area

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Outlets covered with tape

UNIT 3-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

In Use – Unable to Inspect

Cells

105 CMR 451.350*	Structural Maintenance: Wall blistering in cell # 321

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 304, 307, 308, 312, 320 and 322

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vent dusty

South Fire Exit

105 CMR 451.353*	Interior Maintenance: Slop sink removed, using shower

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.350*	Structural Maintenance: Window panes cracked

105 CMR 451.123*	Maintenance: Vent dusty and doesn’t close properly

Cells

105 CMR 451.350*	Structural Maintenance: Ceiling leaking in cell # 217 and 220

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 204

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 207, 211 and 219

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.353	Interior Maintenance: Mop in bucket

Cells

No Violations Noted

Kitchen

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No paper towels available at the handwashing sink

FC 3-304.14(B)(2)		Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-901.11(A)			Protection of Clean Items, Drying: Clean and sanitized equipment and utensils not 				allowed to fully air dry

FC 4-202.11(A)(2)		Design and Construction, Cleanability: Food-contact surface damaged, no 					longer easily cleanable, damaged/cracked trays

Dining Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, louvers don’t open completely

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Window panes cracked

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Wall damaged

UNIT 4-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.353	Interior Maintenance: Hall vents dusty

Bathroom

In Use – Unable to Inspect

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

105 CMR 451.353	Interior Maintenance: Missing light shield

Cells

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 309

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 309

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vents dusty

Bathroom

In Use – Unable to Inspect

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shield

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling cell # 208

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 221

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling paint peeling

105 CMR 451.123*	Maintenance: Shower floors cracked

105 CMR 451.123*	Maintenance: Vent doesn’t open properly

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

No Violations Noted

Kitchen

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 6-501.11*	Maintenance and Operation; Repairing: Equipment not in good repair, vent fan does not open and close properly

FC 6-201.11			Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling

Dining Area

FC 6-202.15(D)(1)	Design, Construction, and Installation; Functionality: Screens not installed in exterior 	windows

FC 6-501.14			Cleaning Ventilation Systems: Vents dusty

105 CMR 451.350	Structural Maintenance: Windows cracked

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Missing light bulbs

105 CMR 451.353	Interior Maintenance: Cracked window panes

UNIT 4-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.353	Interior Maintenance: Hall vents dusty

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Area around the sink is rusty, making it difficult to clean

105 CMR 451.123	Maintenance: Door rusted and damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Window sill paint peeling in cell # 319

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.350	Structural Maintenance: Fire door rusted

105 CMR 451.123	Maintenance: Unfinished floor

105 CMR 451.123	Maintenance: Shower curtains dirty

105 CMR 451.123	Maintenance: Door rusted and damaged

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Ceiling paint peeling

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shield

Hallway

105 CMR 451.353	Interior Maintenance: Hall vents dusty

Cells

105 CMR 451.350	Structural Maintenance: Damaged window sill cell # 215

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 213

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floor cracked

105 CMR 451.123*	Maintenance: Vent doesn’t open properly

Cells

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 106

Slop Sink

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Kitchen

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 4-501.114(A)	Maintenance and Operation; Equipment: No sanitizer available

FC 6-202.15(A)(2)	Design, Construction, and Installation; Functionality: Windows not weather tight and 	structurally sound, cracked window panes

FC 6-201.11			Floors, Walls and Ceilings: Walls not easily cleanable, wall paint peeling under sink

Dining Area

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets moldy

CPO Office

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.350	Structural Maintenance: Windows cracked

UNIT 4-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.353	Interior Maintenance: Hall vents dusty

Bathroom w/shower

In Use – Unable to Inspect

Bathroom

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water doesn’t work

Cells

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 308

105 CMR 451.350	Structural Maintenance: Window cracked in cell # 311

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 312 and 315

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vents dusty

Bathroom w/shower

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, Hot water at first sink is leaking

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover in shower

105 CMR 451.123	Maintenance: Vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 214

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shield

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Bathroom

105 CMR 451.123	Maintenance: Vent dusty

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover in sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Kitchen

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, wall damage

FC 6-301.12	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	the handwashing sink

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

Dining Area

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

UNIT 6-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.130*	Hot Water: Shower water temperature 1180F

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Ceiling dirty

Slop Sink

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 302, 303 and 307

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 310

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Slop Sink

No Violations Noted

Cells

No Violations Noted

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Vent dusty and doesn’t open or close properly

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 105

Kitchen

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 6-501.14*			Cleaning Ventilation Systems: Vent is not functioning properly

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, damaged

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Sanitizer solution tested less than recommended concentration

Dining Area

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Window panes cracked

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 7-101.11			Poisonous or Toxic Materials; Original Containers: Original containers of poisonous 				or toxic materials and personal care items must bear the original manufacturers label

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, safety shield missing

Chemical Closet

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Water left in buckets

UNIT 6-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123	Maintenance: Floor damaged

Cells

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 307

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 316

Slop Sink

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, safety shield missing

2nd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Shower curtain dirty

Slop Sink

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Cells

105 CMR 451.350*	Structural Maintenance: Window panes cracked in cell # 214

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 216

1st Floor

Bathroom

105 CMR 451.123	Maintenance: Vent dusty

Cells

No Violations Noted

Kitchen

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination, uncovered plastic ware

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets damaged

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shields

UNIT 6-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.130*	Hot Water: Shower water temperature recorded at 1220F

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Floors cracked

105 CMR 451.123*	Maintenance: Vent fan dusty and doesn’t close properly

105 CMR 451.141	Screens: Screen damaged

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 310

105 CMR 451.350	Structural Maintenance: Ceiling leaking in cell # 306 and 307

2nd Floor

Bathroom

IN Use – Unable to Inspect

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 209

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 203

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Floors damaged

105 CMR 451.123*	Maintenance: Shower paint peeling and cracked

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Slop Sink

No Violations Noted

Cells

No Violations Noted

CPO Office

FC 4-204.112(A)		Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Kitchen

FC 6-501.14*			Cleaning Ventilation Systems: Vents not functioning properly

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, shelves are not easily cleanable

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged in refrigerator and freezer

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, shelves are not easily cleanable

Basement

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350	Structural Maintenance: Wall damaged

Chemical Room

105 CMR 451.353	Interior Maintenance: Missing light shields

UNIT 7-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.353	Interior Maintenance: Hall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Loose electrical plate

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123	Maintenance: Mold in shower

105 CMR 451.123	Maintenance: Missing shower curtain

Slop Sink

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly, no light

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 301, 307, 308, 310, 315 and 324

105 CMR 451.350	Structural Maintenance: Wall damaged out of cell # 324

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vent dusty

Bathroom

In Use – Unable to Inspect

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 202

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 208, 209, 212, 213, 215, 219, 220, 221 and 224

1st Floor

Bathroom

105 CMR 451.353	Interior Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 107

105 CMR 451.350	Structural Maintenance: Wall damaged behind sink in cell # 106 and 107

Slop Sink

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Kitchen

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 6-501.14*			Cleaning Ventilation Systems: Vent doesn’t open properly

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, shelves dirty

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, water left in the steam table when not in use

105 CMR 451.353	Interior Maintenance: Outlet at toaster not working

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-201.11	Floors, Walls and Ceilings: Ceiling not easily cleanable, paint peeling

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Wall damaged

Chemical Room

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, light 	fixture not functioning properly, light not working

UNIT 7-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.353	Interior Maintenance: Hall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Door rusted

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.123	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Wall damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 323

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 317

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vent dusty

Bathroom

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Mold in showers

105 CMR 451.123	Maintenance: Wall paint peeling

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.350	Structural Maintenance: Floor worn

105 CMR 451.123	Maintenance: Door damaged

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.350	Structural Maintenance: Window panes cracked in cell # 217

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 211 and 212

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.123*	Maintenance: Shower floor cracked

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Wall paint peeling

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shield

105 CMR 451.353	Interior Maintenance: Vent dusty

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 104

Kitchen

FC 6-201.11*	Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged near dishwasher

FC 6-501.14*			Cleaning Ventilation Systems: Vents dusty

FC 4-501.114(A)	Maintenance and Operation; Equipment: No sanitizer available

FC 5-204.11(A)			Plumbing System, Location and Placement: No conveniently located handwashing 				sink

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination, bowls not inverted

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.350*	Structural Maintenance: Window panes cracked

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Basement

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353	Interior Maintenance: Uncovered junction box

UNIT 7-3

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350	Structural Maintenance: Area not rodent and weathertight

3rd Floor

105 CMR 451.353	Interior Maintenance: Hall vent dusty

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Paint peeling in shower

105 CMR 451.123	Maintenance: Wall damaged

Slop Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Cells

No Violations Noted

2nd Floor

105 CMR 451.353	Interior Maintenance: Hall vents dusty

105 CMR 451.353	Interior Maintenance: Missing light shields

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, wall vent doesn’t open completely

105 CMR 451.123	Maintenance: Shower curtains dirty

105 CMR 451.123	Maintenance: Area generally dirty

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.123	Maintenance: Ceiling damaged

Slop Sink

105 CMR 451.353	Interior Maintenance: Missing light shields

Cells

105 CMR 451.350	Structural Maintenance: Ceiling damaged in cell # 220 and 223

105 CMR 451.350	Structural Maintenance: Wall leaks by toilet

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 204 and 203

105 CMR 451.350	Structural Maintenance: Wall damaged outside of cell # 209

1st Floor

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floor & wall damaged

105 CMR 451.123*	Maintenance: Vent dusty

105 CMR 451.123*	Maintenance: Floor tile damaged near toilet

105 CMR 451.331	Radiators and Heating Pipes: Pipes not properly insulated

Slop Sink

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, missing drain cover

Cells

No Violations Noted

Kitchen

FC 6-501.14*			Cleaning Ventilation Systems: Vents not functioning properly

FC 6-501.14			Cleaning Ventilation Systems: Vents dusty

FC 4-602.13 			Cleaning of Equipment and Utensils, Frequency: Nonfood-Contact Surfaces

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

Dining Area

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

FC 6-201.11	Floors, Walls and Ceilings: Walls not easily cleanable, wall damaged near phone

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, freezer gaskets damaged

Basement

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.350	Structural Maintenance: Ceiling damaged

UNIT 8-1

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Staff Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water loose

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

1st Tier

Cells

105 CMR 451.353	Interior Maintenance: Light covered in cell # 108

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 107 and 118

Toxic/Caustic Room

105 CMR 451.353	Interior Maintenance: Unlabelled spray bottle

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

Slop Sink

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Vent dusty

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipe over sink rusted

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Floor damaged in shower

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged outside of shower

105 CMR 451.123	Maintenance: Light out in shower # 3

105 CMR 451.123	Maintenance: Wall damaged in all showers

105 CMR 451.123	Maintenance: Ceiling unfinished in shower # 2

Kitchenette

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Kitchen

FC 4-904.13(A)	*		Protection of Clean Items, Handling: Utensils not protected from contamination, not 				stored in the inverted position

FC 3-305.11(A)(2)*		Preventing Contamination from Premises: Food exposed to dust, fans dusty

105 CMR 451.353*	Interior Maintenance: Missing light shields at slop sink

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the 		mechanical warewashing machine

FC 4-301.12(D)(2)(c)	Numbers and Capacity, Equipment: Dishes not being sanitized after warewashing, dishwasher broken

FC 3-304.14(B)(2)		Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

2nd Tier

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.350*	Structural Maintenance: Floor tile damaged outside of showers

105 CMR 451.123*	Maintenance: Paint peeling in showers

105 CMR 451.123	Maintenance: Door paint peeling in all showers

Cells

105 CMR 451.350*	Structural Maintenance: Window handle missing in cell # 216

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in all cells

Storage Room

FC 4-903.11(A)(2) 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Slop Sink Room

105 CMR 451.130		Plumbing: Plumbing not maintained in good repair, drain cover not secured

105 CMR 451.353	Interior Maintenance: Vent dusty

UNIT 8-2

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

1st Tier

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Shower floors damaged

105 CMR 451.123	Maintenance: Standing water outside of showers

105 CMR 451.123	Maintenance: Floor drain damaged

Toxic/Caustic Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Kitchenette

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot water leaking at first sink

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-304.14(B)(2)		Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Sanitizer solution tested greater than recommended concentration

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Vent dusty

105 CMR 451.353	Interior Maintenance: Pipe above sink rusted

105 CMR 451.353	Interior Maintenance: Missing light shields

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaks

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 118

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in cell # 108, 109, 117, 119 and 123

2nd Tier

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Floors damaged in all showers

105 CMR 451.123	Maintenance: Ceiling damaged in all showers

105 CMR 451.123	Maintenance: Door wall peeling paint in all showers

105 CMR 451.123	Maintenance: Wall damaged in all showers

Cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vents blocked in all cells

105 CMR 451.350	Structural Maintenance: Window crank missing in cell # 213 and 216

105 CMR 451.353	Interior Maintenance: Light blocked in cell # 223

Storage Area

105 CMR 451.353	Interior Maintenance: Vents dusty

105 CMR 451.353	Interior Maintenance: Ceiling paint peeling

FC 4-904.13(A)			Protection of Clean Items, Handling: Tableware not protected from contamination, not 				stored in the inverted position

Slop Sink

105 CMR 451.353	Interior Maintenance: Vent dusty

Observations and Recommendations

- The inmate population was 1483 at the time of inspection

- Please provide your policy on the NEADS dogs and house workers

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Amy Riordan

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

George Marino, EHSO

Norfolk Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS