The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA 01583

Telephone: 508-792-7880, ext. 2338

Facsimile: 508-792-7706

TTY: 508-835-9796

paul.halfmann@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

January 27, 2014

Michael Bellotti, Sheriff

Norfolk County Correctional Center

P.O. Box 149

200 West Street
Dedham, MA 02027

Re: Facility Inspection - Dedham Alternative Center

Dear Sheriff Bellotti:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Dedham Alternative Center on  January 23, 2014 accompanied by Sergeant Dave Munchback.  Violations noted during the inspection are listed below including 16 repeat violations:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

SECOND FLOOR

South Wing

Main Area

No Violations Noted

Bedrooms

105 CMR 451.350	Structural Maintenance: Ceiling light shield broken

Storage Cell

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers # 1, 2, and 3

105 CMR 451.123*	Maintenance: Light out in front of shower # 3

105 CMR 451.123	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Hole in tile wall, shower # 3

North Wing

Main Area

105 CMR 451.350*	Structural Maintenance: Floor tiles missing at the top of stairs

105 CMR 451.350	Structural Maintenance: Floor tiles missing at the bottom of stairs

Classroom

No Violations Noted

Bedrooms

105 CMR 451.353*	Interior Maintenance: Light shield broken in cell # 11 and 13

105 CMR 451.353	Interior Maintenance: Light shield broken in cell # 12

105 CMR 451.353	Interior Maintenance: Wall vent damaged

Bathroom

105 CMR 451.123*	Maintenance: Soap scum on walls in showers 1, 2, and 3

105 CMR 451.123*	Maintenance: Ceiling vents dusty

FIRST FLOOR

South Wing

Main Area

No Violations Noted

Exercise Room # 1

No Violations Noted

Exercise Room # 2

No Violations Noted

Bedrooms

No Violations Noted

Bathroom

105 CMR 451.123	Maintenance: Floor damage in shower # 2 and 3

105 CMR 451.350	Structural Maintenance: Floor tile missing at bathroom door

North Wing

North-side Classroom

105 CMR 451.350	Structural Maintenance: Floor tiles missing in hallway

Main Area

No Violations Noted

Bedrooms

No Violations Noted

Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 1350F

MAIN AREA

Main Area

No Violations Noted

Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of toaster oven dirty

Bathroom

105 CMR 451.123*	Maintenance: Floor not easily cleanable, broken floor tiles

105 CMR 451.123	Maintenance: Light out

Laundry Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.331*	Radiators and Heating Pipes: Pipes insulation damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Main Entrance Search Room

No Violations Noted

Classroom

No Violations Noted

Observations and Recommendations

- The inmate population was 51 at the time of inspection.

- The ongoing floor tile replacement program continues.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Paul Halfmann, MPH

Assistant Director, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, EOHHS

Luis S. Spencer, Commissioner, DOC

Gerard Horgan, Superintendent

Sergeant Dave Munchback, EHSO

Catherine Cardinale, Health Director, Dedham Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS