The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

180 Beaman Street

West Boylston, MA  01583

Telephone:  508-792-7880, ext. 2338

Facsimile: 508-792-7706

TTY: 508-835-9796

Paul.Halfmann@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

April 19, 2012

James M. Cummings, Sheriff

Barnstable County Correctional Facility

6000 Sheriff’s Place

Bourne, MA 02532

Re: Facility Inspection

Dear Sheriff Cummings:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Barnstable County Correctional Facility on March 22, 2012 accompanied by Captain Angela McNamara and Sergeant Ken Shaffer. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Entrance

Male Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Female Bathroom

No Violations Noted

House 1

Pod C

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle in chemical room

Upper Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower #1

Pod B

105 CMR 451.353	Interior Maintenance: Mop stored in bucket in chemical room

Showers

105 CMR 451.353	Interior Maintenance: Handicap shower not in service

Pod A

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle in chemical room

House 2

Pod H

No Violations Noted

Pod E

No Violations Noted

Pod D

105 CMR 451.353	Interior Maintenance: Mop stored in sink in chemical room

Sub Day

105 CMR 451.123	Maintenance: Shower floor tiles broken

Pod G

105 CMR 451.123	Maintenance: Soap scum on walls in upper and lower showers

Pod F

105 CMR 451.123	Maintenance: Soap scum on walls in lower showers

House 3

Pod J

No Violations Noted

Pod M

105 CMR 451.123	Maintenance: Shower floor tiles broken in lower handicap shower

Pod L

105 CMR 451.123	Maintenance: Shower floor tiles broken in lower handicap shower

105 CMR 451.353	Interior Maintenance: Mop stored in sink in chemical room

Pod K

105 CMR 451.123	Maintenance: Shower floor tiles broken in lower handicap shower

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels in staff bathroom

Food Service

Kitchen

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a

state of good repair, torn gasket in #1 Hot Box

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, cardboard of floor at grilles

FC 7-101.11	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled 	properly, original manufactures label missing on spray bottle in chemical room

Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, ice build up under cooling unit

Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Dry Storage 1

No Violations Noted

Dry Storage 2

No Violations Noted

Loading Dock

No Violations Noted

Officer’s Dining Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a

state of good repair, torn gasket in refrigerator

FC 4-501.114(C)(2)	Maintenance and Operation; Equipment: Quaternary ammonium solution lower than 	the manufacturers recommended concentration

Laundry

No Violations Noted

H.S.U.

105 CMR480.500(B)	Procedures; Records; Record-Keeping Log: Log book not in use

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Inmate Bathroom

No Violations Noted

Dental Suite

No Violations Noted

Booking/Intake

Holding Cells

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Inmate Bathroom

No Violations Noted

Female Inmate Bathroom

No Violations Noted

Dressing Room

No Violations Noted

Education Area

Inmate Bathroom #116

No Violations Noted

Inmate Bathroom #117

No Violations Noted

Male Staff Bathroom

No Violations Noted

Female Staff Bathroom

No Violations Noted

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Paul Halfmann, MPH

Assistant Director, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Captain Angela McNamara, EHSO

Barnstable Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS