The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: (781) 828-7910

Facsimile: (781) 828-7703

Marian.Robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

September 20, 2013

Frank G. Cousins, Jr., Sheriff

Essex County Women in Transition

20 Manning Avenue

Middleton, MA 01949

Re: Facility Inspection – Essex County Women in Transition, Salisbury

Dear Sheriff Cousins:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as the Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Essex County Women in Transition on September 11, 2013 accompanied by Sergeant Tom Florence. Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Hallway

No Violations Noted

Office (2)

No Violations Noted

Program Coordinator’s Office (3)

105 CMR 451.353*	Interior Maintenance: Light shield damaged

Deputy Superintendant’s Office (4)

No Violations Noted

Laundry Room (5)

105 CMR 451.353*	Interior Maintenance: Floor dirty behind washer and dryer units

105 CMR 451.350	Structural Maintenance: Floor damaged under washer units

Staff Bathroom (6)

No Violations Noted

Copy Room (7)

No Violations Noted

Hot Water Heater Room (8)

No Violations Noted

HSU (9)

105 CMR 480.500(B)                 	Procedures; Records; Record-Keeping Log: Facility not maintaining a current
record-keeping log

Communication Room (10)

No Violations Noted

Dorm Room # 11

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.123	Maintenance: Wall panel cover damaged

Visitor’s Bathroom (12)

105 CMR 451.353	Interior Maintenance: Light shields missing

Dorm Room # 13

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

Dorm Room # 14

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

Dorm Room # 15

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

Dorm Room # 16

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.123	Maintenance: Floor damaged in bathroom

Dorm Room # 17

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.123*	Maintenance: Water stains on ceiling in bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty in bathroom

Shower Room (18)

105 CMR 451.123*	Maintenance: Seam in shower wall cover not sealed properly in stall # 3

105 CMR 451.123*	Maintenance: Ceiling light vents dusty

105 CMR 451.123*	Maintenance: Shower floor finish damaged in shower stall # 3

Kitchen (19)

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on refrigerator unit

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Vending machine drawer dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles 	damaged in several locations

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Plastic containers not stored in the inverted position

FC 3-101.11 	Safe, Unadulterated and Honestly Presented: Expired food present in vending machine

FC 4-102.11(B)(2)	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, plastic utensils not covered

FC 7-204.11	Chemicals; Sanitizers, Criteria: Facility not using proper sanitizer, no sanitizer present at time of inspection

Meeting and Dining Room (20)

105 CMR 451.350*	Structural Maintenance: Wall damaged in meeting room

105 CMR 451.350	Structural Maintenance: Wall damaged in dining room

105 CMR 451.353	Interior Maintenance: Ceiling dirty in dining room

Observations and Recommendations

- The inmate population was 24 at the time of inspection.

- Handicap equipped shower was offline at the time of inspection; according to the facility this shower is kept offline unless needed.

- The Department recommended that the facility use the “Medical Waste Record-Keeping Log” available on the Department of Public Health’s website.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on " Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Secretary, EOHHS

Luis S. Spencer, Commissioner, DOC

Kim Murtagh, Assistant Superintendent

Officer Kim D'Orazio, EHSO

John Morris, CHO, Director, Salisbury Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, Secretary, EOPS