The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

June 22, 2012

Lois Russo, Acting Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742

Re: Facility Inspection

Dear Superintendent Russo:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Concord on June 19, 20 and 21, 2011 accompanied by Sergeant George Frascarelli, FS/EHSO and Maurice Campbell, FS/EHSO. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Building A

Lobby

No Violations Noted

Women’s Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

105 CMR 451.126*	Hot Water: Hot water temperature 930F

Men’s Bathroom

105 CMR 451.123*	Maintenance: Wall and floor tiles damaged

105 CMR 451.126*	Hot Water: Hot water temperature 930F

Administration Area

Women’s Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature 980F

Men’s Room

105 CMR 451.126	Hot Water: Hot water temperature 980F

Janitor’s Closet

No Violations Noted

Water Fountain

No Violations Noted

Coffee Station

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty, coffee maker dirty

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Trap Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Window damaged

Holding Tank

Cell A

No Violations Noted

Cell B

No Violations Noted

Building B

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Visitor’s Bathrooms

Front Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature 930F

Slop Sink Closet

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

Back Visitor’s Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.126	Hot Water: Hot water temperature 930F

Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350	Structural Maintenance: Window broken

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Weight Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.350	Structural Maintenance:  Unfilled holes in wall

Visiting Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 3-101.11 	Safe, Unadulterated and Honestly Presented: Expired food present in vending machine

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Vending machine draws dirty

Back Room

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Treasurer’s Office Area

Inmate Bathroom (Urinalysis Bathroom)

No Violations Noted

Treasurer’s Bathroom

105 CMR 451.123	Maintenance: Wall vents dusty

105 CMR 451.123	Maintenance: Floor drain missing

105 CMR 451.123	Maintenance: No light shield provided

Treasurer’s Kitchenette

No Violations Noted

B Corridor

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123	Maintenance: Wall no longer easily cleanable, unfilled holes in tiles

105 CMR 451.123	Maintenance: Tile damaged

Vending Machines

No Violations Noted

B Corridor Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop not allowed to dry properly

Male Staff Bathroom

105 CMR 451.126	Hot Water: Hot water temperature 1040F

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling repair not finished in a work-person like fashion

105 CMR 451.123	Maintenance: Wall vent rusted

105 CMR 451.126	Hot Water: Hot water temperature 1040F

B Building Control

105 CMR 451.353	Interior Maintenance: 2 light shields not provided

B Control Bathroom

105 CMR 451.123*	Maintenance: Wall vent dirty

105 CMR 451.123*	Maintenance: Wall grout missing in corners

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Light shield missing

B Control Kitchenette

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, light out in refrigerator unit

C Building

C Building Housing Unit-First Floor

Control

No Violations Noted

Staff Bathroom

No Violations Noted

Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Housing Unit

Common Area

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Shower # 1

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Vent damaged

105 CMR 451.123	Maintenance: Floor tile damaged

Shower # 2

105 CMR 451.123	Maintenance: Wall tile grout missing in corners

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Tile damaged

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 9

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 1, 7, 10, 14, 22 and 24

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 5 and 13

TV Room

105 CMR 451.350*	Structural Maintenance: Floor tiles and baseboard damaged

105 CMR 451.123	Maintenance: Walls no longer easily cleanable, unfilled holes in wall

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

C Building Housing Unit-Second Floor

Control

105 CMR 451.350*	Structural Maintenance: Ceiling repair not finished in a work-person like fashion

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall tile grout missing in corners

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Housing Unit

Common Area

No Violations Noted

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, hot water handle leaking

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Vent rusted

Shower # 1

105 CMR 451.123	Maintenance: Shower pipe chaser loose and missing

105 CMR 451.123*	Maintenance: Shield on water control loose

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head # 1 leaking

Shower # 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower and shower curtain

105 CMR 451.123*	Maintenance: Shield on water control loose

Cells

105 CMR 451.322	Cell Size: Inadequate floor space in all cells

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 28

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 31

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 47

TV Room

No Violations Noted

CRA Program Basement

Stairway

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

Inmate Bathroom	Unable to Inspect - Closed

Staff Bathroom

No Violations Noted

Break Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Classrooms

Classroom 1

105 CMR 451.350	Structural Maintenance: Floor paint damaged

Classroom 2

105 CMR 451.350	Structural Maintenance: Floor tile damaged

105 CMR 451.350	Structural Maintenance: Wall and baseboard damaged

105 CMR 451.353	Interior Maintenance: Floor tile missing

SMU-First Floor

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling vent dirty

Search Room C1-3

105 CMR 451.353	Interior Maintenance: Wall vent dirty

Search Room C1-4

No Violations Noted

Storage Room

No Violations Noted

Medical Exam Room C1-10

No Violations Noted

Staff Bathroom C1-11

105 CMR 451.123	Maintenance: Ceiling vent dirty

Slop Sink Room C1-62

105 CMR 451.130*	Plumbing: Backflow preventer cap loose on slop sink

105 CMR 451.353*	Interior Maintenance: Ceiling vent dirty

105 CMR 451.350	Structural Maintenance: Water damaged ceiling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # C1-60 and C1-61

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C1-60 and C1-61

105 CMR 451.123*	Maintenance: Soap scum on shower chair in shower # C1-60

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # C1-24, C1-25, and C1-26

Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 1-31, 1-49, and 1-53

Staff Break Room C1-22

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of toaster oven dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Property C1-23

No Violations Noted

Recreational Decks

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

SMU-Second Floor

Slop Sink Room C2-62

105 CMR 451.353	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Missing drain cover in slop sink

Showers

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C2-24, C2-25, and C2-26

105 CMR 451.123*	Maintenance: Ceiling vent dirty in shower # C2-60 and C2-61

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # C2-60 and C2-61

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower # C2-24, C2-25, and C2-26

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 2-30, 2-33, 2-46 and 2-58

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 2-38, 2-39, 2-40
and 2-47

Room C2-22

No Violations Noted

Room C2-23

No Violations Noted

Recreational Deck

105 CMR 451.360	Protective Measures: Effective measures against the presence of birds on the premises not taken, bird feces covers the deck

Building D

Exterior

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Red exterior door not weather 	and vermin tight

Food Service Area

FC 2-402.11*	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, no appropriate hair nets available for kitchen staff

FC 2-402.11*	Hygienic Practices; Hair Restraints: Food service personnel not wearing appropriate 	hair restraints, beard guards at the start of inspection

FC 2-401.11*	Hygienic Practices Food Contamination Prevention: Food service personnel eating in 	an inappropriate area at the start of inspection

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket 	throughout the food service area

FC 4-501.114(C)(2)*	Maintenance and Operation; Equipment: No properly prepared and tested sanitizer 	solution available throughout the food service area, several sanitizer buckets observed 	with soap or dirty water

FC 4-701.10*	Sanitization of Equipment and Utensils, Objective: Food contact surfaces not properly 	sanitized, kitchen staff observed cleaning without sanitizer solution available

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor grout 	damaged in between pots and pans room and dry storage room

Barrel Wash Room

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, slop sink leaking

Pig Barrel Cooler (1376)

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty (pig barrels)

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, substance observed on floor, floor dirty

Dry Storage Cooler (1377)

FC 3-202.15  	Package Integrity: Food packages not in good condition, packaging was compromised, opened and spilled out

Produce Cooler # 1376

No Violations Noted

Tool Storage Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on window sill from vent fan

Freezer

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Boxes not stored 6” off the floor

Ice Machine

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior 	surfaces of ice machine dirty

Staff Office

No Violations Noted

Staff Bathroom

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, wall vent dusty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

B Tool Room # 2

No Violations Noted

Inmate Bathroom

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet loose

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

Bakery/Dry Storage Room

FC 6-301.11*	Numbers and Capacity; Handwashing Facilities: No soap at handwash sink

FC 6-301.12*	Numbers and Capacity; Handwashing Facilities: No hand drying method available at 	handwashing sink, no paper towels available in paper towel holder

FC 6-301.20*	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles not 	installed properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, vent cover missing

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, several light 	fixtures not functioning properly

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop handle stored below the 	food and container line in cereal bag

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, portable fan dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, packaging was compromised, opened and spilled out

Walk-in Freezers

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

Freezer and Refrigerator Units

FC 3-305.11(A)(2)	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

FC 4-903.11(A)(3)	Protection of Clean Items, Storing: Boxes not stored 6” off the floor

Pots and Pans Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent fan dirty

FC 6-403.11(B)	Location and Placement; Employee Accommodations: No locker room area designated for employees, clothing observed hanging up near dishes

FC 4-901.11(A)	Protection of Clean Items, Drying: Clean and sanitized pots and pans not allowed to air dry fully

FC 4-904.13(A)	Protection of Clean Items, Handling: Mixing bowl not protected from contamination, not stored in the inverted position

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

3 Compartment Sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, fan vent dusty

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration

South Side

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, vent cover not 	secured properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, heater cover not 	secured properly

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged near 	dinning room entrance

Kettles and Ovens Hood Area

FC 5-501.113(A)*	Refuse, Recyclables, and Returnables: Trash receptacles in the kitchen area not 	equipped with a lid

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty (inside oven)

Handwash Sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 6-501.16	Maintenance and Operation; Cleaning: Water left in mop bucket

Tray Prep

FC 5-202.12(A)*	Plumbing System, Design: Prep sinks hot water temperature recorded in excess of 	1900F

Traulsen Cooler

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, cooler leaking

Old Food Service Line

No Violations Noted

Food Warmers

No Violations Noted

South Side Dinning Room

No Violations Noted

North Side

No Violations Noted

Hoods

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

Handwash Sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sink leaking

FC 6-301.20	Numbers and Capacity; Handwashing Facilities: No waste receptacle provided for 	disposable towel

Tray Prep Tables

No Violations Noted

Old Food Service Line

No Violations Noted

North Side Dinning Room

No Violations Noted

Mechanical Warewashing Room

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet leaking

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, sprayer leaking and damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipes leaking under sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling panel 	missing

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, front piece of warewash machine loose

Prep Area

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling panels damaged

Milk Refrigerator

No Violations Noted

Meat Refrigerator

No Violations Noted

Building E

West Side

Stairway

No Violations Noted

West Down Control

Staff Bathroom

105 CMR 451.123	Maintenance: Wall vent dirty

West Down Low

Hallway

No Violations Noted

Showers	Unable to Inspect - Occupied

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 105

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 106, 107, 111, 112, 114, 118, 119, 120, 122, 123, 126 and 127

105 CMR 451.103	Mattresses: Mattress damaged in cell # 105

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 117

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

West Down High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353*	Interior Maintenance: Vent cover damaged

105 CMR 451.353*	Interior Maintenance: Light switch cover plate missing

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Showers

105 CMR 451.121(A)*	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Ceiling dirty

105 CMR 451.123*	Maintenance: Dirty tap on upper wall tiles

105 CMR 451.123*	Maintenance: Shower walls need re-grouting

105 CMR 451.123*	Maintenance: Soap scum on lower walls in shower

105 CMR 451.123*	Maintenance: Step tiles damaged

105 CMR 451.123*	Maintenance: Floor tiles missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 3 shower heads leaking

Cells

105 CMR 451.353*	Interior Maintenance: Wall paint damaged in cell # 134 and 153

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 131, 133, 143 and 144

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 129, 131, 132, 138, and 142

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 133, 134, 135, 141, 143, 144 and 145

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 148, 149 and 151

Day Room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

West Up Control

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning properly

Control Closet

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 550F

Staff Bathroom

105 CMR 451.123*	Maintenance: Walls need re-grouting in some areas

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.123	Maintenance: Heater cover not secured properly

West Up Low

Hallway

No Violations Noted

Showers

105 CMR 451.121(A)*	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Ceiling outside shower unit dirty and paint damaged

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 202, 209, 211, 212, 216 and 221

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

105 CMR 451.353	Interior Maintenance: Window panels missing

105 CMR 451.350	Structural Maintenance: Wall damaged, hole in wall

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Wall tile damaged

West Up High

Hallway

No Violations Noted

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Wall damaged, wall rusted

105 CMR 451.350	Structural Maintenance: Floor damaged

Showers	Unable to Inspect - Occupied

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 229, 239 and 248

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked in cell # 241, 242 and 243

105 CMR 451.103	Mattresses: Mattress damaged in cell # 250

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

East Side

Stairway

105 CMR 451.353*	Interior Maintenance: Window sill filled with trash

East Down Control

105 CMR 451.353*	Interior Maintenance: Counter top and drawer covers damaged and no longer easily 	cleanable

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling and ceiling paint damaged

East Down Low

Hallway

No Violations Noted

Showers	Unable to Inspect - Occupied

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 303, 316 and 317

105 CMR 451.353	Interior Maintenance: Vent rust damaged around light # 327

Day Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Window sills filled with trash

East Down High

Hallway

No Violations Noted

Slop Sink Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet not secured properly

105 CMR 451.353*	Interior Maintenance: Ceiling rusted

Showers	Unable to Inspect - Occupied

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 328, 333, 334, 335, 340, 341, 343, 345, 347, 350, 351, 352 and 353

105 CMR 451.353	Interior Maintenance: Wall rust damaged in cell # 331, 340 and 345

105 CMR 451.353	Interior Maintenance: Wall damaged in cell # 348 and 353

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

CPO Office

105 CMR 451.353	Interior Maintenance: Unfilled holes in wall

East Up Control

105 CMR 451.353*	Interior Maintenance: Counter top and drawer covers damaged and no longer easily 	cleanable

Staff Bathroom

105 CMR 451.123*	Maintenance: Window sill dirty

105 CMR 451.123*	Maintenance: Ceiling paint damaged

East Up Low

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Showers

105 CMR 451.121(A)*	Privacy: No privacy partition between shower heads

105 CMR 451.123*	Maintenance: Ceiling, wall, floor, and step tiles missing and damaged

105 CMR 451.123*	Maintenance: Ceiling paint damaged outside shower unit

105 CMR 451.123*	Maintenance: Soap scum on walls in shower unit

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation in shower area

Cells

105 CMR 451.103	Mattresses: Mattress damaged in cell # 407

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Phone Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

East Up High

Hallway

105 CMR 451.350*	Structural Maintenance: Floor damaged

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Showers	Unable to Inspect - Occupied

Cells

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 428, 430, 432 and 447

105 CMR 451.103	Mattresses: Mattress damaged in cell # 430 and 447

105 CMR 451.350	Structural Maintenance: Window broken in cell # 437

105 CMR 451.353	Interior Maintenance: Wall paint damage in cell # 446

105 CMR 451.353	Interior Maintenance: Window panel out in cell # 449

Day Room

105 CMR 451.353*	Interior Maintenance: Window sills filled with trash

Building H

Basement

H-1 Overflow Housing Unit	Unable to Inspect - Closed

Workout Room

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Wall vent dusty

Inmate Bathroom

105 CMR 451.123*	Maintenance: Light shield dirty

Stairway

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

First Floor

Hallway

No Violations Noted

Gym Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

Shower

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Ceiling vent dirty

Gym	Unable to Inspect - Occupied

Mop Closet

No Violations Noted

Recreational Office
105 CMR 451.353	Interior Maintenance: Ceiling tile damaged

Office

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

105 CMR 451.350	Structural Maintenance: Wall damaged

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Slop sink damaged and not easily cleanable

Barber Shop

105 CMR 451.353*	Interior Maintenance: Ceiling panels not installed properly

105 CMR 451.353	Interior Maintenance: Missing ceiling tile in storage area

105 CMR 451.130	Plumbing: No backflow preventer on 2 bay sink

Second Floor

Hallway

No Violations Noted

Inmate Bathroom	Unable to Inspect - Closed

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dirty

Female Staff Bathroom

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Building I

Common Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Front Staff Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Front Staff Bathroom

105 CMR 451.123	Maintenance: Unfinished wood shelf not easily cleanable

Front Inmate Bathroom

No Violations Noted

Side Office

FC 6-501.11(A)	Maintenance and Operation; Equipment: Equipment not maintained in a state of good repair, refrigerator gaskets damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Back Staff Bathroom

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 950F

Back Inmate Bathroom

No Violations Noted

Paint Shop Trap and Bathroom

No Violations Noted

Paint Shop Inmate Bathroom

No Violations Noted

Tool Control Officer’s Bathroom	Unable to Inspect - Locked

Director of Engineering Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Building J

Hallways

No Violations Noted

J Control Corridor

No Violations Noted

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leaking

Staff Kitchen and Dinning Room

Outside-Dry Storage

No Violations Noted

Back Hallway

No Violations Noted

Refrigerators and Freezer Units

No Violations Noted

Staff Bathroom

No Violations Noted

Baking and Prep Room

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, vent fans dusty

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, dry goods containers lids damaged and do not close tightly

FC 3.302.11(A) 	Preventing Food and Ingredient Contamination: Preventing cross contamination, food shall be protected against cross contamination, unknown particles observed in sugar

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the 	food and container line, Styrofoam cups left in cereal and flour

Refrigerator

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gasket damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, light shield missing

Kitchen Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Pantry

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not 	protected against contamination, plastic utensil boxes left open

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor paint 	damaged

FC 3-302.12	Preventing Food and Ingredient Contamination: Mislabeled food container

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots and bowls not stored in the inverted/self-draining position

Kettle Room

FC 3-304.12(A)	Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, Styrofoam cups left in brown sugar

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food container

2-Compartment Sink

FC 2-401.11	Hygienic Practices Food Contamination Prevention: Food service personnel drinking 	in an inappropriate area

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 1220F

Dish Washing Area

FC 4-501.112(A)(2)*	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine, wash temperature reading 1400F on the gage

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, caulking dirty 	near rinse sink

Food Service Line

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, salad bar refrigerator not working

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in salad bar 	refrigerator unit

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, dessert and salad bar cooler gaskets damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, portable fan 	dirty

Refrigerator

FC 4-501.11(A)	Maintenance and Operation; Repairing: Equipment: Equipment not maintained in a state of good repair, refrigerator gasket damaged

Ice Machine

No Violations Noted

Dinning Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Vending machine draws dirty

Janitor’s Closet

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Second Floor

Phase II Classification

Inmate Bathroom

No Violations Noted

Staff Bathroom 1

105 CMR 451.123	Maintenance: Ceiling vent dirty

Staff Bathroom 2

105 CMR 451.123	Maintenance: Ceiling damaged

Inmate Bathroom-Waiting Area

105 CMR 451.123	Maintenance: Unfinished wood shelves not easily cleanable

Water Fountain

No Violations Noted

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

Female Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged and no longer easily cleanable

Male Staff Bathroom

105 CMR 451.123	Maintenance: Unfilled holes in wall and no longer easily cleanable

Staff Dinning Room

No Violations Noted

J Housing Units

105 CMR 451.322*	Cell Size: Inadequate floor space in all cells

Unit J1

Common Areas

No Violations Noted

Staff Bathroom

No Violations Noted

Staff Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Ceiling damaged

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gaskets dirty

Slop Sink Room (1st Tier)

105 CMR 451.353*	Interior Maintenance: Wall paint damaged behind slop sink

Slop Sink Room (3rd Tier)

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 4, 7 and 13

105 CMR 451.353	Interior Maintenance: Ceiling damaged in cell # 16

1st Tier Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

2nd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

105 CMR 451.123*	Maintenance: Wall cover damaged in shower # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head missing in shower

# 1

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in both showers stalls

105 CMR 451.123*	Maintenance: Door frame paint damaged in both showers stalls

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent painted over in both showers stalls

Unit J2

Common Area

105 CMR 451.353*	Interior Maintenance: Water stains on wall near cell # 45

105 CMR 451.353*	Interior Maintenance: Ceiling dirty

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.350	Structural Maintenance: Wall damaged, unfilled holes in wall

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink slowly draining

Slop Sink Room (3rd Tier)

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6 and 8

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 6

1st Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 3

105 CMR 451.123*	Maintenance: Rope used to secure shower curtain not easily cleanable in shower stall 	# 3

105 CMR 451.123	Maintenance: Rope used to secure shower curtain not easily cleanable in shower stall 	# 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on shower curtain in shower stall # 3

105 CMR 451.123	Maintenance: Floor tiles damaged in shower stall # 3

105 CMR 451.123	Maintenance: Vent rusted

2nd Tier Showers

105 CMR 451.123	Maintenance: Unfilled holes in wall cover in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Soap scum on walls, curtain and floor in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 2

105 CMR 451.123	Maintenance: Floor tiles damaged and missing in all shower stall # 1 and 3

105 CMR 451.123	Maintenance: Unfilled holes in shower wall in shower stall # 1

105 CMR 451.123	Maintenance: Trash in vent in shower stall # 1 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 3

105 CMR 451.123	Maintenance: Shower floor tiles missing

3rd Tier Showers	Unable to Inspect - Occupied

3rd Tier Storage

No Violations Noted

Unit J3

Common Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Slop Sink Room (3rd Tier)

105 CMR 451.344	Illumination in Habitable Areas: Light fixtures not functioning properly

105 CMR 451.123	Maintenance: Unfinished wood not easily cleanable

Water Fountain

No Violations Noted

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 5, 7, 8, 11, 12, 13, 14, 15 and 38

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 3, 35, 36, 37 and 45

1st Tier Showers

105 CMR 451.123	Maintenance: Wall paint damaged in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Floor paint damaged in shower stall # 1

105 CMR 451.123	Maintenance: Trash in vent in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Unfilled holes around light fixture in shower stall # 1 and 3

105 CMR 451.123	Maintenance: Vent rusted

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower stall # 3

2nd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Wall cover damaged in shower stall # 1 and 3

105 CMR 451.123*	Maintenance: Unfilled holes in wall cover in shower stall # 2 and 3

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower stall # 2

105 CMR 451.123	Maintenance: Light fixture damaged in shower stall # 2 and 3

3rd Tier Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Floor damaged in shower stall # 1

105 CMR 451.123*	Maintenance: Unfilled holes in wall cover in shower stall # 1

105 CMR 451.123	Maintenance: Trash in vent in shower stall # 1

105 CMR 451.123	Maintenance: Wall cover damaged in shower stall # 2

105 CMR 451.123	Maintenance: Ceiling paint damaged in shower stall # 2

Unit J4

Common Area

No Violations Noted

J4 Control

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Ceiling tile missing

105 CMR 451.353	Interior Maintenance: Floor tile damaged

J4 Control Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dirty and rusty

J4 Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on both refrigerator units

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Floor paint damaged

Slop Sink

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 6 and 21

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 18

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 2, 4, 7, 8 and 16

1st Tier Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

2nd Tier Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1 and 2

3rd Tier Showers

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1 and 2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower stall # 1

105 CMR 451.123	Maintenance: Floor damaged near wall

Unit J5

Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353	Interior Maintenance: Screen damaged in window near cell # 20

Staff Bathroom

105 CMR 451.123	Maintenance: Floor damaged

Slop Sink Room (1st Tier)

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Vent missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, slop sink leaking

105 CMR 451.353	Interior Maintenance: Standing water on floor observed

Slop Sink Room (3rd Tier)	Unable to Inspect - Locked

Staff Room (3rd Tier)	Unable to Inspect - Locked

Cells

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 2

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged in cell # 21, 26, 28 and 29

105 CMR 451.353	Interior Maintenance: Wall paint damaged in cell # 20

1st Tier Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged and missing in shower stall # 1, 2, and 3

105 CMR 451.123	Maintenance: Shower head missing in shower stall # 1 and 2

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1 and # 3

105 CMR 451.123	Maintenance: Trash in vents in shower stall # 3

2nd Tier Showers	Unable to Inspect – Shower stall #1 in use

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 2 and 3

105 CMR 451.123	Maintenance: Trash in vent in shower stall # 3

3rd Tier Showers

105 CMR 451.123*	Maintenance: Floor tiles damaged in shower stall # 2

105 CMR 451.123	Maintenance: Floor tile damaged in shower stall # 1

105 CMR 451.123	Maintenance: Shower head missing in shower stall # 1

105 CMR 451.123	Maintenance: Trash in vent in shower stall # 1 and 2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # 1 and 2

Unit J6

Common Area

105 CMR 451.353	Interior Maintenance: Wall paint damaged near phones

105 CMR 451.353	Interior Maintenance: Wall vent dusty near Tier 3

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Bathroom

No Violations Noted

Slop Sink Room (1st Tier)

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unfilled holes in wall

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Light shield not provided in maintenance area

Slop Sink Room (3rd Tier)

105 CMR 451.353	Interior Maintenance: Floor damaged

Cells

105 CMR 451.353	Interior Maintenance: Light blocked by paper in cell # 1 and 32

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged in cell # 5 and 14

105 CMR 451.353	Interior Maintenance: Vent blocked in cell # 30

105 CMR 451.103	Mattresses: Mattress damaged in cell # 38

1st Tier Showers

105 CMR 451.123	Maintenance: Tier 2 leaking causing ceiling damage outside of showers on Tier 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1
105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 2 and 3

105 CMR 451.123	Maintenance: Wall damaged in shower stall # 3

105 CMR 451.123	Maintenance: Floor damaged in shower stall # 3

2nd Tier Showers

105 CMR 451.123*	Maintenance: Ceiling paint damaged outside shower stalls

105 CMR 451.123*	Maintenance: Soap scum on walls in shower stall # 1, 2, and 3

3rd Tier Showers

105 CMR 451.123	Maintenance: Light damaged in shower stall # 1

105 CMR 451.123	Maintenance: Soap scum on walls in shower stall # 1

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower 	stall # 2

Dorm J7

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm area

Control J7

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Mop Closet

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Bathroom

105 CMR 451.123*	Maintenance: Vent cover missing

105 CMR 451.350	Structural Maintenance: Ceiling trap damaged

Shower Room

105 CMR 451.123	Maintenance: Wall vent dirty in shower stall # 4

105 CMR 451.123	Maintenance: Ceiling vent dirty and rusty in shower stall # 4

105 CMR 451.123	Maintenance: Unfilled holes in wall in shower stall # 2 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower hot/cold mislabeled

Health Service Unit

Hallway

No Violations Noted

Med Room C122

105 CMR 451.353*	Interior Maintenance: Vent dirty

Med Room C124

No Violations Noted

Med Room C125B

No Violations Noted

Med Room C126

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Nurses’ Control Area

No Violations Noted

Waiting Rooms 102 to 104

No Violations Noted

Medical Unit Cells

Cell # 102

105 CMR 451.353	Interior Maintenance: Wall vent dirty

Cell # 103

105 CMR 451.353	Interior Maintenance: Wall vent dirty

Cell # 104

No Violations Noted

Cell # 108

No Violations Noted

Cell # 110

No Violations Noted

Cell # 112

No Violations Noted

Shower Unit

105 CMR 451.123*	Maintenance: Bench rusted

Janitor’s Closet # 133

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Men’s Room C107A

105 CMR 451.123*	Maintenance: Ceiling vent dirty

Optometry Room C 108A

105 CMR 451.123*	Maintenance: Inadequate lighting, one light fixture not functioning properly

Slop Sink Room C109A

No Violations Noted

Water Fountain

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, water fountain damaged and not working

Room C110A

No Violations Noted

Trauma Room 2 C111A

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

Nurse Practitioners Office C112A

105 CMR 451.353*	Interior Maintenance: Vent dirty

Phlebotomy Room C114A

105 CMR 451.353*	Interior Maintenance: Vent dirty

Exam Room C116A

No Violations Noted

Exam Room C117A 	Unable to Inspect - Occupied

Exam Room C118A

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, mislabeled hot/cold faucets

Staff Break Room C119A

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Vent dirty

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Women’s Bathroom C 121

No Violations Noted

Back Storage

105 CMR 451.353	Interior Maintenance: Oxygen tanks not secure

Exam Room C126

No Violations Noted

X-Ray Room C 127

No Violations Noted

Dental Exam Room C129 and C130

No Violations Noted

Building K

Staff Bathroom C-101

105 CMR 451.126	Hot water: Hot water temperature 1020F

Inmate Bathroom C-102

105 CMR 451.126	Hot water: Hot water temperature 1020F

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink at the start 	of inspection

105 CMR 451.350	Structural Maintenance: Door damaged

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

Protestant Chapel	Unable to Inspect - Occupied

Catholic Chapel

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

Islamic Chapel	Unable to Inspect - Occupied

Security Staff Room

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Storage Room

No Violations Noted

Building L

Inmate Processing Common Area

No Violations Noted

Office

105 CMR 451.353*	Interior Maintenance: Vent dirty

Staff Break Room

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Vent covers missing

105 CMR 451.123*	Maintenance: Inadequate lighting, light fixture not functioning properly

Search Chair Room

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in either refrigerator

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dirty

Laundry/Storage

No Violations Noted

Dorms

Laundry Room

105 CMR 451.353	Interior Maintenance: Dirty behind dryers

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Buffer Storage Room

No Violations Noted

Dorm Control

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	refrigerator gasket and door handles dirty

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

L1 Dorm

Common Area

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Bathroom L1-14

105 CMR 451.123	Maintenance: Liquid observed in light shield

Shower Room L1-13 A&B

105 CMR 451.123	Maintenance: Trash in vents in shower stall # 1, 4, 7 and 8

105 CMR 451.123	Maintenance: Soap scum on walls in all showers

105 CMR 451.130 	Plumbing: Plumbing not maintained in good repair, shower head leaking in shower stall # 2

105 CMR 451.123	Maintenance: Shower curtain missing in shower stall # 8

105 CMR 451.130	Plumbing not maintained in good repair, faucet with hose attached leaking in shower stall # 10

105 CMR 451.123	Maintenance: Wall damaged around plumbing in shower stall # 10

105 CMR 451.123	Maintenance: Inadequate lighting, one light fixture not functioning properly

Bathroom L1-12

105 CMR 451.123*	Maintenance: Inadequate lighting, one light fixture not functioning properly

105 CMR 451.123	Maintenance: Wall vents dirty

Dorm L2

Common Area

105 CMR 451.350	Structural Maintenance: Unfilled holes in wall under microwave

Bathroom L1-22

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, clogged toilet

Shower Room L2-23 A&B

105 CMR 451.123*	Maintenance: Ceiling and ceiling paint damaged in shower area and stalls

105 CMR 451.123*	Maintenance: Soap scum on walls and floor in shower stalls

105 CMR 451.123	Maintenance: Trash in wall vents in shower stalls

105 CMR 451.123*	Maintenance: Shower curtain missing in shower stall # 6

105 CMR 451.123	Maintenance: Loose screws and holes in wall in shower stall # 10

105 CMR 451.123	Maintenance: Floor paint damaged in shower stall # 10

Bathroom L2-24

No Violations Noted

Janitor’s Closet L1-21

105 CMR 451.123	Maintenance: Drain cover missing in slop sink

105 CMR 451.123	Maintenance: Vent dirty

L1-3 Offices

Women’s Bathroom L1-4

105 CMR 451.123	Maintenance: Ceiling vent dirty

Men’s Bathroom L1-5

105 CMR 451.123	Maintenance: Window broken

105 CMR 451.123	Maintenance: Ceiling vent dirty

Dorm L3	Unable to Inspect - Closed

Modular Units

Lobby Area

No Violations Noted

Control Area

No Violations Noted

Staff Bathroom

105 CMR 451.123	Maintenance: Floor tile damaged

A Side

Recreational Area

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

Laundry Area

No Violations Noted

Shower Room	Unable to Inspect - Occupied

A Dorm Rooms

1A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

2A

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not working properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

3A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

4A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

5A

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, two light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

6A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

7A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

8A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

9A

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

10A

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

B Side

Recreational Area

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light	fixtures not working properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Mop Closets 103B

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

Laundry Area

No Violations Noted

Shower Room

105 CMR 451.123*	Maintenance: Vent and speaker rusted in shower area

105 CMR 451.123	Maintenance: Shower curtain missing in shower stall # 3

105 CMR 451.360	Protective Measures: Drain flies observed

B Dorm Rooms

1B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper

2B

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper

3B

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

4B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

5B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

6B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper

7B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

8B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

9B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper

10B

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Outside Facility

Store House

Box 1

No Violations Noted

Box 2

No Violations Noted

Box 3	Used for storage at the time of inspection

Inmate Breakroom

No Violations Noted

Chemical Storage Room # 4

No Violations Noted

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Men’s Room

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 740F

Freezer 5

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, 4 vent fans not working

FC 6-202.11(A)	Design, Construction, and Installation; Functionality: Light bulbs not shatter-resistant 	or protected by light shields

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ice observed around vent fans

Cooler 6	Used for storage at the time of inspection

Cooler 7

105 CMR 451.353	Interior Maintenance: Baseboard damaged

Staff Office

105 CMR 451.353	Interior Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123	Maintenance: Wet mop stored in bucket

105 CMR 451.123	Maintenance: Floor drain damaged and loose

105 CMR 451.123	Maintenance: Window broken

105 CMR 451.123	Maintenance: Several window panels missing

4-Bay Sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, faucet and piping underneath sink leaking

Dry Goods Storage Room-2nd Floor

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Slop Sink Room

105 CMR 451.353	Interior Maintenance: No light shield provided in maintenance area

Bathroom

105 CMR 451.353	Interior Maintenance: Light shield missing

Laundry Area

105 CMR 451.353	Interior Maintenance: Wet mops stored in buckets

Staff Office

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Staff Bathroom

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

Inmate Bathroom

105 CMR 451.117	Toilet Fixtures: Toilet fixtures not easily cleanable, toilet paint damaged

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink not functioning

Towers

Tower # 1

105 CMR 451.350	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.141	Screens: 3 screens missing

Tower # 2

105 CMR 451.350	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.350	Structural Maintenance: Siding missing and falling off on outside of tower

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator damaged

105 CMR 451.141	Screens: 3 screens missing

105 CMR 451.353	Interior Maintenance: Phone jack outlet damaged

105 CMR 451.350	Structural Maintenance: Wall damaged behind refrigerator

Tower # 3

105 CMR 451.350	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.353	Interior Maintenance: Trash in between window and screen

105 CMR 451.350	Structural Maintenance: Wall damaged

Tower # 4

105 CMR 451.350	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.350	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.350	Structural Maintenance: Wall damaged

Tower # 5

105 CMR 451.350	Structural Maintenance: Soffits on outside of tower damaged

105 CMR 451.350	Structural Maintenance: Siding missing and falling off on outside of tower

105 CMR 451.141	Screens: 5 screens missing

105 CMR 451.141	Screens: Screen damaged

105 CMR 451.350	Structural Maintenance: Hole in ceiling

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, microwave rusted

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator damaged inside

105 CMR 451.350	Structural Maintenance: Gaps in windows

105 CMR 451.353	Interior Maintenance: Phone jack outlet damaged

105 CMR 451.350	Structural Maintenance: Wall damaged, hole in wall

105 CMR 451.350	Structural Maintenance: Wall damaged around top of window

105 CMR 451.360	Protective Measures: Insects observed

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, heater not working

Tower # 6

105 CMR 451.350	Structural Maintenance: Window broken

105 CMR 451.141	Screens: 2 screens missing

Observations and Recommendations

- The inmate population was 1362 at the time of inspection

- Dishwasher not reaching correct temperature required for adequate cleaning in Building J in Staff Kitchen. Recommended using 3-compartment sink be used until the problem is corrected.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

George Frascarelli, FS/EHSO

Maurice Campbell, FS/EHSO

Concord Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS