The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

23 Service Center

Northampton, MA  01060

Telephone: 413-586-7525

Fax: 413-784-1037 TTY: (800)-769-9991

peter.wheeler@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JOHN W. POLANOWICZ SECRETARY LAUREN A. SMITH, MD, MPH INTERIM COMMISSIONER

April 29, 2013

Lewis Evangelidis, Sheriff

Worcester County House of Corrections and Jail

5 Paul X. Tivnan Drive

West Boylston, MA 01583

Re: Facility Inspection - Worcester County House of Corrections and Jail

Dear Sheriff Evangelidis:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Worcester County House of Corrections and Jail on March 19 and 20, 2013 accompanied by and Michael O’Connor, FSO and Amy Riordan, Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

ENTRANCE

Hallway

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Staff Locker Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water stained

105 CMR 451.350	Structural Maintenance: Wall damaged

Fisher Conference Room

No Violations Noted

Control Room

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

Waiting Area

No Violations Noted

HERMAN BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in all cells

A2 Block

Booth

No Violations Noted

Cells

105 CMR 451.353	Interior Maintenance: Debris on all cell lights

Showers - Upstairs

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Vent dusty

Utility Closet - Upstairs

105 CMR 451.353	Interior Maintenance: Missing screen on slop sink

Showers - Downstairs

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Shower floors peeling paint

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123*	Maintenance: Vents dusty in all showers

105 CMR 451.353	Interior Maintenance: Standing water

Slop Sink – Downstairs

No Violations Noted

Office FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Chemical Storage

105 CMR 451.353	Interior Maintenance: Mop in bucket

Paper Good Storage

No Violations Noted

A1 Block

Booth

105 CMR 451.353	Interior Maintenance: Wall paint peeling

Cells (Up)

105 CMR 451.353	Interior Maintenance: Debris on all cell lights

Shower Upstairs

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Face plate missing on both showers

Slop Sink - Upstairs

No Violations Noted

Cells (Down)

105 CMR 451.350*	Structural Maintenance: Missing electrical plate in cell # 21, 22 and 25-28

Shower - Downstairs

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

Slop Sink Downstairs

No Violations Noted

Storage #4

No Violations Noted

Storage #5

105 CMR 451.353	Interior Maintenance: Mop in bucket

MAXI B

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Booth

FC 4-602.12(B)	*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Lower Right Tier

Day Room

105 CMR 451.353	Interior Maintenance: Mop in bucket

Slop Sink

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Tiles cracked

Cells

No Violations Noted

Lower Left Tier

Day Room

No Violations Noted

Cells

105 CMR 451.102	Pillows and Linens: Blanket damaged in cell # 105

Lower Disciplinary Unit

Not Inspected – Not in Use

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

Upper Left Tier

Day Room

105 CMR 451.353	Interior Maintenance: Mop in bucket

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

Upper Disciplinary Unit

No Violations Noted

Upper Right Tier

Day Room

No Violations Noted

Cells

No Violations Noted

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 shower leaking

CHAPEL

No Violations Noted

HEALTH SERVICES

Infirmary Ward

Not Inspected – Not In Use

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Ceiling tiles damaged

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123	Maintenance: Ceiling tile damaged

Supply Closet

105 CMR 451.353	Interior Maintenance: Mop on floor

Property

No Violations Noted

Mental Health Offices

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Water bubbler is dirty

Storage Room with Sink

No Violations Noted

Storage Room w/o Sink

No Violations Noted

Nurse’s Room

No Violations Noted

Segregation Cells

Not Occupied

Biohazard Storage

No Violations Noted

Pharmacy

No Violations Noted

Infirmary

105 CMR 451.350	Structural Maintenance: Wall damaged

CENTRAL CONTROL

105 CMR 451.350	Structural Maintenance: Wall damaged in control area above electrical panel

105 CMR 451.350*	Structural Maintenance: Wall damaged in bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets are dirty

FC 4-602.12(B)			Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

VISITING ROOM

105 CMR 451.350*	Structural Maintenance: Ceiling damaged at skylights on both inmate and visitor sides

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, bubbler not working

Female Handicapped Bathroom

Unable to Inspect – In Use

Female Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, cold water not working

Male Handicapped Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

Male Bathroom

No Violations Noted

GYMNASIUM

105 CMR 451.350*	Structural Maintenance: Floor is bubbling, creating a tripping hazard

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Showers

105 CMR 451.121(A)	Privacy: No privacy partition between showers

105 CMR 451.123	Maintenance: Missing drain cover

105 CMR 451.123	Maintenance: Tiles damaged

105 CMR 451.126	Hot Water: Hot water temperature 710F

Mini Side Bathroom

Unable to inspect – Not in Use

Maxi Side Bathroom

Unable to inspect – Not in Use

Booth

Unable to inspect – Not in Use

MAXI C

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Booth

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty in bathroom

Upper Tier

Day Room

No Violations Noted

Cells

105 CMR 451.350*	Structural Maintenance: Missing face plate on electrical outlets in all cells

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Tiles damaged in showers

Old Segregation

Unable to inspect – Not in Use

Lower Tier

105 CMR 451.350*	Structural Maintenance: Door in rear hall not rodent proof and weathertight

Cells

105 CMR 451.350*	Structural Maintenance: Missing face plate on electrical outlets in all cells

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

Segregation

Unable to inspect – Not in Use

Chemical Area

No Violations Noted

Day Room

105 CMR 451.350	Structural Maintenance: Exit # 5 is not rodent proof and weathertight

DEIGNAN BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Officer’s Booth

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, gaskets damaged on refrigerator

105 CMR 451.126	Hot Water: Hot water temperature 920F at handsink

Upper West

Showers

105 CMR 451.119	Bathing Facilities: Inadequate shower to inmate ratio

Slop Sink Room

No Violations Noted

Bathroom

No Violations Noted

Lower West

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Missing wall tiles under bench in showers

Bathroom

105 CMR 451.123	Maintenance: Handwash sink # 4 damaged, no hot water

105 CMR 451.123	Maintenance: Urinal Out-of-Order

Cells

No Violations Noted

Common Area

105 CMR 451.353	Interior Maintenance: Table top damaged

Lower East

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123	Maintenance: Floor damaged out side of shower

105 CMR 451.119	Bathing Facilities: Inadequate shower to inmate ratio

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.350	Structural Maintenance: Electrical outlet damaged

105 CMR 451.350	Structural Maintenance: Radiator rusty

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, toilet leaking

105 CMR 451.123	Maintenance: Radiator rusty

105 CMR 451.123*	Maintenance: Baseboard damaged

Upper East

Slop Sink

105 CMR 451.350*	Structural Maintenance: Wall damaged

Cells

105 CMR 451.346	Safe Wiring: Inappropriate use of temporary wiring, cell # 24, 26, 28 and 30

Showers

105 CMR 451.353*	Interior Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

Bathroom

No Violations Noted

Interview Room

No Violations Noted

Uniform Supply

No Violations Noted

Chemical Closet

No Violations Noted

MINI 5 BUILDING

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

105 CMR 451.350*	Structural Maintenance: Door not rodent proof and weathertight

Booth

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged/dirty

Corridor 2

Showers

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Tiles damaged in showers

Cells

105 CMR 451.343	Electric Fixtures in Cell: Light bulbs missing from fixtures in all cells

School Area

No Violations Noted

Office

No Violations Noted

Weight Room

105 CMR 451.353	Interior Maintenance: Ripped seat on weight bench

Chemical Closet

105 CMR 451.353	Interior Maintenance: Chemicals on floor

T.V Room

105 CMR 451.353	Interior Maintenance: Couch damaged

Corridor 1

Showers

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123*	Maintenance: Walls cracked

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Missing face plate on both showers

Cells

105 CMR 451.343	Electric Fixtures in Cell: Light bulbs missing from fixtures in all cells

FOOD SERVICE

Staff Dining

No Violations Noted

Staff Line

No Violations Noted

Bakery Storage

FC 6-305.11(B)	Numbers and Capacities; Dressing Area and Lockers: No suitable locker room	provided, personal belongings stored on oats

FC 3-302.12	Preventing Food and Ingredient Contamination: Mislabeled spice container, cornmeal in a basil container

FC 3-302.12	Preventing Food and Ingredient Contamination: Unlabeled food containers

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, food not appropriately covered in spice cabinet

FC 6-501.111(B)	Maintenance and Operations; Pest Control: Detail insects droppings observed

FC 6-501.14	Maintenance and Operation; Cleaning: Ventilation Systems, vents peeling paint

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, water stains on ceiling

Dishwasher Area

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, damaged floor

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, paint peeling in skylight

FC 5-202.13	Plumbing System, Design: Air gap between (inlet) pipe and flood rim/drain, air gap less than twice the diameter of the pipe, sprayer

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, damaged cord on vacuum cleaner

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, elbows leaking on three bay sink

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily 	cleanable, paint peeling in skylight

Inmate Bathroom

Unable to inspect – In Use

Bakery Area

No Violations Noted

Cooler 1

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door gasket damaged

Cooler 2

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door gasket damaged

Cooler 3

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, Cove molding damaged

Freezer

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door gasket damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, debris on floor

Receiving

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11*

Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

Chemical Closet

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Dry Storage

No Violations Noted

Pasta Room

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged by door

Can Room

No Violations Noted

Control

No Violations Noted

SCHOOL

Kitchen Area in Hall

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, door gasket damaged

Men’s Staff Bathroom

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 960F

Parole Office

105 CMR 451.350	Structural Maintenance: Tiles damaged

Substance Abuse Office

105 CMR 451.350	Structural Maintenance: Wall damaged

Women’s Room

Unable to inspect – Not in Use

Slop Sink

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

RECEIVING

County Lock Up

105 CMR 451.123	Maintenance: Handwash Sink clogged # 4 and 12

105 CMR 451.123	Maintenance: Handwash sink # 1, 2, 3 and 4 dirty

105 CMR 451.123	Maintenance: Toilet # 1, 3, 4, 5, 6 and 7 dirty

ID Room

No Violations Noted

Mop Closet

105 CMR 451.353*	Interior Maintenance: Missing light shields

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

Bathroom, in Records

No Violations Noted

Interview Room

No Violations Noted

Records

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, damaged door gasket

Property Room

105 CMR 451.350*	Structural Maintenance: Wall damaged behind desk

Intake Showers

105 CMR 451.350*	Structural Maintenance: Holes in the ceiling

Holding Cell #1

105 CMR 451.126	Hot Water: Hot water temperature 780F

Holding Cell #2

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, hot and cold water not working

MAINTENANCE CORRIDOR

Staff Bathroom

105 CMR 451.353*	Interior Maintenance: Missing ceiling vent

Inmate Bathroom

No Violations Noted

Laundry Area

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, refrigerator gaskets dirty

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, coffee maker dirty

Repair Shop

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

Welding Area

105 CMR 451.350*	Structural Maintenance: Walls damaged near windows

Tool Cage

No Violations Noted

MODULAR ADMINISTRATION BUILDING

Lobby

Waiting Area

No Violations Noted

Men’s Bathroom

105 CMR 451.123	Maintenance: Tiles damaged

Female Bathroom

105 CMR 451.123	Maintenance: Tiles damaged

Control 3

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket in bathroom

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Utensils not covered

Bathroom

No Violations Noted

Pedestrian Trap

No Violations Noted

Visiting Area

No Violations Noted

Sprinkler valve room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Special Services Corridor

Slop Sink

Unable to Inspect – In Use

Female Locker Room

105 CMR 451.123	Maintenance: Wall damaged

Male Locker Room

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123*	Maintenance: Baseboard damaged

Operations/Investigation

Unable to Inspect – No Access

Mail Room

No Violations Noted

Investigations Office

No Violations Noted

D-Board

Unable to Inspect – No Access

Phone Room

No Violations Noted

Hallway

No Violations Noted

Dispatch

No Violations Noted

2nd Floor

South Male Bathroom

No Violations Noted

South Female Bathroom

No Violations Noted

North Male Bathroom

No Violations Noted

North Male Bathroom

No Violations Noted

Storage Room

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Slop Sink Room

No Violations Noted

Computer Lab

No Violations Noted

Computer Server Room

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

MODULAR INFIRMARY

105 CMR 451.350*	Structural Maintenance: Hole in concrete at entrance

2nd Floor

Inmate Bathroom #244

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Nurse’s Station #233

FC 4-601.11(B)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, cooking 	equipment dirty refrigerator

Officers Station

105 CMR 451.353	Interior Maintenance: Missing ground plug on buffer # 494755n

Optometrist’s Office

No Violations Noted

Mop Sink Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking

105 CMR 451.353	Interior Maintenance: Chemicals on floor

105 CMR 451.353	Interior Maintenance: Mop stored in bucket

105 CMR 451.353	Interior Maintenance: Standing water in bucket

Handicap Shower

105 CMR 451.123	Maintenance: Loose electric cover

105 CMR 451.123	Maintenance: Chair damaged

105 CMR 451.123	Maintenance: Shower dirty

Dentist’s Room #253

No Violations Noted

DOL Storage Closest

105 CMR 451.353	Interior Maintenance: Wall damaged

Medical Records # 214

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Room # 254

105 CMR 451.353	Interior Maintenance: Oxygen tank not secure

Room #248

105 CMR 451.350	Structural Maintenance: Missing ceiling tiles

Room #238

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Room #242

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

Room #236

No Violations Noted

Room #230

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Women’s Bathroom #258

No Violations Noted

Men’s Bathroom #243

105 CMR 451.123	Maintenance: Ceiling damaged

Holding Cell

No Violations Noted

Inmate Bathroom 244

No Violations Noted

Medical Records

No Violations Noted

Mop Closet

No Violations Noted

1st Floor

Mod Med Line

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Door not rodent proof and weathertight

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

Classrooms

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Baseboard damaged

105 CMR 451.350*	Structural Maintenance: Door not rodent proof and weathertight

105 CMR 451.350*	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350*	Structural Maintenance: Door rotted

Role Call Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

Old Kitchen

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Floor tiles missing and damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.350*	Structural Maintenance: Area not rodent proof and weathertight

105 CMR 451.353*	Interior Maintenance: Walls dirty

105 CMR 451.353*	Interior Maintenance: Debris everywhere

Break Area

105 CMR 451.350	Structural Maintenance: Floor missing tile

105 CMR 451.350	Structural Maintenance: Floor loose by door

105 CMR 451.353	Interior Maintenance: Table damaged

FC 4-601.11(A)	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, refrigerator dirty

GYM BUILDING

No Violations Noted

Staff Bathroom

No Violations Noted

Inmate’s Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Control Booth

No Violations Noted

Room #106

105 CMR 451.350	Structural Maintenance: Wall paint peeling

Room #107

No Violations Noted

Room #108

No Violations Noted

Room #105

Unable to Inspect – No Access

TOWER

1st Floor

105 CMR 451.353*	Interior Maintenance: Area dirty with trash and litter on the floor

105 CMR 451.353*	Interior Maintenance: Loose wires and uncovered junction box

2nd Floor

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

3rd Floor

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

105 CMR 451.350*	Structural Maintenance: Holes in glass

105 CMR 451.350*	Structural Maintenance: Wall paint peeling

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Missing light shields

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

MODULAR VISITING AREA

Visiting

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged near back door

105 CMR 451.350*	Structural Maintenance: Missing ceiling tiles in social worker area for inmates

Bathroom

Unable to Inspect – No Access

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor tiles missing

IP Break Room

105 CMR 451.350*	Structural Maintenance: Floor damaged

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)* 		Protection of Clean Items, Storing: Single-service items uncovered and not protected 				from contamination

Officer’s Bathroom

105 CMR 451.350	Structural Maintenance: Floor damaged

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-904.11(B)	Protection of Clean Items, Storing: Knives/Forks/Spoons not presented to avoid contamination

Receiving

Waiting Area

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, bubbler not working

105 CMR 451.350*	Structural Maintenance: Door not rodent and weathertight

105 CMR 451.350	Structural Maintenance: Baseboard damaged at rear entrance

Clothing Room

No Violations Noted

Personal Property

105 CMR 451.350	Structural Maintenance: Floor tiles missing

Uniform Storage

105 CMR 451.350	Structural Maintenance: Wall damaged

Chemical Room

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Small Clothing Room

105 CMR 451.350*	Structural Maintenance: Wall damaged

Urinalysis Storage

No Violations Noted

Slop Sink Room

No Violations Noted

Holding Cells

105 CMR 451.353	Interior Maintenance: All cells generally dirty

Staff Bathroom

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

Inmate Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

Break Area

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

VOC LAUNDRY

1st Floor

Laundry

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, 1 washer broken

Chemical Storage

No Violations Noted

Inmate Bathroom

105 CMR 451.123	Maintenance: Door handle missing

105 CMR 451.123	Maintenance: Dusty air vents

Staff Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Library

Unable to Inspect – No Access

IT Break Area

No Violations Noted

Hallway

No Violations Noted

2nd Floor

Room 203

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged and water stained

H BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in all cells

Control Booth

105 CMR 451.350*	Structural Maintenance: Floor tiles missing in bathroom

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets dirty

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # 112, 114, 116, 117, 118, 121, 123, 126, 127, 138, 139, 140, 143, 145, 146, 149, 152, 154, 155,158 and 159

105 CMR 451.103	Mattresses: Mattress damaged in cell # 138 and 140

105 CMR 451.126	Hot Water: Hot water temperature 1040F at hand sink

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Mold in showers

105 CMR 451.123*	Maintenance: Paint peeling

I & J BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in cell

Control Booth

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Chair arms damaged

105 CMR 451.353	Interior Maintenance: Mop stored on floor

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator door handle is damaged

I Side

Cells

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink doesn’t shut off in cell # 201

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # 173, 176, 177, 179, 183, 195, 205, 206, 213 and 218

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Damaged baseboards

105 CMR 451.123*	Maintenance: Paint peeling

105 CMR 451.123	Maintenance: Missing face plate in shower

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.353	Interior Maintenance: Chemicals stored on floor

Interview Room

Unable to Inspect – No Access

J Side

Cells

105 CMR 451.141	Screens: Screen damaged in cell # 241 and 253

105 CMR 451.353	Interior Maintenance: Ceiling vents blocked in cell # 222, 224, 227, 229, 232, 235, 236, 237, 238, 239, 240, 241, 242, 243, 245, 246, 248, 249, 252, 253, 256, 258, 259, 260, 261, 262, 264, 265, 266, 267, 268, 269, 270, 271, 273, 274, 275, 277, 279 and 280

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Missing face plate on shower

105 CMR 451.123*	Maintenance: Mold like substance on walls

105 CMR 451.123*	Maintenance: Floor not sealed, cracked

105 CMR 451.123*	Maintenance: Tiles damaged

Chemical Area

105 CMR 451.353*	Interior Maintenance: Drain cover loose

105 CMR 451.353	Interior Maintenance: Mop in bucket

Interview Room

Unable to Inspect – No Access

K & L BUILDING

105 CMR 451.321*	Cell Size: Inadequate floor space in all cells

105 CMR 451.343*	Electric Fixtures in Cell: No electrical outlet in all cells

Control Booth

FC 4-602.12(B)*		Cleaning of Equipment and Utensils; Frequency: Interior of microwave ovens dirty

FC 4-501.11(A)*		Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, microwave damaged

105 CMR 451.353	Interior Maintenance: Heater cover damaged in bathroom

K Side

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # 284, 286, 290, 294, 295, 296, 303, 308, 330 and 340

Showers

105 CMR 451.123*	Maintenance: Baseboard damaged

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123	Maintenance: Shower curtains damaged

105 CMR 451.123	Maintenance: Soap scum on walls in showers

105 CMR 451.123	Maintenance: Missing shower curtain

Chemical Room

105 CMR 451.353*	Interior Maintenance: Standing water left in bucket

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

105 CMR 451.353*	Interior Maintenance: Vent dirty

Interview Room

No Violations Noted

L Side

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Cells

105 CMR 451.353	Interior Maintenance: Vents blocked in cell # 311, 314, 316, 317, 319, 322, 326, 328, 329, 366 and 369

105 CMR 451.101	Blankets: Blanket damaged in cell # 387

105 CMR 451.353	Interior Maintenance: Debris on light in cell # 305

105 CMR 451.103	Mattresses: Mattress damaged in cell # 339

Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Baseboards damaged

105 CMR 451.123*	Maintenance: Appearance of mold in all showers

Chemical Room

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Interview Room

No Violations Noted

WORK RELEASE

Control Booth

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

Rec. Area (left)

Unable to Inspect – No Access

Bathroom (left)

105 CMR 451.123	Maintenance: Urinal Out-of-Order

Cells

No Violations Noted

Slop Sink Room (left)

105 CMR 451.343	Electric Fixtures in Cell: No light

Day Room

105 CMR 451.353	Interior Maintenance: Cracked chairs

105 CMR 451.353	Interior Maintenance: Mop in bucket

105 CMR 451.353	Interior Maintenance: Chemicals on floor

Showers (left)

Unable to Inspect - In Use

Showers (right)

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.121(A)*	Privacy: No privacy partition between showers

105 CMR 451.123*	Maintenance: Tiles damage

105 CMR 451.123*	Maintenance: Ceiling tiles damaged

Staff Bathroom

No Violations Noted

Inmate Bathroom (right)

105 CMR 451.123	Maintenance: Loose faucet

Laundry

No Violations Noted

Chow

No Violations Noted

Day Room (right)

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

Inmate Bathroom

105 CMR 451.123	Maintenance: Loose faucet

Cells

No Violations Noted

Cell Hallway

105 CMR 451.350	Structural Maintenance: Ceiling damaged

WAREHOUSE BUILDING

105 CMR 451.350	Structural Maintenance: Door not rodent proof and weathertight

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, 	food stored less than 6 inches from the floor

Staff Gym

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Men’s Bathroom

Unable to Inspect – No Access

Break Area

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

No Violations Noted

Chemical Room

No Violations Noted

Walk in Freezer

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, interior door frame damaged

Exterior Cooler 2

105 CMR 451.350*	Structural Maintenance: Damaged baseboards

105 CMR 451.350	Structural Maintenance: Door frame damaged

Exterior Cooler 1

FC 3-305.11(A)(2)*		Preventing Contamination from Premises: Food exposed to dust, fans in cooler dusty

GARAGE

Transportation Office

105 CMR 451.350*	Structural Maintenance: Area not rodent proof and weathertight

Kitchen Area

No Violations Noted

Inmate Bathroom

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Ceiling tiles water damaged

105 CMR 451.353	Interior Maintenance: Generally dirty

Staff Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind toilet

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Generally dirty

Staff Gym

No Violations Noted

Key Control

No Violations Noted

MSF

Vacant

ANNEX

105 CMR 451.320*	Cell Size: Inadequate floor space in all cells

Control Booth

105 CMR 451.350	Structural Maintenance: Ceiling damaged

FC 4-501.11(B)	Maintenance and Operation, Equipment: Equipment components not maintained in a 	state of good repair, gasket damaged on refrigerator

Female Staff Bathroom

No Violations Noted

Male Staff Bathroom

No Violations Noted

Chemical Cage

105 CMR 451.353*	Interior Maintenance: Mop stored in bucket

Male Visiting

No Violations Noted

Food Area

FC 4-501.11(B)*	Maintenance and Operation, Equipment: Equipment components not maintained in a state of good repair, refrigerator gaskets damaged

105 CMR 451.353*	Interior Maintenance: Floor drain damaged, trip hazard

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.350*	Structural Maintenance: Ceiling tiles water damaged

Shower Area

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, damaged ceiling insulation

Medical

No Violations Noted

Classroom

No Violations Noted

Sleeping Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

105 CMR 451.101	Blankets: Blanket damaged in cell # 78

105 CMR 451.353	Interior Maintenance: Water bubbler Out-of-Order

Toilet Area

105 CMR 451.353*	Interior Maintenance: Ceiling vent dusty

Sink Area

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, 1 sink leaking water

Laundry Room

105 CMR 451.353	Interior Maintenance: Debris build-up behind dryer

Observations and Recommendations

- The inmate population was 1081 at the time of inspection

- Use of bar soap was noticed in Staff areas, this promotes cross contamination

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Peter A. Wheeler

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Dennis Dolye, FSO

West Boylston Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea J. Cabral, EOPS