The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781 828-8046

Facsimile: 781 828-7703

Nicholas.Gale@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

January 8, 2014

Robert Murphy, Superintendent

Bridgewater State Hospital

20 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection – Bridgewater State Hospital

Dear Superintendent Murphy:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bridgewater State Hospital on December 19 and 20, 2013 accompanied by Sergeant Norberto Melo, Environmental Health and Safety Officer and Christopher Lanoue, Director of Engineering . Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Power Plant

Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dusty

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking

Main Area

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking outside bathroom

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling ventilation grille damaged

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, floor damaged

Kitchen

FC 4-101.16	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Staff Gym

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles missing at entrance

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out in stall # 1

Main Entrance

Waiting Room

No Violations Noted

Janitor’s Closet

No Violations Noted

Male Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Female Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Administration Building

Roll Call Room

No Violations Noted

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Slop sink damaged, paint peeling

Male Bathroom

105 CMR 451.123*	Maintenance: Ceiling ventilation grille dirty

Female Bathroom

105 CMR 451.123*	Maintenance: Wall ventilation grille dirty

105 CMR 451.353*	Interior Maintenance: Sitting chairs not easily cleanable, chairs in lounge ripped

Main Hallway

105 CMR 451.350	Structural Maintenance: Wall not easily cleanable, wall damaged where sink was removed

DOS Office

No Violations Noted

Armory Room

No Violations Noted

Operations Office

FC 3-305.11(A)(3)	Preventing Contamination from Premises: Food stored in an inappropriate location, 	food stored less than 6 inches from the floor

Visiting and Court Room

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking above vending machines

Toxic/Caustic Closet (across from visiting)

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

Basement

Male Bathroom

No Violations Noted

Male Locker Room

105 CMR 451.123*	Maintenance: Wall damaged, paint peeling

Female Locker Room

105 CMR 451.123	Maintenance: Ceiling leaking

105 CMR 451.123	Maintenance: Ceiling dirty, appearance of mold

105 CMR 451.123	Maintenance: Wall dirty

Records Module

Offices

No Violations Noted

Administration Module

First Floor

Entrance

No Violations Noted

Chemical Closet

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

No Violations Noted

Deputy’s Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

Superintendent’s Office

No Violations Noted

Copy Room

105 CMR 451.350	Structural Maintenance: Wall not easily cleanable, wall damaged

ACA Coordinator’s Office

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

Second Floor

Break Room

No Violations Noted

Bathroom

No Violations Noted

Janitor’s Closet

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, floor damaged

105 CMR 451.353*	Interior Maintenance: Ceiling not maintained in good repair, ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Wall not easily cleanable, wall damaged

Director of Education

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

Rear Trap

105 CMR 451.353	Interior Maintenance: Exit door not easily cleanable, paint peeling on exit door

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, interior of refrigerator dirty

Rear Trap Bathroom

No Violations Noted

Main Area

No Violations Noted

Patient Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Hallway

No Violations Noted

Records

No Violations Noted

Control Center

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Medical Building

Clinic Officer’s Office

Bathroom

No Violations Noted

First Floor

Doctor’s Office

No Violations Noted

Nursing Supervisor’s Office

No Violations Noted

Eye Doctor’s Office

No Violations Noted

Infection Control Office

No Violations Noted

Dental Office

No Violations Noted

X-Ray Room

No Violations Noted

Center Corridor

Book Trap

105 CMR 451.344	Illumination in Habitable Areas: Light not functioning properly, light out

Holding Cell

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling

Property

No Violations Noted

Booking Office

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Male Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Ventilation grille dusty

Female Bathroom

105 CMR 451.123*	Maintenance: Wall tiles damaged

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Inappropriate bottle used to hold chemical

Slop Sink Room

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, floor damaged

Medical Waste Storage Room

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, floor damaged

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling damaged

105 CMR 451.350	Structural Maintenance: Exit door not weathertight

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling

Pharmacy

105 CMR 451.126	Hot Water: Hot water temperature recorded at 960F

Control

No Violations Noted

Infirmary

Trauma Room

105 CMR 451.103	Mattresses: Mattress damaged

105 CMR 451.126	Hot Water: Hot water temperature recorded at 950F

Dorms

105 CMR 451.353*	Interior Maintenance: Ventilation grille dirty

Laundry

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling

Supply Room

No Violations Noted

Treatment Room

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Wall damaged

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, appearance of mold on ceiling

TV Room

105 CMR 451.353*	Interior Maintenance: Ceiling ventilation grille rusty

105 CMR 451.353*	Interior Maintenance: Ceiling ventilation grille damaged

Medical West Unit

Control

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked

Bathroom (across from treatment office)

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Ventilation grille damaged

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, floor damaged

105 CMR 451.350*	Structural Maintenance: Ceiling not easily cleanable, ceiling damaged

Cells

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in all cells

Dorms

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in all cells

Shower Room

105 CMR 451.123*	Maintenance: Tiles damaged

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Ventilation grille damaged

105 CMR 451.123*	Maintenance: Soap scum on walls

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, shower heads leaking

Toxic/Caustic Closet

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

Quiet Room

105 CMR 451.353	Interior Maintenance: Ceiling dirty

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

105 CMR 451.370	Garbage Storage: Garbage container missing cover

I.T. Unit

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

Shower Room

Unable to Inspect – In Use

Toxic/Caustic Closet

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

Kitchen Area

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty,	interior of freezer dirty

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Security Trap

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

Security Trap Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dusty

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling

Cells

105 CMR 451.3508	Structural Maintenance: Ceiling not easily cleanable, ceiling damaged in cell # 10 and 12

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling in cell # 6, 8, 9, 11, and 13

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 9

105 CMR 451.353	Interior Maintenance: Wall dirty in cell # 9

Nurse’s Office

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling

Nurse’s Office Bathroom

105 CMR 451.123	Maintenance: Wall paint peeling

Strip Cell

No Violations Noted

Interview Room

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in room # 16

Max Mod

Hallway

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

105 CMR 451.350	Structural Maintenance: Exit doors not weathertight

Toxic/Caustic Closet

No Violations Noted

Inmates Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Door lock not working properly

Security Trap

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Vending Machines

No Violations Noted

Janitor’s Closet

No Violations Noted

Break Room

FC 3-501.16(B)	Limitation of Growth of Organisms, Temperature and Time Control: Refrigerator 	temperature recorded at 530F

Maximum 1 Unit

Control Bathroom

No Violations Noted

Staff Lounge

No Violations Noted

TV Room

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

Mop Closet

105 CMR 451.353*	Interior Maintenance: Ventilation grille dirty

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Slop Sink Closet

105 CMR 451.350*	Structural Maintenance: Wall not easily cleanable, wall damaged

105 CMR 451.350*	Structural Maintenance: Floor not easily cleanable, floor damaged

105 CMR 451.353*	Interior Maintenance: Ventilation grille dirty

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

Toxic/Caustic Closet

No Violations Noted

Mental Health Office

No Violations Noted

Nurse’s Office

No Violations Noted

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged behind toilet

105 CMR 451.123*	Maintenance: Ventilation grille dirty

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Trash inside heater unit

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking at sink # 1

Shower Room

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Ventilation grille dirty

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Bench paint peeling

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, appearance of mold on ceiling

A Corridor

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 104, 108, 110, 112, and 116

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 102 and 106

B Corridor

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 122-126

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 119

Treatment Room

No Violations Noted

Maximum 2 Unit

Officer’s Trap

No Violations Noted

Officer’s Trap Bathroom

105 CMR 451.123	Maintenance: Floor tiles damaged

Staff Break Room

FC 4-602.12(B)*	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

FC 4-903.11(A)(2)*		Protection of Clean Items, Storing: Single-service items not protected from 					contamination, utensils left uncovered

TV Room

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

Mental Health Office

No Violations Noted

Mop Closet

105 CMR 451.353*	Interior Maintenance: Ventilation grille dirty

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ventilation grille dirty

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated

105 CMR 451.353	Interior Maintenance: Ceiling not maintained in good repair, paint peeling

Toxic/Caustic Closet

No Violations Noted

Nurse’s Station

No Violations Noted

Nurse’s Station Bathroom

105 CMR 451.110(A)	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

Bathroom

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123	Maintenance: Ceiling damaged, paint peeling

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking at sink # 1

Shower Room

105 CMR 451.123	Maintenance: Soap scum on walls

105 CMR 451.123	Maintenance: Floor damaged

105 CMR 451.123	Maintenance: Bench paint peeling

105 CMR 451.123	Maintenance: Standing water on floor

A Corridor

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 112

105 CMR 451.350	Structural Maintenance: Wall damaged in all cells

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in cell # 113

B Corridor

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 125 and 127

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 122

C Corridor

Cells Not Used - Storage

Treatment Room

No Violations Noted

Commons Building

Janitor’s Closet

No Violations Noted

Officer’s Trap

No Violations Noted

Trap Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Inmate Bathroom

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Female Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Barbershop

No Violations Noted

Storage Room

No Violations Noted

Gym

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking

Programs

No Violations Noted

Chapel

No Violations Noted

Library

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling leaking in classroom

105 CMR 451.350	Structural Maintenance: Ceiling not easily cleanable, ceiling damaged

School Office

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

Laundry

No Violations Noted

Commons Basement

Break Room

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

Bathroom/Slop Sink

105 CMR 451.353*	Interior Maintenance: Wet mop stored in bucket

Maintenance Area

No Violations Noted

Tool Crib

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling

Office Space

No Violations Noted

Carpentry

No Violations Noted

Kitchen

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ventilation grilles dirty

FC 4-501.11(A)	*		Maintenance and Operation, Equipment: Equipment not maintained in a state of good 				repair, heaters out-of-service

FC 4-903.11(B)(1)*	Protection of Clean Items, Storing: Trays not stored in the inverted/self-draining position

FC 6-501.16	Maintenance and Operation; Cleaning: Wet mop stored in bucket

Cleaning Closet

No Violations Noted

Serving Line

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-903.11(A)(2)*	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils not stored with handles up

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, tiles damaged under refrigerator unit

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Pot Wash Room and 3-Bay Sink

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor rusty under sink

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Pots not stored in the inverted/self-draining position on rack

Prep Sink

FC 3-304.14(B)(2)	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

Freezer #1

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on floor and ceiling

Freezer #2

Unable to Inspect – Out-of-service

Handwash Sink

FC 5-202.12(A)			Plumbing System, Design: Handwashing sinks water temperature recorded at 860F

Handwash Sink (outside locker room)

No Violations Noted

Ice Machine

FC 4-602.11(E)(4)(b)*	Cleaning of Equipment and Utensils, Frequency: Interior	 surfaces of ice machine dirty

Janitor’s Closet

FC 6-101.11(A)(1)	Materials for Construction and Repairs: Surface not easily cleanable, door frame paint peeling

FC 6-201.11	Design, Construction and Installation: Floor not easily cleanable, floor damaged

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Wall damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty

FC 6-201.16(A)	Design, Construction, and Installation; Cleanability: Ceiling not easily cleanable, paint peeling

Dishwashing Machine Area

FC 5-202.12(A)	Plumbing System, Design: Handwashing sinks water temperature recorded at 860F

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged around drains

FC 5-203.14*	Plumbing System, Design: No backflow prevention device on rinse sink

FC 5-205.15(B)	Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, sink leaking

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, sink damaged near dishwasher

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, fans dirty

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Serving trays not stored in the inverted/self-draining position on rack

Dry Storage

No Violations Noted

Inmate Bathroom

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ventilation grille dirty

Staff Locker Room

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Walls not easily cleanable, wall damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ventilation blocked in showers

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

Loading Dock

No Violations Noted

Transfer Area

FC 6-201.16(A)*	Design, Construction, and Installation; Cleanability: Ceiling covering not easily cleanable, ceiling damaged

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor damaged

Toxic/Caustic Closet

FC 7-101.11*	Poisonous or Toxic Materials; Original Containers: Cleaning chemicals not labeled properly, original manufactures label missing

Dining Area

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, ventilation grille dirty

Minimum Mod

Hallway

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

Staff Break Room

105 CMR 451.353*	Interior Maintenance: Ventilation grille rusty

FC 4-101.16*	Materials for Construction and Repair; Multiuse: Sponges used in kitchen

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, missing cabinet doors

FC 4-701.10	Sanitization of Equipment and Utensils, Objective: Food contact surfaces not properly sanitized

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, interior of refrigerator dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, toaster oven handle broken

Inmate Bathroom

No Violations Noted

Male Bathroom

No Violations Noted

Female Bathroom

105 CMR 451.123	Maintenance: Floor dirty

Janitor’s Closet

No Violations Noted

Chemical Room

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling

A Unit

A1

Common Area

105 CMR 451.353	Interior Maintenance: Door not maintained in good repair, paint peeling

Dorm Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, sink leaking at sink # 4

105 CMR 451.123*	Maintenance: Ventilation grille dirty

105 CMR 451.123	Maintenance: Ceiling damaged, ceiling leaking

105 CMR 451.123	Maintenance: Toilet partitions damaged, paint peeling

105 CMR 451.123	Maintenance: Floor damaged under sink

Dorm Showers

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Door frame rusty

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation

Dorms

105 CMR 451.353*	Interior Maintenance: Floor not maintained in good repair, paint peeling in dorm # 3, 4, and 6

105 CMR 451.353	Interior Maintenance: Ceiling dirty in all dorms

Treatment Office

No Violations Noted

Nurse’s Office

No Violations Noted

Janitor’s Closet

No Violations Noted

Slop Sink

105 CMR 451.353*	Interior Maintenance: Ventilation grille dirty

Officer Break Room

No Violations Noted

Health Worker’s Office

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Nurse’s Treatment Room

No Violations Noted

Cells

105 CMR 451.350	Structural Maintenance: Wall/Floor/Ceiling not easily cleanable, floor damaged in cell # 113, 115, and 121

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 103, 104, 107, 108, 111-113, and 116

A2

105 CMR 451.353	Interior Maintenance: Stairway tread damaged

Common Area

No Violations Noted

Dorm Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leak at slop sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet leak at sink # 3

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Ceiling damaged

105 CMR 451.123	Maintenance: Floor damaged under sink

Dorm Showers

105 CMR 451.123*	Maintenance: Soap scum on walls in shower

105 CMR 451.123*	Maintenance: Bench paint peeling

105 CMR 451.123*	Maintenance: Door frame rusty

105 CMR 451.123*	Maintenance: Wall damaged, paint peeling

105 CMR 451.123	Maintenance: Wooden door damaged

105 CMR 451.123	Maintenance: Shower floor damaged

Dorms

No Violations Noted

Officer Break Room

No Violations Noted

Treatment Office

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Slop Sink

105 CMR 451.350*	Structural Maintenance: Floor damaged

105 CMR 451.353*	Interior Maintenance: Interior of sink damaged, not easily cleanable

105 CMR 451.353	Interior Maintenance: Ventilation grille dusty

Nurse’s Treatment Room

No Violations Noted

Nurse’s Bathroom

105 CMR 451.123	Maintenance: Ventilation grille dusty

105 CMR 451.123	Maintenance: Floor damaged

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 209

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 203, 205, 209, 211, 215, and 217

B Unit

B1

Common Area

105 CMR 451.353	Interior Maintenance: Wall dirty

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, floor tiles damaged

105 CMR 451.353	Interior Maintenance: Door not easily cleanable, paint peeling

Mental Health Unit

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Bathroom

105 CMR 451.123*	Maintenance: Ventilation grille dirty

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Sink counter dirty

Shower Room

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Ventilation grille rusty

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Bench paint peeling

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Wooden door damaged

Staff Break Room

No Violations Noted

Transfer Room

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Mop stored in floor

105 CMR 451.350*	Structural Maintenance: Wall damaged under sink

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

Nurses Office

Unable to Inspect – Could Not Access

Treatment Room

No Violations Noted

Dorms

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in main dorm

Cells

No Violations Noted

B2

Common Area

105 CMR 451.353*	Interior Maintenance: Heater vent, paint peeling

Bathroom

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose at sink # 5

105 CMR 451.123*	Maintenance: Ventilation grille dusty

Shower Room

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Floor damaged

105 CMR 451.123*	Maintenance: Wall damaged

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, appearance of mold on door and ceiling

105 CMR 451.123	Maintenance: Ceiling dirty

105 CMR 451.123	Maintenance: Wooden door damaged

105 CMR 451.123	Maintenance: Wall damaged, paint peeling

Staff Break Room

FC 3-302.11(A)(4)	Preventing Food and Ingredient Contamination: Preventing cross contamination, butter not appropriately covered

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

Nurses Office

No Violations Noted

Treatment Room

105 CMR 451.353	Interior Maintenance: Floor not maintained in good repair, paint peeling

Dorms

105 CMR 451.350	Structural Maintenance: Floor not easily cleanable, floor damaged in dorm # 7 and 9

105 CMR 451.353	Interior Maintenance: Door damaged in cell # 7-10

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 210 and 223

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in cell # 208, 211, and 225

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in cell # 213

C Unit

C1

Common Area

105 CMR 451.353	Interior Maintenance: Heater vent, paint peeling

Bathroom

105 CMR 451.123	Maintenance: Wall dirty behind sink

Shower Room

105 CMR 451.123*	Maintenance: Door damaged

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Walls dirty

105 CMR 451.123*	Maintenance: Soap scum on walls in showers

105 CMR 451.123*	Maintenance: Bench paint peeling

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation

Staff Break Room

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from 	contamination, utensils left uncovered

Nurse’s Station

No Violations Noted

Nurse’s Bathroom

105 CMR 451.353	Interior Maintenance: Ventilation grille dusty

Medical Treatment Room

No Violations Noted

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Treatment Room

FC 4-204.112(A)*	Design and Construction, Functionality: No functioning thermometer in refrigerator

Dorms

105 CMR 451.350*	Structural Maintenance: Floor damaged in all dorms

Cells

105 CMR 451.350*	Structural Maintenance: Floor damaged in cell # 107

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ceiling ventilation grille blocked in cell # 102, 114, and 115

105 CMR 451.353	Interior Maintenance: Ceiling dirty in cell # 102

C2

Common Area

No Violations Noted

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink leaking at sink # 2

105 CMR 451.123	Maintenance: Toilet partitions not easily cleanable, paint peeling

Shower Room

Unable to Inspect – In Use

Inmate Refrigerator Room

No Violations Noted

Staff Break Room

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Toxic/Caustic Closet

No Violations Noted

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ventilation grille dusty

Dorms

105 CMR 451.353*	Interior Maintenance: Wall not maintained in good repair, paint peeling in dorm # 10

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling in dorm # 7, 8, and 11

Laundry

105 CMR 451.353	Interior Maintenance: Wall not maintained in good repair, paint peeling

Cells

105 CMR 451.350	Structural Maintenance: Floor damaged in cell # 225

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, ventilation grille blocked in all cells

Observations and Recommendations

- The inmate population was 332 at the time of inspection

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Sergeant Norberto Melo, EHSO

Eric Badger, CHO, Health Agent, Bridgewater Board of Health

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS