The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: (781) 828-7910

Facsimile: (781) 828-7703

Marian.Robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR JOHN W. POLANOWICZ SECRETARY CHERYL BARTLETT, RN COMMISSIONER

October 8, 2013

Mari Lou Whalen, Deputy Superintendent

Northeastern Correctional Center

Barretts Mill Road

P.O. Box 1069

West Concord, MA 01742

Re: Facility Inspection – Northeastern Correctional Center, West Concord

Dear Superintendent Whalen:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Northeastern Correctional Center on September 18 and 19, 2013 accompanied by David Lavoie, EHSO. Violations noted during the inspection are listed below:

HEALTH AND SAFETY VIOLATIONS

(* indicates conditions documented on previous inspection reports)

Gralton Hall

Lobby

No Violations Noted

Library

No Violations Noted

Sitting Area

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Wall fan dirty

Shift Commander’s Office

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on refrigerator

Records

No Violations Noted

Work Release Office

No Violations Noted

West Up

Hallway

No Violations Noted

Female Staff Bathroom

No Violations Noted

Inmate Bathroom

105 CMR 451.123*	Maintenance: Shower floor finish damaged and no longer easily cleanable in shower # L2 and R2

105 CMR 451.123*	Maintenance: Shower curtain missing from shower # R1

105 CMR 451.123	Maintenance: Heater cover not secure

105 CMR 451.123	Maintenance: Shower # R1 not working

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 141, 142, 143, 144, 145, 146, 148, 149, 150, and 151

105 CMR 451.353*	Interior Maintenance: Center window not weathertight, tape observed around window in cell # 144 and 148

West Down

Hallway

No Violations Noted

Male Staff Bathroom

105 CMR 451.123	Maintenance: Ceiling vent dusty

Inmate Bathroom

105 CMR 451.123*	Maintenance: Shower floor finish damaged and no longer easily cleanable in shower

# L1, L2, and R2

105 CMR 451.123*	Maintenance: Soap scum on walls in shower # L2 and R2

105 CMR 451.123*	Maintenance: Soap scum on all shower curtains

105 CMR 451.123*	Maintenance: Heater damaged

105 CMR 451.123*	Maintenance: Shower area not ventilated well, water observed on ceiling

105 CMR 451.123	Maintenance: Walls dirty outside showers

Cells

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 116, 119, and 123

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 115 and 117

East Up

Hallway

105 CMR 451.350	Structural Maintenance: Glass missing from window beside exterior door at end of hallway near cell # 134

Janitor’s Closet

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Drain cover missing

Inmate Bathroom

105 CMR 451.123*	Maintenance: Wall tiles missing throughout bathroom

105 CMR 451.123*	Maintenance: Shower floor finish damaged and no longer easily cleanable in shower

# R2

105 CMR 451.123*	Maintenance: Heater damaged

105 CMR 451.123	Maintenance: Entrance door damaged

105 CMR 451.130	Hot Water: Shower water temperature recorded at 1210F

105 CMR 451.123	Maintenance: Shower area not ventilated well, water observed on ceiling

105 CMR 451.123	Maintenance: Mildew-like substance observed on caulking in shower # L2

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 127, 130, 132, 133, and 135

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 129, 136, and 139

East Down

Hallway

FC 4-602.12(B)	Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

Janitor’s Closet

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, slop sink not plumbed properly, draining into open drain with no drain cover

Inmate Bathroom and Laundry

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123*	Maintenance: Ceiling vent dusty

105 CMR 451.123*	Maintenance: Heater damaged

105 CMR 451.123*	Maintenance: Shower floor finish damaged and no longer easily cleanable in shower

# L2 and R2

105 CMR 451.123	Maintenance: Floor damaged outside of showers

105 CMR 451.123	Maintenance: Entrance door frame damaged

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 103, 105, and 109

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 104 and 111

Basement

Hallway

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, one light 	fixture not functioning properly

Boiler Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, pipe leaking near boiler tank

Meeting Room

105 CMR 451.353*	Interior Maintenance: Ceiling water damaged

105 CMR 451.353*	Interior Maintenance: Baseboard missing

105 CMR 451.353*	Interior Maintenance: Ceiling tiles missing

Culinary Arts Program Storage

105 CMR 451.353*	Interior Maintenance: Floor finish damaged

105 CMR 451.353*	Interior Maintenance: Unfinished shelves not easily cleanable

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tile damaged

105 CMR 451.353*	Interior Maintenance: Light shield damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tile missing

105 CMR 451.353*	Interior Maintenance: Ceiling tiles water damaged

Electrical Room

105 CMR 451.353*	Interior Maintenance: Ceiling leaking

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Culinary Arts Program

Dining Room

No Violations Noted

Kitchen

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, unfinished concrete 	in several areas

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer screen door not weather 	and vermin tight

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Vent fan not weathertight, no 	louvers or screen provided

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged throughout kitchen

FC 4-102.11(B)(2)*	Materials for Construction and Repair; Multiuse: Unused single-service article not protected against contamination, utensils not covered

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, mildew-like substance around spray hose sink

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged under sink unit and warewash machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, pipe insulation damaged under warewash machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall paint damaged around vent fan

Culinary Shed

105 CMR 451.353	Interior Maintenance: One CO2 tank not secure

Farm Dorm

First Floor

Lobby Area

No Violations Noted

Control Area

No Violations Noted

Male Staff Bathroom

105 CMR 451.123	Maintenance: Wall damaged around sink

Female Staff Bathroom

No Violations Noted

CPO Office - East Down Side

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

CPO Office – West Down Side

No Violations Noted

Chemical Storage Room

No Violations Noted

Mop Room

No Violations Noted

East Down

Hallway

No Violations Noted

Urine Lab

No Violations Noted

Holding Cell # 26 and 27

105 CMR 451.126*	Water Supply: No cold water supplied to handwash sink in cell # 27

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink in cell # 26

105 CMR 451.126*	Water Supply: No hot water supplied to handwash sink # 27

105 CMR 451.350*	Structural Maintenance: Wall damaged in cell # 27

105 CMR 451.350	Structural Maintenance: Floor damaged under toilet in cell # 27

105 CMR 451.353	Interior Maintenance: Walls dirty in cell # 26

Shower Room

105 CMR 451.123	Maintenance: Floor surface damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Soap scum on walls in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Floor dirty in shower # 2 and 3

105 CMR 451.123	Maintenance: Soap scum on shower curtain in shower # 3

105 CMR 451.123	Maintenance: Ceiling tiles damaged throughout shower room and showers

105 CMR 451.123	Maintenance: Vent fan dirty

105 CMR 451.123	Maintenance: Wall tiles damaged outside of showers

Cells	Unable to Inspect – Cell # 31 Not In Use, Remodeling

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 34, 36, 40, and 49

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 30

West Down

Hallway

No Violations Noted

Shower Room

105 CMR 451.123	Maintenance: Shower head missing in shower # 3

105 CMR 451.123	Maintenance: Shower controls missing in shower # 3

105 CMR 451.123	Maintenance: Shower floor damaged in shower # 1, 2, and 3

105 CMR 451.123	Maintenance: Holes in floor and wall in shower # 3

105 CMR 451.123	Maintenance: Shower walls damaged in shower # 1

105 CMR 451.123	Maintenance: Wall tiles damaged outside of showers

105 CMR 451.123	Maintenance: Walls dirty outside of showers

105 CMR 451.123	Maintenance: Grille louvers not closing properly on the exterior of the vent fan

Slop Sink Room

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, no backflow preventer on threaded bib

105 CMR 451.353	Interior Maintenance: No light shield provided

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 4, 6, 7, 10, and 14

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 16 and 17

105 CMR 451.353	Interior Maintenance: Wall paint damaged near vent in cell # 19

Barber Shop

105 CMR 451.353	Interior Maintenance: Baseboard damaged

Second Floor

Staff Bathroom

No Violations Noted

Classroom

No Violations Noted

Janitor’s Closet

No Violations Noted

CPO Supervisor

No Violations Noted

HSU

105 CMR 451.350*	Structural Maintenance: Ceiling water damaged

105 CMR 451.130*		Plumbing: Plumbing not maintained in good repair, cold water knob leaking on sink

105 CMR 451.350	Structural Maintenance: Wall damaged near window

Director of Treatment Offices

No Violations Noted

East Up

Hallway

No Violations Noted

Shower Room

105 CMR 451.123*	Maintenance: Soap scum on walls and floors in all showers
105 CMR 451.123	Maintenance: No grilled and/or louvers provided on vent fan

105 CMR 451.123	Maintenance: Wall tiles damaged in all showers

105 CMR 451.123	Maintenance: Shower room not ventilation well, water observed on ceiling

105 CMR 451.123	Maintenance: Floor drain missing

Cells

105 CMR 451.350	Structural Maintenance: Wall damaged behind toilet fixture in cell # 82

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 96

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 85, 93, and 99

Slop Sink Room

105 CMR 451.350	Structural Maintenance: Wall damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

West Up

Hallway

No Violations Noted

Shower Room

105 CMR 451.123*	Maintenance: Floor finish damaged in shower stall # 1, 2, and 3

105 CMR 451.123*	Maintenance: Floor drain cover missing in shower room

105 CMR 451.123*	Maintenance: Soap scum on walls in all showers

105 CMR 451.123*	Maintenance: Soap scum on all shower curtains

105 CMR 451.123	Maintenance: Wall tiles damaged outside of showers

105 CMR 451.123	Maintenance: Possible mold and/or mildew substance on floor outside of showers

Cells

105 CMR 451.353*	Interior Maintenance: Floor paint damaged in cell # 54, 60, 64, and 65

105 CMR 451.353	Interior Maintenance: Floor paint damaged in cell # 53 and 71

Slop Sink Area

Unable to Inspect – Under Repair

Food Service Area

Day Room

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than recommended concentration

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, baseboard damaged

Dining Room

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Outer door not weather and 	vermin tight

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several glass window panels broken

Kitchen and Food Service Line

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, paint damaged on 	window sills

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, several glass window panels broken throughout kitchen

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, several wall tiles 	damaged in kitchen area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, insulation on 	heating pipes damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall paint 	damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, grout missing in 	several areas on the floor

FC 6-501.111(B)*	Maintenance and Operations; Pest Control: Flying insects observed throughout 	kitchen

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, wet mop stored 	in bucket

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged on Tranulsen hot holding unit

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall tile damaged behind 3 bay sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall and wall tiles damaged near dishwasher

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, several window panels missing

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, gaskets damaged on Traulsen warmer/cooler # 3

FC 4-501.114(A)	Maintenance and Operation; Equipment: Chlorine Sanitizer solution tested less than 	recommended concentration

FC 4-602.11(E)(4)(b)	Cleaning of Equipment and Utensils, Frequency: Mold growth observed on interior surfaces of ice machine

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, prep tables damaged on lower shelving

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, several light shields filled with bugs and debris

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window sill severely damaged near spray hose sink

Refrigerator # 1

No Violations Noted

Back Hallway

FC 6-202.15(A)(2)*	Design, Construction, and Installation; Functionality: Back screen door not weather 	and vermin tight

Laundry and Inmate Bathroom

No Violations Noted

Office

No Violations Noted

Dry Storage-Building #7

No Violations Noted

Freezer Unit-Building # 8

No Violations Noted

Basement

Stairway

105 CMR 451.353*	Interior Maintenance: Floor paint damaged on steps

Chaplain’s Room

No Violations Noted

Muslim Prayer Room

No Violations Noted

K9 Storage

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, pipe leaking

105 CMR 451.353	Interior Maintenance: Standing water on floor from pipe leaking

Paper Goods Storage

No Violations Noted

Electrical/Plumbing Shop

No Violations Noted

Hallway

105 CMR 451.350*	Structural Maintenance: Water damaged ceiling tiles

Cleaning Supply Area

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Storage Room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Carpenter’s Shop

No Violations Noted

Carpenter’s Bathroom

105 CMR 451.350	Structural Maintenance: Wall damaged

Hot Tools Crib

105 CMR 451.353	Interior Maintenance: Wall paint damaged

Maintenance Area

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on refrigerator unit

Maintenance Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.110(B)*	Hygiene Supplies at Toilet and Handwash Sink: No waste receptacle at handwash sink

105 CMR 451.123	Maintenance: Floor paint damaged

Day Room

105 CMR 451.353*	Interior Maintenance: Vent fan dirty

Laundry Area

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Ceiling paint damaged

105 CMR 451.353*	Interior Maintenance: Floor paint damaged

105 CMR 451.353*	Interior Maintenance: Vent fan dirty

105 CMR 451.353*	Interior Maintenance: Light shields missing

Shower Room

105 CMR 451.123*	Maintenance: All drain covers missing

105 CMR 451.123*	Maintenance: Wall paint damaged above shower stalls

105 CMR 451.123*	Maintenance: Wall damaged in shower room

105 CMR 451.123*	Maintenance: Pipes not properly insulated, insulation damaged

105 CMR 451.123*	Maintenance: Inadequate lighting, several light fixtures not functioning properly

105 CMR 451.123*	Maintenance: Floor finish damaged in shower room

105 CMR 451.123*	Maintenance: Shower curtain missing from several showers stalls

105 CMR 451.123	Maintenance: Water control shield missing in shower stall # L1

105 CMR 451.123*	Maintenance: Drain cover missing in all shower stalls

105 CMR 451.123*	Maintenance: Shower floors dirty in all shower stalls

105 CMR 451.123	Maintenance: Paneling damaged around controls in shower stall # L6

Gymnasium

Female Visitor’s Bathroom

105 CMR 451.350*	Structural Maintenance: Ceiling damaged around ceiling vent

Male Visitor’s Bathroom

No Violations Noted

Search Room

No Violations Noted

Staff Locker Room

105 CMR 451.123	Maintenance: Shower head leaking

Staff Bathroom

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink # 3

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink # 4

Electrical Room

105 CMR 451.350	Structural Maintenance: Ceiling damaged

First Aid Room

No Violations Noted

Gym

105 CMR 451.353	Interior Maintenance: Ceiling fan cages dusty

Storage Rooms

No Violations Noted

Vending Machines

No Violations Noted

Weight Rooms

105 CMR 451.353*	Interior Maintenance: Workout equipment not easily cleanable, several covers 	damaged

105 CMR 451.353	Interior Maintenance: Wall paint damaged

105 CMR 451.353	Interior Maintenance: Baseboards missing

Cow Barn

Inmate Bathroom

105 CMR 451.123*	Maintenance: Ceiling damaged

Staff Office and Bathroom

No Violations Noted

Recycling Area

FC 4-601.11(c)	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, gaskets dirty on freezer unit

Dumpsters

FC 5-501.15(A)	*		Refuse, Recyclables, and Returnables; Facilities on Premises: Lid open on dumpsters

Farm Service Garage

Carwash Tool Crib Room

105 CMR 451.353	Interior Maintenance: Ceiling dirty

Program Building

105 CMR 451.350	Structural Maintenance: Outside door not rodent and weathertight on either ends of hallway near classrooms

Classrooms

No Violations Noted

Inmate Bathroom

No Violations Noted

Staff Bathroom

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Unfinished wood, not easily cleanable

Water Fountain

No Violation Noted

Slop Sink

No Violations Noted

Farm Service Building

Habitat for Humanity Shop

105 CMR 451.353*	Interior Maintenance: Heater damaged

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

Boiler Room

105 CMR 451.353	Interior Maintenance: Pipe leaking

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Locker Room

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Walls dirty in bathroom area

Property Room

Unable to Inspect – Locked

Mattress Storage

105 CMR 451.353	Interior Maintenance: Ceiling paint damaged

Observations and Recommendations

- The inmate count was 264 at the time of inspection.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within ten working days of receiving this report and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

John W. Polanowicz, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

David Lavoie, EHSO

Shawn Zoldak, Policy Coordinator

Susan G. Rask, RS, Health Director, Concord Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Andrea Cabral, Secretary, EOPS