The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street

Canton, MA 02021

Telephone: 781-828-7910

Facsimile: 781-828-7703

marian.robertson@state.ma.us

DEVAL L. PATRICK GOVERNOR TIMOTHY P. MURRAY LIEUTENANT GOVERNOR JUDYANN BIGBY, MD SECRETARY JOHN AUERBACH COMMISSIONER

June 1, 2012

Peter J. Koutoujian, Sheriff

Middlesex County Jail

40 Thorndike Street

P.O. Box 97

Cambridge, MA 02141

Re: Facility Inspection

Dear Sheriff Koutoujian:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, and Department of Public Health Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Middlesex County Jail on May 31, 2012 accompanied by Desiree Lashley, Assistant Superintendent, Deputy Sheriff Spencer, and Amy Riordan of the Community Sanitation Program. Violations noted are listed below (* indicates conditions documented on previous inspection reports).

Lobby

105 CMR 451.350	Structural Maintenance: Ceiling damaged

Administration Area

Officers 17-12

105 CMR 451.350	Structural Maintenance: Floor tiles missing

105 CMR 451.350	Structural Maintenance: Several light shields missing

Weight Room

No longer used

Male Officer’s Locker Room

105 CMR 451.344*	Illumination in Habitable Areas: Several light fixtures not functioning properly

105 CMR 451.353*	Interior Maintenance: Vents dirty

105 CMR 451.353*	Interior Maintenance: Vent covers rusted

105 CMR 451.353*	Interior Maintenance: Several light shields missing

105 CMR 451.350	Structural Maintenance: Floor damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.123	Maintenance: Baseboard damaged

Female Officer’s Locker Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.350*	Structural Maintenance: Wall damaged

105 CMR 451.353*	Interior Maintenance: Several light shields missing

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Baseboard damaged

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.123	Maintenance: Soap scum on walls in shower

FC 4-501.11(A)	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, refrigerator gaskets dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, refrigerator handle missing

FC 4-903.11(A)(2)	Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils not stored with handles up

Officer’s Bathroom

105 CMR 451.110(A)*	Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Toilet fixture dirty

105 CMR 451.123*	Maintenance: Sink Fixture dirty

105 CMR 451.123*	Maintenance: Floor dirty

Sheriff’s Office Area

Female Staff Bathroom

105 CMR 451.353	Interior Maintenance: Ceiling vents dirty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.350	Structural Maintenance: Wall damaged, hole around piping

105 CMR 451.353	Interior Maintenance: Light shield missing

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

Male Staff Bathroom

105 CMR 451.344	Illumination in Habitable Areas: Several light fixtures not functioning properly

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Kitchenette

No Violations Noted

17th Floor Jail Area

Control Area

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.353*	Interior Maintenance: Vent cover dirty

105 CMR 451.123	Maintenance: Ceiling vents dirty

105 CMR 451.350	Structural Maintenance: Floor tiles damaged

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Control Bathroom

105 CMR 451.123*	Maintenance: Sink fixture damaged

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Lower wall vent rusted and dirty

Visiting Room

105 CMR 451.350	Structural Maintenance: Wall paint damaged on window panes

QED Office

105 CMR 451.353	Interior Maintenance: Window seal vents dirty

NCIC Room

105 CMR 451.123	Maintenance: Ceiling tiles missing

Deputies Office

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

Deputies’ Bathroom

105 CMR 451.123	Maintenance: Vent dirty

Holding Cell # 137

105 CMR 451.350	Structural Maintenance: Wall damaged

Bathroom Area

Not in use at time of inspection

Property Room

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.123	Maintenance: Ceiling tiles missing

105 CMR 451.353	Interior Maintenance: Vents dirty

Receiving Area

Common Area

105 CMR 451.344*	Illumination in Habitable Areas: Several light fixtures not functioning properly

105 CMR 451.350	Structural Maintenance: Several light shields missing

105 CMR 451.350*	Structural Maintenance: Vent cover damaged

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Several light shields missing

105 CMR 451.350	Structural Maintenance: Wall damaged

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, kick plate missing from refrigerator unit

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, bottom of refrigerator dirty

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Holding Tanks

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, toilet paint damaged in left holding tank

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vents painted over in both holding tanks

105 CMR 451.126	Water Supply: No hot water supplied to handwash sink

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

Shower Area	Not in use at the time of inspection

105 CMR 451.123*	Maintenance: Ceiling vent rusted

Laundry

No longer in use

Staff Bathroom

105 CMR 451.123*	Maintenance: Faucet loose

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Caulking on sink loose and no longer easily cleanable

105 CMR 451.123	Maintenance: Ceiling vent rusted

Property Room

105 CMR 451.126	Water Supply: No cold water supplied to handwash sink

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Receiving Office

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling tiles loose and damaged

105 CMR 451.353*	Interior Maintenance: Wires not secured properly

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

18th Floor

Hallway

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning properly outside laundry room

Caseworker’s Offices

105 CMR 451.353*	Interior Maintenance: Floor not easily cleanable, floor not finished properly

105 CMR 451.353*	Interior Maintenance: Ceiling tiles near vent cover secured with blue painter’s tape

105 CMR 451.350	Structural Maintenance: Ceiling tiles missing

105 CMR 451.123	Maintenance: Ceiling vent dirty

Laundry Room

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, steam pipe not sealed properly leading to condensation and water damaged on ceiling

105 CMR 451.331*	Radiators and Heating Pipes: Pipes not properly insulated, insulation loose

105 CMR 451.353*	Interior Maintenance: Drain cover missing

105 CMR 451.353*	Interior Maintenance: Walls and floor dirty near washer and dryer units

105 CMR 451.353*	Interior Maintenance: Floor not easily cleanable, finish damaged

105 CMR 451.353*	Interior Maintenance: Vents dirty

105 CMR 451.353*	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.353*	Interior Maintenance: Pipes dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

18th Floor Cell Block

Control Area

No Violations Noted

Library

105 CMR 451.350	Structural Maintenance: Wall damaged

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles damaged

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Floor not easily cleanable, floor paint damaged

105 CMR 451.123*	Maintenance: Ceiling vent dirty

105 CMR 451.123*	Maintenance: Wall tiles damaged

105 CMR 451.123*	Maintenance: Bathroom floor dirty

Slop Sink Room

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Ceiling wires exposed

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

Laundry Room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, laundry dryer not vented properly to the 	exterior of the building

A Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent cover painted over in cell # 5

105 CMR 451.141*	Screens: Several window screens missing

105 CMR 451.320*	Cell Size: Cell block overcrowded, inmates sleeping on boat beds in the common area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged near sprinkler head

105 CMR 451.353*	Interior Maintenance: Several light fixtures dirty

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353*	Interior Maintenance: Light fixtures dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353*	Interior Maintenance: Walls no longer easily cleanable, unfilled holes in walls

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 1 and 4

A Side Shower

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 19 inmates

105 CMR 451.123*	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Floor drain cover damaged

B Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.344*	Illumination in Habitable Areas: Several light fixtures not functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: One light fixture not secured properly

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353*	Interior Maintenance: Light fixtures dirty

B Side Shower

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 23 inmates

105 CMR 451.123*	Maintenance: Floor drain cover missing

105 CMR 451.123*	Maintenance: Light fixture not functioning

105 CMR 451.123	Maintenance: Ceiling paint damaged

C Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, ceiling vents blocked

105 CMR 451.141*	Screens: Several window screens missing

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.353*	Interior Maintenance: Vents dirty

105 CMR 451.353*	Interior Maintenance: Ceiling vents dirty

105 CMR 451.353*	Interior Maintenance: Window sills dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty

C Side Shower	Occupied at time of inspection

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 27 inmates

D Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.353*	Interior Maintenance: Vent covers dirty

105 CMR 451.353*	Interior Maintenance: Several light fixtures dirty

105 CMR 451.350	Structural Maintenance: Unfinished wood above old slop sink

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, ceiling leaking around unfinished wood above old slop sink

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 3, 4, 8 and 9

D Side Shower

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 28 inmates

105 CMR 451.123*	Maintenance: Ceiling rusted and paint blistering outside shower unit

105 CMR 451.123	Maintenance: Standing water observed outside of shower unit at the time of inspection

105 CMR 451.123	Maintenance: Ceiling paint damaged

Max Cell Block

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, light fixture not functioning 	properly in cell # 2

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly in cell block

105 CMR 451.353*	Interior Maintenance: Ceiling repair not finished in a work-person like fashion

105 CMR 451.353*	Interior Maintenance: Vent fan dirty

105 CMR 451.350	Structural Maintenance: Floor paint damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent missing

18th Floor Dorm

Control Area

105 CMR 451.344*	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.353*	Interior Maintenance: Counter top not easily cleanable, surface damaged

105 CMR 451.350	Structural Maintenance: Ceiling tile damaged

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Control Bathroom

105 CMR 451.123*	Maintenance: Ceiling tiles damaged

105 CMR 451.350	Structural Maintenance: Wall damaged, holes in wall

105 CMR 451.123*	Maintenance: Light shield missing

Inmate Bathroom

105 CMR 451.123*	Maintenance: Plastic bar cover damaged

105 CMR 451.123*	Maintenance: Floor not easily cleanable, paint and floor damaged

105 CMR 451.123*	Maintenance: Electrical hand dryers not functioning properly

105 CMR 451.123*	Maintenance: Floor dirty

105 CMR 451.123*	Maintenance: Sink fixture not secured properly on handwash sink # 1 and 3

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, handwash sink # 6 out of order

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose on handwash sink # 3

105 CMR 451.123	Maintenance: Floor drain filled with debris

Shower Area

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 2 functioning showers for 56 	plus inmates

105 CMR 451.123*	Maintenance: Drain cover missing in left shower stall

Laundry

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, laundry dryer not vented properly to the 	exterior of the building

105 CMR 451.353*	Interior Maintenance: Wall dirty

Janitor’s Closet

105 CMR 451.353*	Interior Maintenance: Ceiling wet and water stained near smoke detector

105 CMR 451.353*	Interior Maintenance: Light fixture not functioning properly

105 CMR 451.353*	Interior Maintenance: Door and door frame paint damaged

105 CMR 451.353	Interior Maintenance: Wet mop stored in bucket

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Dorm Room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent blocked

105 CMR 451.141*	Screens: Several window screens missing

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Ceiling damaged and water stained

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Wall paint damaged

105 CMR 451.350	Structural Maintenance: Ceiling leaking in several locations

Day Room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged and missing

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353*	Interior Maintenance: Window sills dirty

19th Floor

19th Floor Cell Block

Control Area

105 CMR 451.140	Adequate Ventilation: Inadequate ventilation, vent blocked

Control Bathroom

105 CMR 451.123*	Maintenance: Vent cover not properly secured and dirty

105 CMR 451.123*	Maintenance: Sink fixture not secured properly to wall

105 CMR 451.123*	Maintenance: Light shield missing

105 CMR 451.123*	Maintenance: Door not functioning properly

105 CMR 451.350	Structural Maintenance: Water damaged ceiling tiles

105 CMR 451.123	Maintenance: Ceiling tiles missing

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, water controls mislabeled

Laundry Room

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, laundry dryer not vented to the exterior 	of the building

105 CMR 451.353*	Interior Maintenance: Wall and floor dirty behind washer and dryer unit

Mop Closet

105 CMR 451.353*	Interior Maintenance: Wet mop left in bucket

105 CMR 451.353	Interior Maintenance: Water left in mop bucket

E Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, vent blocked

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Floor drain painted over

E Side Shower	Occupied at time of inspection

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 14 plus inmates

F Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Several vents dirty

105 CMR 451.353	Interior Maintenance: Floor paint damaged

105 CMR 451.350	Structural Maintenance: Wall paint damaged in cell # 12

F Side Shower

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 22 plus inmates

105 CMR 451.123	Maintenance: Light fixture filled with rust

105 CMR 451.123	Maintenance: Drain cover missing

G Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.141*	Screens: One window screen missing

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

105 CMR 451.353*	Interior Maintenance: Light fixture dirty

105 CMR 451.353*	Interior Maintenance: Vent covers dirty

105 CMR 451.353	Interior Maintenance: Junction box not covered

105 CMR 451.350	Structural Maintenance: Wall damaged in cell # 2

G Side Shower

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 27 inmates

105 CMR 451.123*	Maintenance: Light fixture filled with rust

105 CMR 451.123*	Maintenance: Drain cover missing

105 CMR 451.123	Maintenance: Wall tiles damaged

105 CMR 451.123	Maintenance: Floor tiles damaged

105 CMR 451.123	Maintenance: Ceiling paint damaged

105 CMR 451.123	Maintenance: Shower control broken

105 CMR 451.123	Maintenance: Soap scum on walls in shower

H Side

105 CMR 451.117*	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

105 CMR 451.141*	Screens: Several window screens missing

105 CMR 451.320*	Cell Size: Inadequate floor space in cell block, inmates sleeping in the common area

105 CMR 451.344*	Illumination in Habitable Areas: Several light fixtures not functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling damaged

105 CMR 451.353*	Interior Maintenance: Floor dirty

105 CMR 451.353*	Interior Maintenance: Wires not secured properly to ceiling

H Side Shower

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 29 inmates

105 CMR 451.123*	Maintenance: Ceiling rusted and paint blistering

105 CMR 451.123*	Maintenance: Floor drain cover missing

105 CMR 451.123*	Maintenance: Floor finish damaged

105 CMR 451.123*	Maintenance: Light fixture filled with rust

105 CMR 451.123*	Maintenance: Shower sandals used to secure shower curtain rod

Food Service Area

Dinning Room

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling water 	damaged

Kitchen

FC 6-201.11*	Design, Construction and Installation: Floor not easily cleanable, floor finish damaged 	throughout kitchen

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window vents dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, window vents damaged

Service Line

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, sneeze guard 	dirty

FC 4-903.11(B)(1)	Protection of Clean Items, Storing: Take-out containers not stored in the inverted position

3-Compartment Sink

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, pipe leaking from wash and sanitizer compartment

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under 	3-compartment sink

Steam Table

FC 3-304.14(B)(2)*	Preventing Contamination from Linens: Wet cloth not stored in sanitizer bucket

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucet and water controls leaking on handwash sink

FC 5-205.11(B)*	Plumbing System, Operations and Maintenance: Handwashing sink used for an	unapproved purpose, wet cloth observed in handwash sink

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, pot rack dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged above steam table

Kettle and Stove Hood Area

105 CMR 451.353	Interior Maintenance: Kitchen exhaust system not in compliance with the provisions for inspection, cleaning, and labeling required by 527 CMR 11.00 Commercial Cooking Operations

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, insulation 	damaged on old steam pipe

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty under 	fryolators

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, hoses damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises; convection oven not working

Dish Room

FC 4-501.112(A)(2)	Maintenance and Operation, Equipment: Inadequate water temperature in the	mechanical warewashing machine

FC 4-204-113(A)	Design and Construction, Functionality: Data plates not working on 	warewashing machine

FC 2-401.11	Hygienic Practices Food Contamination Prevention: Food service personnel drinking 	in an inappropriate area

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, sprinkler heads 	coated in dust

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, one light fixture 	not functioning properly

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, insulation on 	pipes dirty and damaged

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, sprayer head 	dirty

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, missing ceiling tile

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, floor damaged

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty

Refrigerator # 4

FC 3-305.11(A)(2)*	Preventing Contamination from Premises: Food exposed to dust, fans in cooler dirty

Refrigerator # 5

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Prep Table Area and 2 Compartment Sink	Left side of 2 compartment sink out of order at time of inspection

FC 4-601.11(A)*	Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, can 	opener dirty

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, faucets leaking on 2-compartment sink

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, several light 	fixtures not functioning properly

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, missing clock from wall leaving exposed wires

Pots and Pans Cage

FC 4-903.11(B)(1)*	Protection of Clean Items, Storing: Pots not stored in the inverted position

Refrigerator # 1

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ceiling paint damaged

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, 	ceiling dirty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, floor drain 	clogged outside refrigerator unit

Freezer # 3

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, ceiling paint damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, liquid observed in light shield

FC 4-601.11(c)*	Cleaning of Equipment and Utensils, Objective: Non-food contact surface dirty, floor 	dirty

Inmate Bathroom

FC 5-202.12(A)*	Plumbing System, Design: Handwashing sinks water temperature recorded at 780F

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, vent dirty and rusty

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged leaving unfinished wood exposed

105 CMR 451.123	Maintenance: Sink not draining

Staff Bathroom

FC 5-205.15(B)*	Plumbing System, Operations and Maintenance: Plumbing system not maintained in 	good repair, hot water not functioning properly

Staff Office

No Violations Noted

Knife Storage Room

105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

Dry Storage Room

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty

FC 3-304.12(A)	Preventing Contamination from Utensils: Scoop handle stored below the 	food and container line in rice

FC 6-404.11*	Location and Placement; Distressed Merchandise: Dented cans not properly 	segregated

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty

FC 7-206.12*	Poisonous or Toxic Materials; Pesticides: Rodent traps not covered and tamper 	resistant

Store Room

No Violations Noted

Refrigerator # 2

Not working at time of inspection

Back Area

FC 7-102.11	Poisonous or Toxic Materials; Working Containers: Working containers of poisonous	or toxic materials must be clearly labeled with common name

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, unfilled hole in 	window from old air conditioner vent

FC 6-501.11*	Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged

FC 6-501.11	Maintenance and Operation; Repairing: Facility not in good repair, wall damaged, hole in wall

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, window sills 	dirty

FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty
FC 6-501.12(A)	Maintenance and Operation; Cleaning: Facility not cleaned properly, walls dirty

Ice Machines

FC 6-501.114(A)	Maintenance and Operations; Maintaining Premises: Nonfunctional equipment not repaired or removed from premises; broken ice machine

FC 4-502.11(A)*	Maintenance and Operation, Utensils: Utensils not maintained in a state of good	repair, ice scoop holders dirty and damaged in both machines

FC 6-501.12(A)*	Maintenance and Operation; Cleaning: Facility not cleaned properly, floor dirty 	behind ice machines

Food Service Manager’s Office

No Violations Noted

20th Floor

Hallway

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

105 CMR 451.353	Interior Maintenance: Ceiling vent dusty

Medical Area

105 CMR 451.353	Interior Maintenance: Ceiling vent missing

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

105 CMR 451.353	Interior Maintenance: Ceiling tiles dirty

Staff Bathroom

105 CMR 451.123*	Maintenance: Ceiling water damaged

Medical Staff Kitchenette

No Violations Noted

Exam Room

105 CMR 451.124*	Water Supply: Insufficient water supply in quantity and pressure at handwash sink

105 CMR 451.130*	Plumbing: Plumbing not maintained in good repair, faucet loose

Medical Cells

105 CMR 451.218(A)*	Windows to Outdoors in New and Renovated Facilities: No window providing natural 	light within medical cell # 1, 2, and 3

Special Management Unit

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, several light fixtures not 	functioning properly

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged and rusted

Canteen

105 CMR 451.350	Structural Maintenance: Ceiling tiles damaged and missing

105 CMR 451.350	Structural Maintenance: Floor tiles damaged and missing

105 CMR 451.350	Structural Maintenance: Light shield missing

Control Area

105 CMR 451.350*	Structural Maintenance: Counter top not easily cleanable, cover missing and damaged

FC 4-501.11(A)*	Maintenance and Operation, Equipment: Equipment not maintained in a state of good 	repair, gasket damaged

FC 4-204.112(A)	Design and Construction, Functionality: No functioning thermometer in refrigerator

Laundry

105 CMR 451.140*	Adequate Ventilation: Inadequate ventilation, laundry dryer not vented properly

Bathroom

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, toilet # 3 not working

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, sink # 3 not working

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of handwash sinks per 	inmate population, two handwash sinks available for 42 inmates

105 CMR 451.123*	Maintenance: Floor not easily cleanable, floor paint damaged

105 CMR 451.126*	Hot Water: Hot water temperature recorded at 670F

Shower Stall

105 CMR 451.119*	Bathing Facilities: Inadequate shower to inmate ratio, 1 shower for 40 plus inmates

105 CMR 451.123	Maintenance: Water controls not secured properly

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

105 CMR 451.123	Maintenance: Soap scum on walls in shower

105 CMR 451.123	Maintenance: Standing water observed on floor

105 CMR 451.130	Plumbing: Plumbing not maintained in good repair, shower head leaking

Triage
105 CMR 451.353	Interior Maintenance: Unlabeled chemical bottle

105 CMR 451.117	Toilet Fixtures: Toilet fixture dirty

Day Room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged and missing

105 CMR 451.344	Illumination in Habitable Areas: One light fixture not functioning properly

Slop Sink Room

No Violations Noted

20 Rear Cells

105 CMR 451.353*	Interior Maintenance: Floor drain painted

105 CMR 451.353*	Interior Maintenance: Uncapped electrical outlet on ceiling

105 CMR 451.345*	Illumination in Common Passage Ways and Areas: Inadequate lighting, several light 	fixtures not functioning properly

Cells

105 CMR 451.104	Beds: Bed not in good repair in cell # 1 and 3

105 CMR 451.117	Toilet Fixtures: Toilet fixtures not easily cleanable, old toilet paint damaged

Shower Stall

105 CMR 451.123	Maintenance: Floor drain cover damaged

105 CMR 451.123	Maintenance: Vent rusted

Newman Dorm

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.344*	Illumination in Habitable Areas: Inadequate lighting, one light fixture not functioning 	properly

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.350*	Structural Maintenance: Front wall damaged

105 CMR 451.353*	Interior Maintenance: Ceiling tiles not installed properly

Bathroom

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of toilet facilities	handwash sinks per inmate population, 2 sinks and 2 toilets for 26 plus inmates

105 CMR 451.123*	Maintenance: Floor not easily cleanable, floor damaged

105 CMR 451.123	Maintenance: Vent damaged under sinks

Administrative Segregation

105 CMR 451.141*	Screens: Screens missing

105 CMR 451.353*	Interior Maintenance: Vent covers missing

105 CMR 451.353*	Interior Maintenance: Vent fan dirty

Cells

105 CMR 451.353	Interior Maintenance: Light fixture blocked by paper in cell # 5

Shower Stall

105 CMR 451.123	Maintenance: Drain cover missing

105 CMR 451.123	Maintenance: Ceiling vent rusted

Office

105 CMR 451.353*	Interior Maintenance: Vent not secured properly and blocked with toilet paper rolls

105 CMR 451.353*	Interior Maintenance: Ceiling tiles damage

OV3 Annex

105 CMR 451.141*	Screens: Several screens missing

105 CMR 451.322*	Cell Size: Inadequate floor space in dorm room

105 CMR 451.350*	Structural Maintenance: Ceiling tiles damaged and missing

105 CMR 451.350*	Structural Maintenance: Floor tiles damaged

105 CMR 451.353*	Interior Maintenance: Vent dirty

105 CMR 451.353*	Interior Maintenance: Wall not easily cleanable, wall paint damaged

105 CMR 451.353*	Interior Maintenance: Window sills dirty

105 CMR 451.353*	Interior Maintenance: Light fixture dirty

105 CMR 451.353*	Interior Maintenance: Vent cover not secured properly

Bathroom

105 CMR 451.114*	Shared Toilet and Handwashing Facilities: Inadequate number of toilet facilities and 	handwash sinks per inmate population, 1 toilet and sink fixture for 31 inmates

105 CMR 451.123*	Maintenance: Floor tiles damaged

105 CMR 451.123*	Maintenance: Metal access panel rusted

Hallway Shower Room (Trauma Room)

Not in use at time of inspection

Recreational Decks

No Violations Noted

Observations and Recommendations

- The inmate population was 375 at the time of inspection

- There is an inadequate number of showers, toilets, and handwash sinks throughout the facility

- Dishwasher not reaching correct temperature required for adequate cleaning, recommended using

3-compartment sink until problem is corrected

- Facility is to use paper plates until the dishwasher is repaired

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please indicate next to each entry on the inspection report a plan of correction. Said plan of correction must be submitted within 10 days of receipt of this letter and should detail the specific steps that will be taken and the date of expected compliance. The plan of correction should be submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at www.mass.gov/dph/dcs and click on "Community Sanitation Regulations" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at www.mass.gov/dph/fpp and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “1999 Food Code”.

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Marian Robertson

Environmental Health Inspector, CSP, BEH

cc:	Suzanne K. Condon, Associate Commissioner, Director, BEH

Steven Hughes, Director, CSP, BEH

JudyAnn Bigby, MD, Secretary, Executive Office of Health and Human Services

Luis S. Spencer, Commissioner, DOC

Scott Brazis, Superintendent

Cambridge Inspectional Services

Captain William Buckley, EHSO

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Mary Elizabeth Heffernan, EOPS