

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7700 Fax: 781-828-7703

|  |
| --- |
| CHARLES D. BAKERGovernorKARYN E. POLITOLieutenant Governor  |

November 21, 2016

Thomas M. Hodgson, Sheriff

Bristol County Sheriff’s Office

Bristol County Jail and House of Correction

400 Faunce Corner Road

North Dartmouth, MA 02747

Re: Facility Inspection – Bristol County Modular Building, North Dartmouth

Dear Sheriff Hodgson:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Bristol County Modular Building on November 9, 2016 accompanied by
Lieutenant Andrew Mitzan, EHSO. Violations noted during the inspection are listed below including 12 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Modular Building**

**Modular Kitchen**

FC 6-201.16(A)\* Design, Construction, and Installation; Cleanability: Walls not easily cleanable, paint peeling

**1 West**

*Staff Bathroom*

 No Violations Noted

*Classroom*

 No Violations Noted

*Main Area*

 No Violations Noted

*Laundry*

 No Violations Noted

*Janitor’s Closet*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Bathroom 1 (right side)*

 No Violations Noted

*Bathroom 2 (left side)*

 No Violations Noted

*Dorms*

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorms

**1 East**

*Laundry*

 No Violations Noted

*Storage*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Main Area*

105 CMR 451.353 Interior Maintenance: Wall vent dusty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, drinking fountain out-of-order

*Janitor’s Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in sink

*Bathroom 1 (right side)*

 No Violations Noted

*Bathroom 2 (left side)*

 No Violations Noted

*Dorms*

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorms

**2 West**

*Staff Bathroom*

 No Violations Noted

*Classroom*

 No Violations Noted

*Storage*

 No Violations Noted

*Main Area*

 No Violations Noted

*Janitor’s Closet*

105 CMR 451.353\* Interior Maintenance: Wet mop stored in sink

*Bathroom 1 (right side)*

105 CMR 451.123 Maintenance: Floor dirty

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, 1 toilet out-of-order

*Bathroom 2 (left side)*

105 CMR 451.110(A) Hygiene Supplies at Toilet and Handwash Sink: No soap at handwash sink

105 CMR 451.123 Maintenance: Floor dirty

*Dorms*

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorms

105 CMR 451.353 Interior Maintenance: Wall dirty in cell # 209

**2 East**

*Law Library*

105 CMR 451.353\* Interior Maintenance: Floor damaged

*Staff Bathroom*

 No Violations Noted

*Classroom*

 No Violations Noted

*Storage*

 No Violations Noted

*Main Area*

105 CMR 451.353 Interior Maintenance: Wall paint peeling

*Janitor’s Closet*

105 CMR 451.353\* Interior Maintenance: Ceiling paint peeling

105 CMR 451.353\* Interior Maintenance: Wet mop stored in sink

*Bathroom 1 (right side)*

105 CMR 451.123 Maintenance: Floor dirty

*Bathroom 2 (left side)*

 No Violations Noted

*Dorms*

105 CMR 451.322\* Cell Size: Inadequate floor space in all dorms

**Training Area**

*Storage Closet*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, hot water out-of-order

*Staff Bathroom*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, hot water out-of-order

*Break Area*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with
105 CMR 590.000, no functional thermometer in white refrigerator

**Mods Intake Area**

*Bathroom # 1*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Bathroom # 2*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Janitor’s Closet*

 No Violations Noted

**Observations and Recommendations**

1. The inmate population was 346 at the time of inspection.
2. During the inspection, the Department recommended that all showers and cells be identified with a numbering system. This will assist the Department and correctional employees to better recognize where issues exist.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

 Steven Hughes, Director, CSP, BEH

Timothy Miley, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

 Thomas Turco, Commissioner, DOC

Steven Sousa, Superintendent

 Andrew Mitzan, Lieutenant, EHSO

Christopher Michaud, RS, Health Director, Dartmouth Board of Health

 Clerk, Massachusetts House of Representatives

 Clerk, Massachusetts Senate

 Daniel Bennett, Secretary, EOPSS

Jennifer Gaffney, Director, Policy Development and Compliance Unit