

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

250 Washington Street, Boston, MA 02108-4619

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 617-624-5757 Fax: 617-624-5777

TTY: 617-624-5286

|  |
| --- |
| CHARLES D. BAKERGovernorKARYN E. POLITOLieutenant Governor  |

December 17, 2015

Lois Russo, Superintendent

MCI Concord

965 Elm Street

P.O. Box 9106

Concord, MA 01742

Re: Facility Inspection – MCI Concord

Dear Superintendent Russo:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Minimum Requirements for the Management of Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of MCI Concord on December 2 and 3, 2015 accompanied by George Frascarelli, FS/EHSO and Maurice Campbell, FS/EHSO. Violations noted during the inspection are listed below including 68 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**A BUILDING**

*Lobby*

 No Violations Noted

*Janitor’s Closet*

105 CMR 451.353\* Interior Maintenance: Light shield missing

*Female Bathroom*

 No Violations Noted

*Male Bathroom*

105 CMR 451.141\* Screens: Screen missing

**Administration Area**

*Female Bathroom*

 No Violations Noted

*Male Bathroom*

 No Violations Noted

*Janitor’s Closet*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, drain cover missing

*Water Fountain*

 No Violations Noted

*Coffee Station*

 No Violations Noted

*Trap Area*

105 CMR 451.350\* Structural Maintenance: Window damaged

**Holding Tank**

*Cell A*

 Not Inspected – No Longer Used

*Cell B*

 Not Inspected – No Longer Used

**B BUILDING**

*Hallway*

 No Violations Noted

***Visitor’s Bathrooms***

*Front Visitor’s Bathroom*

105 CMR 451.110(A)\* Hygiene Supplies at Toilet and Handwash Sink: No paper towels at handwash sink

*Slop Sink Closet*

 No Violations Noted

*Staff Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Break Room*

 No Violations Noted

*Weight Room*

 No Violations Noted

***Visiting Room***

 No Violations Noted

*Back Room*

 No Violations Noted

***Treasurer’s Office Area***

 No Violations Noted

*Inmate Bathroom (Urinalysis Bathroom)*

 No Violations Noted

*Treasurer’s Bathroom*

 Unable to Inspect - Locked

*Treasurer’s Kitchenette*

 Unable to Inspect - Locked

**B Corridor**

*Inmate Bathroom*

 No Violations Noted

*Vending Machines*

 No Violations Noted

*Slop Sink Room*

 No Violations Noted

*Male Staff Bathroom*

 No Violations Noted

*Female Staff Bathroom*

 Unable to Inspect - Locked

**B Building Control**

 No Violations Noted

*Control Bathroom*

 No Violations Noted

*Control Kitchenette*

FC 4-602.12(B) Cleaning of Equipment and Utensils; Frequency: Interior of microwave oven dirty

**C BUILDING**

Unable to Inspect – Closed

**CRA Program - Basement**

 Unable to Inspect – Closed

**SMU**

**First Floor**

*SMU Property*

 No Violations Noted

*Hallway*

 No Violations Noted

*Search Room # C1-3*

 No Violations Noted

*Search Room # C1-4*

 No Violations Noted

*Lieutenant Office # C1-7*

 No Violations Noted

*Sergeant Office # C1-8*

 No Violations Noted

*Property # C1-9*

 No Violations Noted

*Medical Exam Room # C1-10*

 Unable to Inspect - Occupied

*Staff Bathroom # C1-11*

 No Violations Noted

*Slop Sink Room # C1-62*

 No Violations Noted

*Corridor # C1-5*

 No Violations Noted

*Control*

FC 4-601.11(A)\* Cleaning of Equipment and Utensils, Objective: Food contact surface dirty, interior of toaster oven dirty

*Bathroom # C1-21B*

 No Violations Noted

*Showers*

 No Violations Noted

*Cells*

 No Violations Noted

*Staff Break Room # C1-22*

 No Violations Noted

*Law Library # C1-23*

 No Violations Noted

*Recreational Decks*

 No Violations Noted

**Second Floor**

*Slop Sink Room # C2-62*

 No Violations Noted

*Showers*

 No Violations Noted

*Cells*

 No Violations Noted

*Counselor’s Office # C2-22*

 No Violations Noted

*Law Library # C2-23*

 No Violations Noted

*Recreational Deck*

 No Violations Noted

**D BUILDING**

**Food Service Area**

*Storage Area*

 No Violations Noted

*Barrel Wash Room/Slop Sink Room*

 No Violations Noted

*Bread Cooler*

 No Violations Noted

*Prep and Leftover Cooler*

 No Violations Noted

*Produce Cooler*

 No Violations Noted

*Tool Storage Room*

 No Violations Noted

*Freezer*

FC 6-501.12(A)\* Maintenance and Operation; Cleaning: Facility not cleaned properly, ice build-up on walls

*Ice Machine*

 No Violations Noted

Staff Office

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*B Tool Room # 2*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

*Bakery/Dry Storage Room*

 No Violations Noted

*Milk Cooler*

 No Violations Noted

*Halal Freezer*

 No Violations Noted

*Kosher Freezer*

 No Violations Noted

*Refrigerator Unit*

 No Violations Noted

*Pots and Pans Room*

 No Violations Noted

*Reach-In Warmers*

 No Violations Noted

**South Side**

*Kettles and Ovens Hood Area*

 No Violations Noted

*Handwash Sink*

 No Violations Noted

*Tray Prep*

 No Violations Noted

*Traulsen Cooler*

 No Violations Noted

*Old Food Service Line*

 No Violations Noted

*Food Warmers*

 No Violations Noted

*South Side Dining Room*

FC 6-202.15(D)(1)\* Design, Construction, and Installation; Functionality: Two windows cracked

**North Side**

*Hoods*

 No Violations Noted

*Handwash Sink*

 No Violations Noted

*Tray Prep Tables*

 No Violations Noted

*Old Food Service Line*

 No Violations Noted

*North Side Dining Room*

FC 6-202.15(A)(2) Design, Construction, and Installation; Functionality: Outer door not weathertight

*Mechanical Warewashing Room*

 No Violations Noted

**E BUILDING**

**West Side**

*Stairway*

 No Violations Noted

**West Down Control**

*Staff Bathroom*

 No Violations Noted

**West Down Low**

*Hallway*

 No Violations Noted

*Showers*

 Unable to Inspect – Occupied

*Cells*

105 CMR 451.353 Interior Maintenance: Multiple cells with ceiling water damage

105 CMR 451.353 Interior Maintenance: Multiple cells with wall water damage

*Day Room*

 No Violations Noted

*Phone Room*

 No Violations Noted

**West Down High**

*Hallway*

105 CMR 451.350\* Structural Maintenance: Floor damaged

*Slop Sink Room*

 No Violations Noted

*Showers*

 Unable to Inspect – Occupied

*Cells*

105 CMR 451.353 Interior Maintenance: Multiple cells with ceiling water damage

105 CMR 451.353 Interior Maintenance: Multiple cells with wall water damage

*Day Room*

105 CMR 451.353\* Interior Maintenance: Window sills filled with trash

**West Up Control**

 Unable to Inspect – Closed

**West Up Low**

 Unable to Inspect – Closed

**West Up High**

 Unable to Inspect – Closed

**East Side**

**East Down Control**

 No Violations Noted

*Staff Bathroom*

105 CMR 451.123 Maintenance: Ceiling paint peeling

***East Down Low***

*Hallway*

 No Violations Noted

*Showers*

 Unable to Inspect – Occupied

*Cells*

105 CMR 451.353 Interior Maintenance: All cells with ceiling water damage

105 CMR 451.353 Interior Maintenance: All cells with wall water damage

105 CMR 451.353 Interior Maintenance: Multiple cells with window damage

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, toilet leaking in cell # 327

*Day Room*

 No Violations Noted

*Phone Room*

 No Violations Noted

***East Down High***

*Hallway*

 No Violations Noted

*Slop Sink Room*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

*Showers*

 Unable to Inspect – Occupied

*Cells*

105 CMR 451.353 Interior Maintenance: All cells with ceiling water damage

105 CMR 451.353 Interior Maintenance: All cells with wall water damage

105 CMR 451.353 Interior Maintenance: All cells with window damage

*Day Room*

 No Violations Noted

**East Up Control**

 Unable to Inspect – Closed

***East Up Low***

 Unable to Inspect – Closed

***East Up High***

 Unable to Inspect – Closed

**H BUILDING**

**Basement**

*H-1 Area*

105 CMR 451.350 Structural Maintenance: Door not rodent and weathertight

*Workout Room*

105 CMR 451.353 Interior Maintenance: Chair damaged at officer station

*Inmate Bathroom*

 No Violations Noted

*Stairway*

 No Violations Noted

**First Floor**

*Hallway*

 No Violations Noted

*Gym Staff Bathroom*

 No Violations Noted

*Gym*

 No Violations Noted

*Mop Closet*

 No Violations Noted

*Recreational Office* No Violations Noted

*Barber Shop Closet*

105 CMR 451.353\* Interior Maintenance: Light shield missing

*Office*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

*Slop Sink Room*

105 CMR 451.353\* Interior Maintenance: Slop sink basin dirty

*Barber Shop*

 No Violations Noted

*Library*

105 CMR 451.141\* Screens: Seven screens missing

*Library Bathroom*

 No Violations Noted

*Canteen*

 No Violations Noted

*Storage*

 Unable to Inspect – Locked

**Second Floor**

*Stairway*

105 CMR 451.353 Interior Maintenance: Floor tiles damaged

*Hallway*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.123 Maintenance: Toilet # 2 out-of-order

*Male Staff Bathroom*

 No Violations Noted

*Female Staff Bathroom*

 No Violations Noted

*Slop Sink Room*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

*Classrooms*

 No Violations Noted

*Law Library*

 No Violations Noted

**I BUILDING**

*Common Area*

105 CMR 451.350\* Structural Maintenance: Roll-down door not weathertight

*Front Staff Office*

 No Violations Noted

*Front Staff Bathroom*

 No Violations Noted

*Front Inmate Bathroom*

 No Violations Noted

*Side Office*

 No Violations Noted

*Storage*

 No Violations Noted

*Back Staff Bathroom*

105 CMR 451.123 Maintenance: Floor paint peeling

105 CMR 451.141 Screens: Screen missing

*Back Inmate Bathroom*

 No Violations Noted

*Paint Shop Trap and Bathroom*

 No Violations Noted

*Paint Shop Inmate Bathroom*

105 CMR 451.123 Maintenance: Toilet # 2 out-of-order

*Tool Control Officer’s Bathroom*

No Violations Noted

*Director of Engineering Office*

 No Violations Noted

*Director of Engineering Bathroom*

 No Violations Noted

**J BUILDING**

*Hallways*

105 CMR 451.353\* Interior Maintenance: Baseboard damaged on J South ramp

**J Control Corridor**

*Female Staff Bathroom*

105 CMR 451.123 Maintenance: Stall # 2 door lock broken

*Male Staff Bathroom*

 No Violations Noted

*Janitor’s Closet*

 No Violations Noted

**Building J Control**

 No Violations Noted

*Staff Bathroom*

105 CMR 451.123 Maintenance: Ceiling dirty

**Staff Kitchen and Dining Room**

*Outside-Dry Storage*

 No Violations Noted

*Back Hallway*

 No Violations Noted

*Refrigerators and Freezer Units*

FC 6-501.114(A) Maintenance and Operations; Maintaining Premises: Nonfunctional freezer not repaired or removed from premises

*Staff Bathroom*

 No Violations Noted

***Baking and Prep Room***

No Violations Noted

*Refrigerator*

FC 3-305.11(A)(2)\* Preventing Contamination from Premises: Food exposed to dust, fans dusty

**Kitchen Area**

*Inmate Bathroom*

 No Violations Noted

*Pantry*

 No Violations Noted

*Kettle Room*

 No Violations Noted

*2-Compartment Sink*

 No Violations Noted

*Dish Washing Area*

FC 4-501.114(C)(2) Maintenance and Operation; Equipment: Quaternary ammonium solution greater than the manufacturers recommended concentration

*Food Service Line*

 No Violations Noted

*Beverage Air Refrigerator*

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, machine out-of-order

*Ice Machine*

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, machine out-of-order

**Dining Room**

 No Violations Noted

*Janitor’s Closet*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dirty

**Second Floor**

**Phase II Classification**

*Inmate Bathroom*

 No Violations Noted

*Staff Bathroom # 1*

 No Violations Noted

*Janitor’s Closet*

105 CMR 451.353\* Interior Maintenance: Slop sink drain cover missing

*Staff Bathroom # 2*

105 CMR 451.123 Maintenance: Ceiling vent dusty

*Inmate Bathroom-Waiting Area*

 No Violations Noted

*Water Fountain*

 No Violations Noted

*Slop Sink Room*

 No Violations Noted

*Conference Room*

 No Violations Noted

*Female Staff Bathroom*

 No Violations Noted

*Male Staff Bathroom*

 No Violations Noted

*Janitor’s Closet*

 No Violations Noted

*Offices*

 No Violations Noted

*Classrooms*

 No Violations Noted

*Staff Dining Room*

 No Violations Noted

**J Housing Units**

105 CMR 451.322\* Cell Size: Inadequate floor space in all cells

***Unit J1***

*Common Areas*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*CPO Office*

 No Violations Noted

*Staff Office*

105 CMR 451.353 Interior Maintenance: Chair damaged

*Slop Sink Room (1st Tier)*

 No Violations Noted

*Slop Sink Room (3rd Tier)*

 No Violations Noted

*Cells*

 No Violations Noted

*1st Tier Showers*

105 CMR 451.123\* Maintenance: Soap scum on shower curtain in shower # 1 and 2

*2nd Tier Showers*

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1 and 2

105 CMR 451.123\* Maintenance: Floor tiles missing in shower # 1

*3rd Tier Showers*

 Unable to Inspect – Occupied

***Unit J2***

*Common Area*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Slop Sink Room (1st Tier)*

 No Violations Noted

*Slop Sink Room (3rd Tier)*

 Unable to Inspect – Locked and No Longer Used

*Cells*

 No Violations Noted

*1st Tier Showers*

105 CMR 451.123\* Maintenance: Soap scum on shower curtain in shower # 2

*2nd Tier Showers*

105 CMR 451.123\* Maintenance: Soap scum on shower curtain in shower # 2

105 CMR 451.123\* Maintenance: Floor damaged in shower # 2 and 3

105 CMR 451.123 Maintenance: Shower curtain damaged in shower # 2

*3rd Tier Showers*

105 CMR 451.123\* Maintenance: Shower curtain dirty in shower # 1-3

*3rd Tier Storage*

 Unable to Inspect – Locked and No Longer Used

***Unit J3***

*Common Area*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged

*Staff Bathroom*

 No Violations Noted

*Slop Sink Room (1st Tier)*

 No Violations Noted

*Slop Sink Room (3rd Tier)*

 Unable to Inspect – Locked and No Longer Used

*Water Fountain*

 No Violations Noted

*Cells*

 No Violations Noted

*1st Tier Showers*

105 CMR 451.123 Maintenance: Shower # 1 out-of-order

*2nd Tier Showers*

 No Violations Noted

*3rd Tier Showers*

105 CMR 451.123 Maintenance: Shower # 2 out-of-order

***Unit J4***

 Not Inspected – Not In Use

***Unit J5***

*Common Area*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Slop Sink Room (1st Tier)*

 No Violations Noted

*Slop Sink Room (3rd Tier)*

Unable to Inspect – Locked and No Longer Used

*Staff Room (3rd Tier)*

Unable to Inspect – Locked and No Longer Used

*Cells*

 No Violations Noted

*1st Tier Showers* Unable to Inspect Shower # 1 – In Use

 No Violations Noted

*2nd Tier Showers*

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1, 2, and 3

*3rd Tier Showers*

 Unable to Inspect – In Use

***Unit J6***

*Common Area*

105 CMR 451.353\* Interior Maintenance: Wall paint damaged near phones

*Staff Bathroom*

 No Violations Noted

*Slop Sink Room (1st Tier)*

 No Violations Noted

*Slop Sink Room (3rd Tier)*

 Unable to Inspect – Locked and No Longer Used

*Cells*

 No Violations Noted

*1st Tier Showers*

105 CMR 451.123 Maintenance: Soap scum on shower curtains in shower # 1, 2, and 3

105 CMR 451.123 Maintenance: Wall dirty in shower # 2 and 3

105 CMR 451.123 Maintenance: Debris on floor in shower # 3

105 CMR 451.123 Maintenance: Shower # 3 out-of-order

*2nd Tier Showers*

105 CMR 451.123\* Maintenance: Soap scum on walls in shower # 1

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1 and 2

105 CMR 451.123 Maintenance: Wall dirty in shower # 2

*3rd Tier Showers* Unable to Inspect Shower # 2 – Not Longer Used

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1

105 CMR 451.123 Maintenance: Debris on floor in shower # 1

***Unit J7***

Not Inspected – No Longer Used

**Health Service Unit**

*Nurse’s Control Area*

 No Violations Noted

*Hallway*

 No Violations Noted

*Bathroom # C 107A*

 No Violations Noted

*Optometry Room # C 108A*

105 CMR 451.353\* Interior Maintenance: Light shield missing

*Slop Sink Room # C 109A*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, sink drain cover missing

*Biohazard/Medical Waste # C 110A*

 No Violations Noted

*Trauma Room # 1*

 No Violations Noted

*Trauma Room # 2*

 No Violations Noted

*Nurse Practitioner’s Office # C 112A*

 No Violations Noted

*Psychiatrist Office # C 113A*

 No Violations Noted

*Phlebotomy Room # C 114A*

 No Violations Noted

*Office # C 116A*

 No Violations Noted

*Medical Director’s Office # C 117A*

 No Violations Noted

*Exam Room # C 118A*

 No Violations Noted

*Staff Break Room # C 119A*

 No Violations Noted

*Back Storage # C 120A*

 No Violations Noted

*Female Staff Bathroom # C 121*

 No Violations Noted

*Med Room # C 122*

 No Violations Noted

*Med Room # C 124*

 No Violations Noted

*Med Room # C 125B*

 No Violations Noted

*Exam Room # C126*

 No Violations Noted

*X-Ray Room # C 127*

 No Violations Noted

*Dental Exam Rooms # C129 and C130*

 No Violations Noted

*Waiting Room # 102 - 104*

 No Violations Noted

*Medical Record Supervisor Room # 132*

 No Violations Noted

**Medical Unit Cells**

*Cell # 102*

 No Violations Noted

*Cell # 103*

 No Violations Noted

*Cell # 104*

 No Violations Noted

*Cell # 106*

 No Violations Noted

*Storage* No Violations Noted

*Cell # 108*

 No Violations Noted

*Cell # 110*

 No Violations Noted

*Cell # 112*

 No Violations Noted

*Records # 109*

 No Violations Noted

*Shower Unit*

 No Violations Noted

**K BUILDING**

105 CMR 451.350 Structural Maintenance: Exterior door not weathertight

*Staff Bathroom # C-101*

105 CMR 451.123 Maintenance: Debris on floor

*Inmate Bathroom # C-102*

 No Violations Noted

*Janitor’s Closet*

 No Violations Noted

*Protestant Chapel*

 Unable to Inspect – Occupied

*Catholic Chapel*

 Unable to Inspect – Occupied

*Islamic Chapel*

 No Violations Noted

*Muslim Chapel*

 No Violations Noted

*Security Staff Room*

 No Violations Noted

*Storage Room*

 No Violations Noted

**L BUILDING**

*Inmate Processing Common Area*

 No Violations Noted

*Property*

 No Violations Noted

*Office*

 No Violations Noted

*Staff Break Room*

 No Violations Noted

*Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Clothing Room*

 No Violations Noted

*Clothing Issue Room*

 No Violations Noted

*Search Chair Room*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

105 CMR 451.126\* Water Supply: No hot water supplied to handwash sink # 2

*Staff Bathroom*

 No Violations Noted

*Laundry/Storage*

 Unable to Inspect – Occupied

*Upstairs Office*

 No Violations Noted

*Upstairs Office Bathroom*

105 CMR 451.141 Screens: Screen damaged

**Dorms**

*Laundry Room*

105 CMR 451.141 Screens: Screens missing

*Office*

 No Violations Noted

*Dorm Control*

 No Violations Noted

*Control Bathroom*

 No Violations Noted

***Dorm L1***

*Common Area*

FC 4-501.11(A) Maintenance and Operation, Equipment: Microwave oven not functioning properly

*Janitor’s Closet*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, sink drain cover missing

*Bathroom # L1-14*

 Unable to Inspect – Occupied

*Shower Room # L1-13 A & B*

105 CMR 451.123 Maintenance: Shower curtain damaged in shower # 1, 2, 3, 4, 6, 7, and 9

*Bathroom # L1-12*

 No Violations Noted

***Dorm L2***

*Common Area*

 No Violations Noted

*Bathroom # L1-22*

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, urinal out-of-order

*Shower Room # L2-23 A & B*

105 CMR 451.123 Maintenance: Shower curtain missing in shower # 2, 4, 7, and 10

105 CMR 451.123 Maintenance: Shower curtain dirty in shower # 1, 3, 5, 6, 8, and 9

*Bathroom # L2-24*

105 CMR 451.123 Maintenance: Ceiling leaking

*Janitor’s Closet # L1-21*

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, sink drain cover missing

***Offices L1-3***

*Female Bathroom # L1-4*

 No Violations Noted

*Male Bathroom # L1-5*

105 CMR 451.123\* Maintenance: Vent dusty

***Dorm L3***

 Not Inspected – Closed

**Laundry Area**

 No Violations Noted

*Staff Office*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

**Modular Units**

Not Inspected - Closed

**OUTSIDE FACILITY**

**Store House**

*Box 1 – Walk-In Freezer*

 No Violations Noted

*Box 2 – Walk-In Refrigerator*

 No Violations Noted

*Box 3*

 No Violations Noted

*Inmate Break Room*

 No Violations Noted

*Chemical Storage Room # 4*

 No Violations Noted

*Slop Sink Room*

105 CMR 451.353 Interior Maintenance: Wall dirty

*Male Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Freezer 5 - Storage*

 No Violations Noted

*Cooler 6 – Storage*

 No Violations Noted

*Staff Office*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

*Inmate Bathroom*

105 CMR 451.123\* Maintenance: Window broken

*4-Bay Sink*

 No Violations Noted

*Dry Goods Storage Room-2nd Floor*

 No Violations Noted

*Slop Sink Room*

 No Violations Noted

*Bathroom*

 No Violations Noted

**VEHICLE TRAP**

*Control Area*

 No Violations Noted

*Staff Bathroom*

 No Violations Noted

**TOWERS**

***Tower # 1***

105 CMR 451.141\* Screens: Screens missing

105 CMR 451.350\* Structural Maintenance: Unfinished wood on exterior of tower

105 CMR 451.350\* Structural Maintenance: Window cracked

***Tower # 2***

105 CMR 451.350\* Structural Maintenance: Unfinished wood on exterior of tower

105 CMR 451.141\* Screens: Screens missing

***Tower # 3***

105 CMR 451.350\* Structural Maintenance: Unfinished wood on exterior of tower

105 CMR 451.350\* Structural Maintenance: Wall damaged

105 CMR 451.350\* Structural Maintenance: Floor window cracked

105 CMR 451.141\* Screens: Screens missing

***Tower # 4***

105 CMR 451.350\* Structural Maintenance: Unfinished wood on exterior of tower

105 CMR 451.350\* Structural Maintenance: Wall damaged

105 CMR 451.350\* Structural Maintenance: Ceiling damaged

105 CMR 451.141\* Screens: Screens missing

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, faucet leaking

***Tower # 5***

105 CMR 451.350\* Structural Maintenance: Unfinished wood on exterior of tower

105 CMR 451.141\* Screens: Screens missing

105 CMR 451.350\* Structural Maintenance: Hole in ceiling

105 CMR 451.353\* Interior Maintenance: Phone jack outlet damaged

105 CMR 451.350\* Structural Maintenance: Wall damaged, hole in wall

***Tower # 6***

105 CMR 451.141\* Screens: Screens missing

**Observations and Recommendations**

1. The inmate population was 798 at the time of inspection.
2. The kitchen exhaust system was not in compliance with the provisions for inspection, cleaning and labeling required by 527 CMR 11.00 Commercial Cooking Operations, 4 hoods were not labeled. The Department recommends you contact the Department of Fire Services for further information.
3. At the time of inspection, it was noted that the E building was in the process of being closed due to the poor condition of the building. It was stated that the expected closure date is January 1, 2016.
4. At the time of inspection, the modular units were closed and not in use.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

 Sincerely,

 Jonathan Brown

 Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

 Steven Hughes, Director, CSP, BEH

Jay Youmans, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Carol Higgins O’Brien, Commissioner, DOC

George Frascarelli, FS/EHSO

 Maurice Campbell, FS/EHSO

 Susan G. Rask, Health Director, Concord Board of Health

 Clerk, Massachusetts House of Representatives

 Clerk, Massachusetts Senate

 Daniel Bennett, Secretary, EOPSS