

The Commonwealth of Massachusetts

Executive Office of Health and Human Services

Department of Public Health

Bureau of Environmental Health

Community Sanitation Program

5 Randolph Street, Canton, MA 02021

MARYLOU SUDDERS

Secretary

MONICA BHAREL, MD, MPH Commissioner

Tel: 617-624-6000

www.mass.gov/dph

Phone: 781-828-7700 Fax: 781-828-7703

|  |
| --- |
| CHARLES D. BAKERGovernorKARYN E. POLITOLieutenant Governor |

April 19, 2017

Steven J. O’Brien, Superintendent

Massachusetts Treatment Center

30 Administration Road

Bridgewater, MA 02324

Re: Facility Inspection – Massachusetts Treatment Center, Bridgewater

Dear Superintendent O’Brien:

In accordance with M.G.L. c. 111, §§ 5, 20, and 21, as well as Massachusetts Department of Public Health (Department) Regulations 105 CMR 451.000: Minimum Health and Sanitation Standards and Inspection Procedures for Correctional Facilities; 105 CMR 480.000: Storage and Disposal of Infectious or Physically Dangerous Medical or Biological Waste (State Sanitary Code, Chapter VIII); 105 CMR 590.000: Minimum Sanitation Standards for Food Establishments (State Sanitary Code Chapter X); the 1999 Food Code; 105 CMR 520.000 Labeling; and 105 CMR 205.000 Minimum Standards Governing Medical Records and the Conduct of Physical Examinations in Correctional Facilities; I conducted an inspection of the Massachusetts Treatment Center on March 22 and 23, 2017 accompanied by
Kenneth Finn, Environmental Health and Safety/Fire Safety Officer. Violations noted during the inspection are listed below including 96 repeat violations:

**HEALTH AND SAFETY VIOLATIONS**

(*\* indicates conditions documented on previous inspection reports*)

**Front Lobby**

*Waiting Area*

105 CMR 451.350\* Structural Maintenance: Ceiling water damaged

*Mail Room*

 No Violations Noted

*Male Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

*Female Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

**Administration Area**

*Utility Closet # A2-52*

 No Violations Noted

*Utility Closet # A3-29*

 No Violations Noted

*Main Area*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles damaged

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing

*Handicapped Bathroom*

105 CMR 451.123 Maintenance: Ceiling tiles water damaged

*Male Bathroom*

 No Violations Noted

*Female Bathroom*

 No Violations Noted

**Control Area**

*Roll Call Room*

105 CMR 451.200 Food Storage, Preparation and Service: Food service not in compliance with
105 CMR 590.000, food vending machine tray dirty

*Male Locker Room*

105 CMR 451.123 Maintenance: Caulking damaged around sinks

*Female Locker Room*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

105 CMR 451.353 Interior Maintenance: Ceiling tile missing

*Control Room # A2-40*

105 CMR 451.353 Interior Maintenance: Ceiling tiles damaged

105 CMR 451.353 Interior Maintenance: Ceiling tiles missing

*Control Room Bathroom*

 No Violations Noted

*Central Tower*

105 CMR 451.353\* Interior Maintenance: Window pane cracked

105 CMR 451.353\* Interior Maintenance: Window latch broken

105 CMR 451.350\* Structural Maintenance: Four windows broken

105 CMR 451.350\* Structural Maintenance: Window not weathertight, plastic covering window

*Inmate Bathroom # A2-46*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles damaged outside bathroom

*Strip Room # A2-45*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged

**Visiting Room**

 No Violations Noted

*Children’s Day Room*

 No Violations Noted

*Conference Rooms*

105 CMR 451.353 Interior Maintenance: Ceiling tiles damaged

*Toxic/Caustic Closet*

 No Violations Noted

**Fire Safety Room**

 No Violations Noted

*Central Laundry*

 No Violations Noted

*Archives*

 No Violations Noted

**Therapy Room # A1-19**

 No Violations Noted

*Utility Closet # A1-11*

 No Violations Noted

**A Units**

**A Control**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles water damaged

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing

105 CMR 451.130\* Plumbing: Plumbing not maintained in good repair, sink faucet loose

*Control Bathroom*

 No Violations Noted

**A1 Unit**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Ceiling surface damaged

105 CMR 451.350\* Structural Maintenance: Window cracked near stairs

*Slop Sink # A1-1*

105 CMR 451.353\* Interior Maintenance: Ceiling damaged

*Utility Closet # AG-2*

 No Violations Noted

*Utility Closet # AM-2*

 No Violations Noted

*2nd Floor Showers* Unable to Inspect Shower # AM-13 – In Use

No Violations Noted

*1st Floor Showers*

105 CMR 451.123 Maintenance: Soap scum on curtain in shower # AG-13

*Cells*

105 CMR 451.353 Interior Maintenance: Floor surface damaged in cell # 11 and 12

**A2 Unit**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Floor paneling missing outside 1st floor showers

105 CMR 451.353 Interior Maintenance: Ceiling surface damaged in main area

*Classroom # A1-8*

 No Violations Noted

*Utility Closet*

 No Violations Noted

*2nd Floor Showers*

105 CMR 451.123 Maintenance: Floor paint peeling in shower # AM-35

*1st Floor Showers*

105 CMR 451.123\* Maintenance: Floor cracked in shower # AG-35

105 CMR 451.123 Maintenance: Floor paint peeling in shower # AG-35

105 CMR 451.123 Maintenance: Door frame rusted in shower # AG-36

*Cells*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged in cell # 13

105 CMR 451.350 Structural Maintenance: Ceiling damaged in cell # 11

105 CMR 451.353\* Interior Maintenance: Floor tiles missing in cell # 4 and 6

105 CMR 451.353 Interior Maintenance: Baseboard damaged outside cell # 28

**IPS**

 No Violations Noted

*IPS Interview*

 Unable to Inspect – In Use

*Utility Closet*

 No Violations Noted

*Bathroom # A1-40*

 No Violations Noted

*Booking*

 No Violations Noted

**Health Service Unit**

*Biohazard Room # A1-23*

 No Violations Noted

*Male Bathroom # A1-47*

 No Violations Noted

*Medication Room # A1-35*

 No Violations Noted

*Administrative Assistant Room # AI-36*

 No Violations Noted

*Dentist’s Office # A1-37*

 Unable to Inspect – In Use

*X-Ray Room # A1-46*

 No Violations Noted

*Main Area*

 No Violations Noted

*Break Room # A1-65*

 No Violations Noted

*Nurse Practitioner’s Office # A1-58*

 No Violations Noted

*Medical Records Room # A1-60*

 No Violations Noted

*Patient Bathroom # A1-69*

 No Violations Noted

*Exam Room # A1-58*

105 CMR 451.126 Hot Water: Hot water temperature recorded at 1000F

*Utility Closet # A1-68*

105 CMR 451.353\* Interior Maintenance: Ceiling vent dusty

*Exam Room # A1-49*

 No Violations Noted

*Officer’s Area*

 No Violations Noted

*Female Bathroom # A1-48*

 No Violations Noted

**Chemical Closet # B1-13**

 No Violations Noted

**Therapy Suite**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles damaged

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing

*Offices*

 No Violations Noted

*Utility Closet*

 No Violations Noted

*Male Bathroom*

 No Violations Noted

*Female Bathroom*

 No Violations Noted

**B Units**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles damaged outside B Units

**B Control**

 No Violations Noted

*Control Bathroom*

105 CMR 451.123\* Maintenance: Ceiling vent dusty

**B1 Unit**

*Common Area*

105 CMR 451.350\* Structural Maintenance: Window cracked near washer and dryer units

*Utility Closet # B1-1*

105 CMR 451.353 Interior Maintenance: Pipe insulation damaged

*Therapy Room # B1-2 & B1-3*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged in room # B1-3

*2nd Floor Showers*

 No Violations Noted

*1st Floor Showers*

105 CMR 451.123 Maintenance: Floor paint damaged in shower # BG-13

*Cells*

 No Violations Noted

**B2 Unit**

*Common Area*

 No Violations Noted

*Utility Closet # B1-11*

 No Violations Noted

*Utility Closet # BG-50*

 No Violations Noted

*2nd Floor Showers*

Unable to Inspect – In Use

*1st Floor Showers*

 No Violations Noted

*Cells*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged and covered with plastic in cell # 24, 25, and 26

105 CMR 451.353 Interior Maintenance: Ceiling surface damaged in cell # 27 and 29

105 CMR 451.353 Interior Maintenance: Floor surface damaged in cell # 9

**Maintenance Corridor**

*Maintenance Workshop # B1-62*

 No Violations Noted

*Bulk Storage # EI-59*

 No Violations Noted

*Staff Bathroom # B1-76*

105 CMR 451.123 Maintenance: Caulking damaged around sinks

*Store Room # B1-75*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged

*Flammable Storage # B1-63*

 Unable to Inspect – Locked

*Tool Crib Room # B1-74*

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with
105 CMR 590.000, interior of refrigerator damaged

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with
105 CMR 590.000, interior of microwave dirty

*Canteen Room*

 No Violations Noted

**Barber Shop**

 No Violations Noted

**Food Service**

*South-Side Dining Area*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged on far right of dining area

*North-Side Dining Area*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

**Kitchen**

*3-Bay Sink Area*

FC 5-205.15(B) Plumbing System, Operations and Maintenance: Plumbing system not maintained in good repair, faucet leaking

*Rinse/Dishwashing Area*

FC 6-501.12(A)\* Maintenance and Operation; Cleaning: Facility not cleaned properly, wall dirty under table, possible mold and/or mildew

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine must be filled manually

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, soap dispensing system in warewash machine not functioning properly

FC 4-501.11(A) Maintenance and Operation, Equipment: Equipment not maintained in a state of good repair, warewash machine not meeting appropriate sanitizing temperature

*Serving Area*

 No Violations Noted

*Cooler # 6/Freezer Unit*

FC 3-305.11(A)(2)\* Preventing Contamination from Premises: Food exposed to dust, cooler fans dusty

FC 3-302.11(A)(4) Preventing Food and Ingredient Contamination: Preventing cross contamination, cookies on trays not appropriately covered

FC 3-302.11(A)(4) Preventing Food and Ingredient Contamination: Preventing cross contamination, cereal not appropriately covered

*Dry Storage*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, ceiling damaged

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor surface damaged

FC 4-903.11(A)(2) Protection of Clean Items, Storing: Single-service items not protected from contamination, utensils left uncovered

*Recycling Area*

 No Violations Noted

*Office*

 No Violations Noted

*Hoods*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, floor tiles damaged and missing near kettles

*Utility/Toxic Closet*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, ceiling paint peeling

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, ceiling water damaged

FC 6-501.16 Maintenance and Operation; Cleaning: Wet mop stored in bucket

FC 6-501.12(A) Maintenance and Operation; Cleaning: Facility not cleaned properly, mobile fan dusty

*Inmate Bathroom*

 No Violations Noted

*Swill Room*

 No Violations Noted

**Staff Food Service**

*Dining Area*

FC 6-501.11\* Maintenance and Operation; Repairing: Facility not in good repair, ceiling tiles missing

**Kitchen**

*Prep Area*

FC 3-304.12(A) Preventing Contamination from Utensils: Service utensils handle stored below the food and container line, scoop stored in food on prep table

*Storage Area*

FC 3-302.12 Preventing Food and Ingredient Contamination: Unlabeled food containers, prepared food not dated in refrigerator # 1

**Gym**

*Main Area*

105 CMR 451.353\* Interior Maintenance: Floor surface damaged throughout

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing in back corner

*Male Staff Bathroom*

105 CMR 451.123 Maintenance: Shower floor damaged

105 CMR 451.123 Maintenance: Caulking damaged around sinks

*Female Staff Bathroom*

 No Violations Noted

*Inmate Bathroom*

 No Violations Noted

*Utility Room*

 No Violations Noted

*Office*

 No Violations Noted

**C Units**

**C Control**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing

105 CMR 451.200 Food Storage, Preparation and Service: Food preparation not in compliance with
105 CMR 590.000, toaster oven dirty

*Control Bathroom*

 No Violations Noted

**C1 Unit**

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling surface damaged

105 CMR 451.350 Structural Maintenance: Ceiling leaking

*Utility Closet # CG-2*

 No Violations Noted

*2nd Floor Showers*

105 CMR 451.123\* Maintenance: Floor paint damaged in shower # CM-13

*1st Floor Showers*

 No Violations Noted

*Cells*

 No Violations Noted

**C2 Unit**

*Common Area*

105 CMR 451.353 Interior Maintenance: Ceiling surface damaged

105 CMR 451.350 Structural Maintenance: Ceiling leaking

*Utility Closet*

105 CMR 451.350\* Structural Maintenance: Ceiling water damaged

*2nd Floor Showers*

105 CMR 451.123\* Maintenance: Floor paint damaged in shower # CM-36

*1st Floor Showers*

105 CMR 451.123\* Maintenance: Floor paint damaged in shower # CG-35 and CG-36

*Cells*

105 CMR 451.353\* Interior Maintenance: Door window broken in cell # 10 and 11

105 CMR 451.353 Interior Maintenance: Floor surface damaged outside cell # 9

**D Units**

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing outside of D Units

*Utility Closet # D1-12*

 No Violations Noted

**D Control**

 No Violations Noted

*Control Bathroom*

 No Violations Noted

**D1 Unit**

*Common Area*

105 CMR 451.350\* Structural Maintenance: Ceiling damaged at entrance

105 CMR 451.350\* Structural Maintenance: Window cracked near cell # 1

105 CMR 451.350 Structural Maintenance: Ceiling leaking

*Utility Closet*

 No Violations Noted

*Therapy Room # D1-3*

105 CMR 451.353\* Interior Maintenance: Ceiling damaged

*2nd Floor Showers*

 No Violations Noted

*1st Floor Showers*

105 CMR 451.123\* Maintenance: Floor paint damaged in shower # DG-12 and DG-13

*Cells*

 No Violations Noted

**D2 Unit**

*Common Area*

105 CMR 451.353\* Interior Maintenance: Floor tiles missing outside of 1st floor showers

*Utility Closet # D1-10*

105 CMR 451.353 Interior Maintenance: Ceiling surface damaged

*2nd Floor Showers* Unable to Inspect Shower # DM-36 Out-of-Order

105 CMR 451.123 Maintenance: Floor paint peeling in shower # DM-35

105 CMR 451.123 Maintenance: Door frame rusted in shower # DM-35

105 CMR 451.123 Maintenance: Mold on ceiling in shower # DM-35

*1st Floor Showers*

105 CMR 451.123\* Maintenance: Floor paint damaged in shower # DG-35 and DG-36

105 CMR 451.123\* Maintenance: Door frame rusted in shower DG-36

*Cells*

 No Violations Noted

**Chapel**

105 CMR 451.353\* Interior Maintenance: Ceiling tile missing

**Minimum Privilege Unit**

**Control**

105 CMR 451.353 Interior Maintenance: Ceiling tile damaged

*Control Bathroom*

 No Violations Noted

**Main Area**

*Utility Closet*

 No Violations Noted

*Closet # A2-25*

 No Violations Noted

*Showers*

105 CMR 451.123\* Maintenance: Floor paint damaged in shower # 1

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1 and 2

*Cells*

 No Violations Noted

**Library # 132-3**

 No Violations Noted

*Library Bathroom # B2-12*

 No Violations Noted

*Library Storage # B2-13*

 No Violations Noted

**Learning Center**

*Hallway*

105 CMR 451.353\* Interior Maintenance: Ceiling tiles missing

*Male Staff Bathroom*

 No Violations Noted

*Female Staff Bathroom*

105 CMR 451.123\* Maintenance: Ceiling water damaged

*Utility Closet # B2-28*

 No Violations Noted

*Toxic/Caustic Closet # B2-29*

 No Violations Noted

*Bathroom # B2-34*

 No Violations Noted

*Inmate Bathroom # B2-16*

 No Violations Noted

**Industry Operations**

*Print Shop*

 No Violations Noted

*Art Room*

 No Violations Noted

**Wood Shop**

 No Violations Noted

*Hallway*

105 CMR 451.350\* Structural Maintenance: Ceiling leaking

*Assembly Room*

 No Violations Noted

*Utility Closet # C2-10*

 No Violations Noted

*Inmate Bathroom # C2-11*

 No Violations Noted

*Staff Office # C2-16*

 No Violations Noted

*Staff Office Bathroom*

 No Violations Noted

**MODULAR UNITS**

**South 1**

**Staff Area**

*Staff Bathroom*

105 CMR 451.123 Maintenance: Light out

*Offices*

 No Violations Noted

*Staff Break Room*

 No Violations Noted

**Common Area**

*Day Room*

 No Violations Noted

*Medication Room*

 No Violations Noted

*Exam Room*

 No Violations Noted

*Back Rooms*

 No Violations Noted

**Dorm Hallway**

*Dorms*

 No Violations Noted

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Wet mop stored in bucket

105 CMR 451.130 Plumbing: Plumbing not maintained in good repair, slop sink leaking

*East Bathroom*

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1-5

105 CMR 451.123 Maintenance: Mold on ceiling

105 CMR 451.123 Maintenance: Wall vents dusty

*West Bathroom*

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1-5

105 CMR 451.123\* Maintenance: Wall vents dusty

**South 2**

**Staff Area**

*Staff Bathroom*

105 CMR 451.123 Maintenance: Light out

*Staff Break Room*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

**Common Area**

*Day Room*

 No Violations Noted

*Old Laundry Area*

 No Violations Noted

*Back Rooms*

 No Violations Noted

**Dorm Hallway**

105 CMR 451.353 Interior Maintenance: Floor tiles damaged

*Dorms*

 No Violations Noted

*Utility Closet*

 No Violations Noted

*East Bathroom*

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 1-5

105 CMR 451.123\* Maintenance: Ceiling vents dusty

105 CMR 451.123 Maintenance: Mold on walls outside showers

*West Bathroom*

105 CMR 451.123 Maintenance: Urinal out-of-order

105 CMR 451.123 Maintenance: Wall vents dusty outside showers

**North 1**

**Staff Area**

*Staff Bathroom*

 No Violations Noted

*Staff Break Room*

 No Violations Noted

*Conference Room*

 No Violations Noted

**Common Area**

*Day Room*

 No Violations Noted

*Old Laundry Area*

 No Violations Noted

*Back Rooms*

 No Violations Noted

**Dorm Hallway**

*Dorms*

 No Violations Noted

*Utility Closet*

105 CMR 451.353 Interior Maintenance: Ceiling vent dusty

*East Bathroom*

105 CMR 451.123 Maintenance: Counter top damaged

105 CMR 451.123 Maintenance: Wall vent dusty outside showers

105 CMR 451.123 Maintenance: Shower surface damaged in shower # 1-5

*West Bathroom*

105 CMR 451.123\* Maintenance: Wall vent rusted in shower area

105 CMR 451.123\* Maintenance: Bottom of toilet partitions rusted

105 CMR 451.123 Maintenance: Wall vent dusty outside showers

**North 2**

**Staff Area**

*Staff Bathroom*

Unable to Inspect – In Use

*Staff Break Room*

 No Violations Noted

*Conference Room*

 No Violations Noted

**Common Area**

*Day Room*

 No Violations Noted

*Old Laundry Area*

 No Violations Noted

*Back Room*

 No Violations Noted

**Dorm Hallway**

*Dorms*

 No Violations Noted

*Utility Closet*

105 CMR 451.353\* Interior Maintenance: Wall damaged

105 CMR 451.353\* Interior Maintenance: Floor damaged

105 CMR 451.353\* Interior Maintenance: Drain cover not secure in slop sink

*East Bathroom*

105 CMR 451.123 Maintenance: Wall vent dusty outside showers

105 CMR 451.123 Maintenance: Soap scum on walls in shower # 1-5

*West Bathroom*

105 CMR 451.123\* Maintenance: Unfinished wood bench in handicapped shower

105 CMR 451.123\* Maintenance: Soap scum on shower curtains in shower # 2, 3, 4, and 5

105 CMR 451.123 Maintenance: Soap scum on shower curtains in shower # 1

105 CMR 451.123 Maintenance: Wall vent dusty outside showers

**VEHICLE TRAP TOWER**

105 CMR 451.200 Food Storage, Preparation and Service: Food storage not in compliance with
105 CMR 590.000, utensils left uncovered

**REAR TOWER**

105 CMR 451.350\* Structural Maintenance: Two windows cracked

**COMMUNITY TRANSITION HOUSE**

**1st Floor**

*Kitchen*

FC 6-501.11 Maintenance and Operation; Repairing: Facility not in good repair, upper cabinet damaged

*Living Area*

 No Violations Noted

*Bathroom/Laundry*

 No Violations Noted

**2nd Floor**

*Bathroom*

 No Violations Noted

*Bedrooms*

 No Violations Noted

**Basement**

 No Violations Noted

**Observations and Recommendations**

1. The inmate population was 512 at the time of inspection.
2. At the time of inspection, the warewash machine was not reaching the appropriate temperature and was not functioning properly. The Department recommended the kitchen use paper plates and utensils until the temperature was brought into compliance.

This facility does not comply with the Department’s Regulations cited above. In accordance with 105 CMR 451.404, please submit a plan of correction within 10 working days of receipt of this notice, indicating the specific corrective steps to be taken, a timetable for such steps, and the date by which correction will be achieved. The plan should be signed by the Superintendent or Administrator and submitted to my attention, at the address listed above.

To review the specific regulatory requirements please visit our website at [www.mass.gov/dph/dcs](http://www.mass.gov/dph/dcs) and click on "Correctional Facilities" (available in both PDF and RTF formats).

To review the Food Establishment regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “Retail” click “105 CMR 590.000 - State Sanitary Code Chapter X – Minimum Sanitation Standards for Food Establishments” and “[1999 Food Code](http://www.cfsan.fda.gov/~dms/fc99-toc.html)”.

To review the Labeling regulations please visit the Food Protection website at [www.mass.gov/dph/fpp](http://www.mass.gov/dph/fpp) and click on “Food Protection Regulations”. Then under “General Food Regulations” click “105 CMR 520.000: Labeling.”

This inspection report is signed and certified under the pains and penalties of perjury.

Sincerely,

Nicholas Gale

Environmental Health Inspector, CSP, BEH

cc: Jan Sullivan, Acting Director, BEH

Steven Hughes, Director, CSP, BEH

Timothy Miley, Director of Government Affairs

Marylou Sudders, Secretary, Executive Office of Health and Human Services

Thomas Turco, Commissioner, DOC

Kenneth Finn, EHSO/FSO

Eric J. Badger, CHO, Health Agent, Bridgewater Health Department

Clerk, Massachusetts House of Representatives

Clerk, Massachusetts Senate

Daniel Bennett, Secretary, EOPSS

Jennifer Gaffney, Director, Policy Development and Compliance Unit